Smart Portable Pen for Continuous Monitoring of Anaesthetics in Human Serum with Machine Learning

ABSTRACT

Continuous monitoring of anaesthetics infusion is demanded by anaesthesiologists to help in defining personalized dose, hence reducing risks and side effects. We propose the first piece of technology tailored explicitly to close the loop between anaesthesiologist and patient with continuous drug monitoring. Direct detection of drugs is achieved with electrochemical techniques, and several options are present in literature to measure propofol (widely used anaesthetics). Still, the sensors proposed do not enable in-situ detection, they do not provide this information continuously, and they are based on bulky and costly lab equipment.

In this paper, we present a novel smart pen-shaped electronic system for continuous monitoring of propofol in human serum. The system consists of a needle-shaped sensor, a quasi digital front-end, a smart machine learning data processing, in a single wireless battery-operated embedded device featuring Bluetooth Low Energy (BLE) communication. The system has been tested and characterized in real, undiluted human serum, at 37C. The device features a limit of detection of 3.8M, meeting the requirement of the target application, with an electronics system 59% smaller and 81% less power consuming w.r.t. the state-of-the-art, using a smart machine learning classification for data processing, which guarantees up to twenty continuous measure.

CHAPTER 2

2. SYSTEM ANALYSIS

  - EXISTING SYSTEM

- Interoperative anaesthetics involves the patient monitoring and drug control management during surgery.

- It requires very accurate and controlled doses of drugs to be administered in a timely fashion. Any errors in any aspect of the process are extremely dangerous.

- Target-controlled infusion (TCI) is part of anaesthesia delivery in many countries, resulting in the precision, reliability, efficacy, and safety of intravenous (IV) anaesthesia delivery.

- Advancement in drug development has primarily modifying the chemical structures of existing drugs to improve their pharmacodynamic, pharmacokinetic, and side effect properties.

2.1.1 DRAWBACKS OF EXISTING SYSTEM  :

  - Propofol is a widely used anesthetic thanks to its many pharmacological properties such as rapid distribution, short action and reduced side effects in post-operative recovery.

- This is known as Pain On Propofol Injection (POPI) and it is still among the most critical problems in the anesthesia current practices.

- To reduce POPI effects, other compounds, e.g., paracetamol, are usually administered in combination with propofol  to exploit their antipyretic and analgesic effects.

2.2. PROPOSED SYSTEM

- The proposed system, on the other hand, is not programmed in this sense at all. Instead, it is "trained", by exposing it to an extensive set of example "inputs" and "desired outputs".

- These data are generated by logging all the data from a large number of real operations carried out in the past, under the supervision of human anaesthesiologists.

- Using a neural network training algorithm, the system learns to map the inputs into the desired output responses.

- The American Society of Anaesthesiologists (ASA) has proposed a widely-accepted classification scheme to aid pre-operative assessment.

2.2.1. ADVANTAGES OF PROPOSED SYSTEM

- We have redesigned the front-end hardware of our previous implementation by improving its performances with the aim of providing a robust system for human serum detection.

- In particular, we have re-implemented the analog read-out by introducing a 4th-order filtering block as second amplification stage in cascade with respect to the Trans-Impedance Amplifier (TIA) stage.

- The exchange of the fluxing solutions was done in the 10 s of mixing in order to not interrupt the procedure.

Literature Survey:

| TITLE | AUTHORS | DESCRIPTION |
| --- | --- | --- |
| Awareness during anesthesia: How sure can we be that the patient is sleeping indeed? | G. Kotsovolis and G. Komninos, | From all the available devices only the Bispectral Index Monitoring (BIS) has been proven to be effective for this purpose but the high cost per person and the low specificity in preventing awareness episodes do not allow its everyday use. |
| General anesthesia, sleep, and coma | E. N. Brown, R. Lydic, and N. D. Schiff, | Unfortunately, anesthesiologists also use the word “sleep” in technical descriptions to refer to unconsciousness induced by anesthetic drugs. |
| Clinical variables related to propofol effect-site concentrations at recovery of consciousness after neurosurgical procedures | C. S. Nunes, D. A. Ferreira, L. Antunes, and P. Amorim, | The study results revealed there were comparable results on time to extubation, changes in intraoperative hemodynamic parameters, and the occurrence of postoperative complications between the groups. |
| Recovery of cognitive function after remifentanil-propofol anesthesia: A comparison with desflurane and sevoflurane anesthesia | B. Larsen, A. Seitz, and R. Larsen, | Emergence and return of cognitive function was significantly faster after remifentanil-propofol compared with desflurane and sevoflurane up to 60 min after anesthesia administration |

2.3 FEASIBILITY STUDY

The feasibility Analysis is an analytical program through project manager determines the project success ratio and through feasibility study project manager able to see either project. The key considerations involved in the feasibility analysis are:

- Economic Feasibility

- Technical Feasibility

- Operational Feasibility

- Environmental Feasibility

2.3.1 ECONOMICAL FEASIBILITY

Hence this project is economically feasible there is no need to involve any cost for this project.

2.3.2 TECHNICAL FEASIBILITY

Software Technologies used are PHP and MySql. In the educational institutions, it is possible to update the system in future. No special hardware is required for the purpose of using this system. Hence it is declared that this project is technically feasible.

2.3.3 OPERATIONAL FEASIBILITY

As the admin work mainly to maintain the Patient and Doctor .Doctor will predict patient cancer disease. Hence it is easy to operate with training. Therefore it is operationally feasible for implementation.

2.3.4 ENVIRONMENTAL FEASIBILITY

This project environment is correct as a admin has developed this system and no expenditure is involved under any head and this process is part of admin document management, this project environment is accessible.

2.4 SYSTEM REQUIREMENTS

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse	: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.1 HARDWARE REQUIREMENTS

The Hardware of the computer consists of physical component such as Input Devices, Storage Devices, Processing & Control units and Output Devices.  Computer includes external storage unit to store data in programs.

The Hardware Configuration involved in this project

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse 		: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.2 SOFTWARE REQUIREMENTS

Software is a group of programs that computers need to do a particular task.  It is an essential requirement of Computer System. The Software used to develop the project is

- Operating System	: Windows XP.

- Platform		: DOT NET TECHNOLOGY

- Front End		: ASP.Net 3.5

- Back End		: SQL SERVER 2005

###### CHAPTER 3

SYSTEM DESIGN AND DEVELOPEMENT

SYSTEM ARCHICTURE

CHAPTER 4

TESTING AND IMPLEMENTATION

  - TESTING

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

4.1.1Unit Testing

Unit testing comprises the set of tests performed by an individual programmer prior to integration of the unit into a larger system. The module interface is tested to ensure that information properly flows into and out of the program unit. The local data structure is examined to ensure that data stored temporarily maintains its integrity during all steps in an algorithm’s execution. Boundary conditions are tested to ensure that the module operates properly at boundaries established to limit or restrict processing. All independent paths through the control structure are tested. All error-handling paths are tested.

4.1.2 Block Box Testing

Black-box testing is a method of software testing that examines the functionality of an application without peering into its internal structures or workings. This method of test can be applied virtually to every level of software testing: unit, integration, system and acceptance. It is sometimes referred to as specification-based testing.

4.2 SYSTEM IMPLEMENTATION

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

CHAPTER 5

CONCLUSION:

To reduce POPI effects in anesthesia infusion, paracetamol analgesic is often also administered in combination. In order to personalize and optimize the effects of these difficult-todose drugs, TDM on-line systems able to measure the drug concentrations in patient’s plasma are highly required. In this work, a novel IoT drug monitoring system with electrochemical approach for the on-line continuous and simultaneous detection of propofol and paracetamol has been shown. The design of each block of the system has been described from a system level: (i) the custom-built RPi-based circuit to control and read out the signal from (ii) the electrochemical cell, which is integrated in (iii) a fluidic device that flux the target solution in the chamber where the electrodes are immersed. The presented IoT solution is based on a dedicated Android application for the anesthesiologist’s tablet or smart-phone to guarantee a rapid visualization of the patients’ measured parameters. Through the application, the medical doctor can be alerted in case of out-ofsafe-range parameter from a patient and can share and store the data on cloud to require teleconsulting.

CHAPTER-6

REFERENCE

- [1] G. Kotsovolis and G. Komninos, “Awareness during anesthesia: How sure can we be that the patient is sleeping indeed?,” Hippokratia, vol. 13, no. 2, pp. 83–89, 2009.

- [2] E. N. Brown, R. Lydic, and N. D. Schiff, “General anesthesia, sleep, and coma,” New England J. Med., vol. 363, no. 27, pp. 2638–2650, 2010.

- [3] C. S. Nunes, D. A. Ferreira, L. Antunes, and P. Amorim, “Clinical variables related to propofol effect-site concentrations at recovery of consciousness after neurosurgical procedures,” J. Neurosurg. Anesthesiol., vol. 17, no. 2, pp. 110–114, 2005.

- [4] B. Larsen, A. Seitz, and R. Larsen, “Recovery of cognitive function after remifentanil-propofol anesthesia: A comparison with desflurane and sevoflurane anesthesia,” Anesthesia Analgesia, vol. 90, no. 1, pp. 168–174, 2000.

- [5] V. Chidambaran, A. Costandi, and A. D’Mello, “Propofol: A review of its role in pediatric anesthesia and sedation,” CNS Drugs, vol. 29, no. 7, pp. 543–563, 2015.

- [6] H. Borazan, T. B. Erdem, M. Kececioglu, and S. Otelcioglu, “Prevention of pain on injection of propofol: A comparison of lidocaine with different doses of paracetamol,” Eur. J. Anaesthesiol., vol. 27, no. 3, pp. 253–257, 2010.

- [7] K. A. Desousa, “Pain on propofol injection: Causes and remedies,” Indian J. Pharmacol., vol. 48, no. 6, p. 617–623, 2016.

- [8] L. F. Prescott, “Paracetamol: Past, present, and future.” Amer. J. Therapeutics, vol. 7, no. 2, pp. 143–147, 2000.

- [9] Z. Al-Rifai and D. Mulvey, “Principles of total intravenous anaesthesia: Practical aspects of using total intravenous anaesthesia,” BJA Educ., vol. 16, no. 8, pp. 276–280, 2016.

- [10] S. L. Shafer and K. M. Gregg, “Algorithms to rapidly achieve and maintain stable drug concentrations at the site of drug effect with a computercontrolled infusion pump,” J. Pharmacokinet. Biopharm., vol. 20, no. 2, pp. 147–169, 1992.