Data-Driven Chance-Constrained Optimal Gas-Power Flow Calculation A Bayesian Nonparametric Approach

ABSTRACT

This paper proposes a data-driven chanceconstrained optimal gas-power flow (OGPF) calculation method without any prior assumption on the distribution of uncertainties of wind power generation. The Gaussian mixture model is employed to fit the uncertainty distribution, where the Bayesian nonparametric Dirichlet process is adopted to tune the component number. To facilitate the online application of the proposed methods, an online-offline double-track distribution construction approach is established, where the frequency of training the relatively time-consuming Dirichlet process Gaussian mixture model can be reduced.On account of the quadratic gas consumption expression of gas-fired generators as well as the linear decision rule based uncertainty mitigation mechanism, the chance constraints would become quadratic ones with quadratic terms of uncertainties, which makes the proposed model more intractable. An equivalent linear separable counterpart is then provided for the quadratic chance constraints, after which the intractable chance constraints could be converted into traditional linear ones. The convex-concave procedure is used to crack the nonconvex Weymouth equation in the gas network and the auxiliary quadratic equalities. Simulation results on two test systems validate the effectiveness of the proposed methods.

CHAPTER 2

2. SYSTEM ANALYSIS

  - EXISTING SYSTEM

- On the basis of the above discussion on effort directions, this paper aims to summarize the existing work of each aspect in IES operation optimization and give our insights to inspire future researches.

- At present, the selection of the optimization algorithm for a concrete operation optimization problem often relies on expert knowledge or production experiences and existing previous research.

- With the increasing penetration of renewable resources in IES, more renewable energy generation units with different power generation characteristics in time and space scale may be integrated in the system, and these existing PDFs are not fairly applicable and sufficiently accurate.

2.1.1 DRAWBACKS OF EXISTING SYSTEM  :

- Optimal gas-power flow (OGPF) is one of the most fundamental problems in the area of IEGS operation, which has been addressed by many inspiring works.

- A steady-state OGPF model was proposed in, where the computational challenging Weymouth equations were replaced with their mixed integer linear program (MILP) based approximation.

- In, the simplified gas flow dynamics was incorporated in the OGPF model, which can still be converted into a tractable problem by employing the mixed integer based piecewise linearization.

- In, DPMM is adopted to set the component numbers for basic uncertainty sets in the robust unit commitment problem.

2.2. PROPOSED SYSTEM

- To reduce pollutant emission and faced with the fossil energy crisis, the installed capacity of renewable energy is rapidly growing worldwide, and an RE-dominated system is proposed for the future.

- The experiments showed that the proposed method was one to two orders more efficient than Monte Carlo-based estimates. However, it faced a curse-of-dimensionality challenge.

- It is obvious that the prediction error is getting smaller as time goes on.

- Multi-stage operation optimization is therefore proposed to successively mitigate uncertainty of RE at different time scales and then reduce adverse influence on the IES optimal operation

2.2.1. ADVANTAGES OF PROPOSED SYSTEM

- It can be observed that the solution becomes a feasible one after three iterations, reflecting the well convergence performance of the devised algorithm.

- As aforementioned, GMM could be adopted to generate a candidate distribution for the uncertainties. However, the component number for GMM training, which is a crucial parameter on the performance of the training results, has to be predetermined.

- The fitting time of the DPGMM is the longest, as its component number is 7. The costs of the decisions and their aftermath are gathered in the third and fourth columns of Table II, where the performances of the DPGMM and the Gaussian distribution are the best and the worst, respectively.

Literature Survey:

| TITLE | AUTHORS | DESCRIPTION |
| --- | --- | --- |
| Integrated energy management system: Concept, design, and demonstration in china | H. Sun, Q. Guo, B. Zhang, W. Wu, B. Wang, X. Shen, and J. Wang, | The Energy Internet (EI), an interlocked combination of energy systems and the Internet, is an emerging concept that embodies the contours of the next-generation energy system. |
| Security-constrained unit commitment with natural gas transmission constraints | C. Liu, M. Shahidehpour, Y. Fu, Z. Li et al., | The proposed methodology examines the interdependency of electricity and natural gas in a highly complex transmission system. |
| A model to long-term, multiarea, multistage, and integrated expansion planning of electricity and natural gas systems | C. Unsihuay-Vila, J. W. Marangon-Lima, A. C. Z. de Souza, I. J. Perez-Arriaga, and P. P. Balestrassi, | A didactic case study as well as the Brazilian integrated gas/electricity system are presented to illustrate the proposed framework. |
| Strategic offering and equilibrium in coupled gas and electricity markets | C. Wang, W. Wei, J. Wang, F. Liu, and S. Mei, | The wide integration of gas-fired units and implementation of power-to-gas technologies bring increasing interdependence among the natural gas and electricity infrastructures. |

2.3 FEASIBILITY STUDY

The feasibility Analysis is an analytical program through project manager determines the project success ratio and through feasibility study project manager able to see either project. The key considerations involved in the feasibility analysis are:

- Economic Feasibility

- Technical Feasibility

- Operational Feasibility

- Environmental Feasibility

2.3.1 ECONOMICAL FEASIBILITY

Hence this project is economically feasible there is no need to involve any cost for this project.

2.3.2 TECHNICAL FEASIBILITY

Software Technologies used are PHP and MySql. In the educational institutions, it is possible to update the system in future. No special hardware is required for the purpose of using this system. Hence it is declared that this project is technically feasible.

2.3.3 OPERATIONAL FEASIBILITY

As the admin work mainly to maintain the Patient and Doctor .Doctor will predict patient cancer disease. Hence it is easy to operate with training. Therefore it is operationally feasible for implementation.

2.3.4 ENVIRONMENTAL FEASIBILITY

This project environment is correct as a admin has developed this system and no expenditure is involved under any head and this process is part of admin document management, this project environment is accessible.

2.4 SYSTEM REQUIREMENTS

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse	: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.1 HARDWARE REQUIREMENTS

The Hardware of the computer consists of physical component such as Input Devices, Storage Devices, Processing & Control units and Output Devices.  Computer includes external storage unit to store data in programs.

The Hardware Configuration involved in this project

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse 		: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.2 SOFTWARE REQUIREMENTS

Software is a group of programs that computers need to do a particular task.  It is an essential requirement of Computer System. The Software used to develop the project is

- Operating System	: Windows XP.

- Platform		: DOT NET TECHNOLOGY

- Front End		: ASP.Net 3.5

- Back End		: SQL SERVER 2005

###### CHAPTER 3

SYSTEM DESIGN AND DEVELOPEMENT

SYSTEM ARCHICTURE

CHAPTER 4

TESTING AND IMPLEMENTATION

  - TESTING

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

4.1.1Unit Testing

Unit testing comprises the set of tests performed by an individual programmer prior to integration of the unit into a larger system. The module interface is tested to ensure that information properly flows into and out of the program unit. The local data structure is examined to ensure that data stored temporarily maintains its integrity during all steps in an algorithm’s execution. Boundary conditions are tested to ensure that the module operates properly at boundaries established to limit or restrict processing. All independent paths through the control structure are tested. All error-handling paths are tested.

4.1.2 Block Box Testing

Black-box testing is a method of software testing that examines the functionality of an application without peering into its internal structures or workings. This method of test can be applied virtually to every level of software testing: unit, integration, system and acceptance. It is sometimes referred to as specification-based testing.

4.2 SYSTEM IMPLEMENTATION

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

CHAPTER 5

CONCLUSION:

This paper addresses two vital issues which are barely discussed in the research works on CC-OGPF calculation: i. how to fit the uncertainty distribution using analytical methods in a fully data-driven manner; ii. how to deal with the difficulty of solving quadratic chance constraints originated from the quadratic gas consumption terms of gas-fired units. To this end, a double-track online-offline uncertainty PDF fitting method is proposed, where the nonparametric feature of DPGMM and the relatively fast fitting property of the GMM are combined. The quadratic chance constraints are equivalently transformed into linear separable regular ones via reformulation and variable substitution. The remaining solution difficulties, which are the quadratic equalities, are handed over to the SOC-based convex-concave procedure. Simulation results demonstrate better uncertainty PDF fitting capability as well as closer-to-expectation operation performances of the proposed DPGMM based CC-OGPF model over the other GMM based ones. Future work would focus on developing DP-based uncertainty models to facilitate the decision-making of energy systems.

CHAPTER-6

REFERENCE

- [1] H. Sun, Q. Guo, B. Zhang, W. Wu, B. Wang, X. Shen, and J. Wang, “Integrated energy management system: Concept, design, and demonstration in china,” IEEE Electrification Magazine, vol. 6, no. 2, pp. 42–50, June 2018.

- [2] P. Stevens, The shale gas revolution: Developments and changes. Chatham House London, 2012.

- [3] C. Liu, M. Shahidehpour, Y. Fu, Z. Li et al., “Security-constrained unit commitment with natural gas transmission constraints,” IEEE Trans. Power Syst., vol. 24, no. 3, pp. 1523–1536, 2009.

- [4] C. Unsihuay-Vila, J. W. Marangon-Lima, A. C. Z. de Souza, I. J. Perez-Arriaga, and P. P. Balestrassi, “A model to long-term, multiarea, multistage, and integrated expansion planning of electricity and natural gas systems,” IEEE Trans. Power Syst., vol. 25, no. 2, pp. 1154–1168, May 2010.

- [5] C. Wang, W. Wei, J. Wang, F. Liu, and S. Mei, “Strategic offering and equilibrium in coupled gas and electricity markets,” IEEE Trans. Power Syst., vol. 33, no. 1, pp. 290–306, Jan 201

- [6] C. M. Correa-Posada and P. Sánchez-Martın, “Security-constrained optimal power and natural-gas flow,” IEEE Trans. Power Syst., vol. 29, no. 4, pp. 1780–1787, 2014.

- [7] C. M. Correa-Posada and P. Sánchez-Martín, “Integrated power and natural gas model for energy adequacy in short-term operation,” IEEE Trans. Power Syst., vol. 30, no. 6, pp. 3347–3355, 2014.

- [8] C. Wang, W. Wei, J. Wang, L. Bai, Y. Liang, and T. Bi, “Convex optimization based distributed optimal gas-power flow calculation,” IEEE Trans. Sustain. Energy, vol. 9, no. 3, pp. 1145–1156, 2017.

- [9] A. K. Prasad and S. Roy, “Reduced dimensional chebyshevpolynomial chaos approach for fast mixed epistemic-aleatory uncertainty quantification of transmission line networks,” IEEE Trans. Compon. Packag. Manuf. Technol., vol. 9, no. 6, pp. 1119–1132, 2019.

- [10] C. Lee, J. Wu, W. Wang, and X. Yue, “Neural network gaussian process considering input uncertainty for composite structures assembly,” IEEE/ASME Transactions on Mechatronics, pp. 1–1, 202