Design and Comparison of Auxiliary Resonance controllers for Mitigating Modal Resonance of Power Systems Integrated with Wind Generation

ABSTRACT

Full converter-based wind power generation (FCWG, e.g., a permanent magnet synchronous generator (PMSG)), though normally considered to be decoupled from the external power grid can be actuated as an inertia source to suppress modal resonance in wind generation penetrated power systems by installing auxiliary resonance controllers (ARCs). In this paper, three possible options for ARC installation are first identified based on some derivations of the conventional control model of FCWG. The damping support mechanism of ARC is revealed, a suitable and generic configuration structure of ARC is then established, and optimal parameter tuning is conducted on the basis of this ARC configuration. The three ARC alternatives are equipped to contribute to damping by utilizing the potential energy and dynamics hidden in different inertia source components (i.e., the wind turbine rotor and DC capacitor, respectively) of FCWG. Both modal analysis and simulation results validate the effectiveness of the three proposed ARCs in suppressing modal resonance and improving system oscillation stability. Most importantly, extensive comparison investigations are carried out to fully evaluate the pros and cons of the three ARCs and thus provide constructive application guidance for system operators and wind farm owners.

CHAPTER 2

2. SYSTEM ANALYSIS

  - EXISTING SYSTEM

- This paper discusses issues related to the integration of wind farms in the power system, such as maximum power point tracking, fault ride-through capabilities, interarea and subsynchronous oscillations, and voltage flicker, and provides a review of the existing control strategies to address these issues in Types I, II, III, and IV wind turbines.

- A comprehensive review of existing supplementary control approaches for wind energy systems.

- The potential advantages and disadvantages of the existing supplementary controllers to improve the MPPT and LVRT capabilities and mitigate SSR and voltage flicker for a Type I wind system.

2.1.1 DRAWBACKS OF EXISTING SYSTEM  :

- FCWG is responsible for modal resonance for two reasons: 1) the detrimental modal resonance may occur due to improper parameter setting of FCWG or unexpected operating conditions and 2) modal resonance may not only jeopardize the system damping but also affect the dynamic performance of FCWG itself, which may incur a critical trip or asset damage and hence considerable economic losses related to wind farms.

- In traditional power systems dominated by thermal power, if the system damping is not sufficient then conventional synchronous generators (CSGs) can be equipped with damping controllers (such as power system stabilizer (PSS)) to provide damping support for the power system

2.2. PROPOSED SYSTEM

- On this basis, a modal shift evaluation (MSE) method by using bilateral damping torque analysis is proposed to accurately quantify the interaction effect of POMs and EOMs on each other and effectively explain their complex interaction process.

- A general theory of interaction of eigenvalues is proposed in, where the strong and weak interactions are identified with their geometric interpretation on the complex plane.

- The resonance excitation index (REI) is also proposed to imply the intensity of modal interactions and plays as a valuable tool in the MIO.

2.2.1. ADVANTAGES OF PROPOSED SYSTEM

- To achieve better dynamic performance as well as maximize the capture of wind power, wind farm owners normally adopt conservative control strategies instead of providing damping support for the external power system.

- Therefore, FCWG may be viewed as a favorable renewable energy but its contribution to power system oscillation stability is normally considered to be weak or even negative.

- PLL releases its angle signal to other parts (e.g., GSC) and guides the synchronization of FCWG, and thus its output plays an important role in the overall performance of FCWG.

- The parameters of ARC have key importance on the performance in damping support, and thus should be carefully tuned.

Literature Survey:

| TITLE | AUTHORS | DESCRIPTION |
| --- | --- | --- |
| Control Strategy to Mitigate the Impact of Reduced Inertia Due to Doubly Fed Induction Generators on Large Power Systems | D. Gautam, L. Goel, R. Ayyanar, V. Vittal, and T. Harbour, | The present work is based on developing a control strategy to mitigate the impact of reduced inertia due to significant DFIG penetration in a large power system. |
| Wind Power Dispatch Margin for Flexible Energy and Reserve Scheduling With Increased Wind Generation | M. Hedayati-Mehdiabadi, J. Zhang, and K. W. Hedman, | In this paper, a combined flexible dispatch and reserve scheduling policy is proposed by determining a flexible wind dispatch margin. |
| Impact of Tie-Line Power on Inter-Area Modes With Increased Penetration of Wind Power | M. Garmroodi, D. J. Hill, G. Verbic, and J. Ma, | This paper studies the impact of displacing conventional synchronous generators with wind turbine generators (WTGs) on the damping of inter-area modes |
| The Wind Farm Aggregation Impact on Power Quality | J. T. Bialasiewicz and E. Muljadi, | In a wind farm, many wind turbines feed power into the power grid at the point of common coupling. |

2.3 FEASIBILITY STUDY

The feasibility Analysis is an analytical program through project manager determines the project success ratio and through feasibility study project manager able to see either project. The key considerations involved in the feasibility analysis are:

- Economic Feasibility

- Technical Feasibility

- Operational Feasibility

- Environmental Feasibility

2.3.1 ECONOMICAL FEASIBILITY

Hence this project is economically feasible there is no need to involve any cost for this project.

2.3.2 TECHNICAL FEASIBILITY

Software Technologies used are PHP and MySql. In the educational institutions, it is possible to update the system in future. No special hardware is required for the purpose of using this system. Hence it is declared that this project is technically feasible.

2.3.3 OPERATIONAL FEASIBILITY

As the admin work mainly to maintain the Patient and Doctor .Doctor will predict patient cancer disease. Hence it is easy to operate with training. Therefore it is operationally feasible for implementation.

2.3.4 ENVIRONMENTAL FEASIBILITY

This project environment is correct as a admin has developed this system and no expenditure is involved under any head and this process is part of admin document management, this project environment is accessible.

2.4 SYSTEM REQUIREMENTS

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse	: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.1 HARDWARE REQUIREMENTS

The Hardware of the computer consists of physical component such as Input Devices, Storage Devices, Processing & Control units and Output Devices.  Computer includes external storage unit to store data in programs.

The Hardware Configuration involved in this project

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse 		: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.2 SOFTWARE REQUIREMENTS

Software is a group of programs that computers need to do a particular task.  It is an essential requirement of Computer System. The Software used to develop the project is

- Operating System	: Windows XP.

- Platform		: DOT NET TECHNOLOGY

- Front End		: ASP.Net 3.5

- Back End		: SQL SERVER 2005

###### CHAPTER 3

SYSTEM DESIGN AND DEVELOPEMENT

SYSTEM ARCHICTURE

CHAPTER 4

TESTING AND IMPLEMENTATION

  - TESTING

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

4.1.1Unit Testing

Unit testing comprises the set of tests performed by an individual programmer prior to integration of the unit into a larger system. The module interface is tested to ensure that information properly flows into and out of the program unit. The local data structure is examined to ensure that data stored temporarily maintains its integrity during all steps in an algorithm’s execution. Boundary conditions are tested to ensure that the module operates properly at boundaries established to limit or restrict processing. All independent paths through the control structure are tested. All error-handling paths are tested.

4.1.2 Block Box Testing

Black-box testing is a method of software testing that examines the functionality of an application without peering into its internal structures or workings. This method of test can be applied virtually to every level of software testing: unit, integration, system and acceptance. It is sometimes referred to as specification-based testing.

4.2 SYSTEM IMPLEMENTATION

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

CHAPTER 5

CONCLUSION:

This study proposed three options for auxiliary damping controllers for FCWG. The appropriate configuration of an ARC is carefully designed, which establishes a path to provide significant damping support. ARC parameter tuning is also implemented to facilitate industry applications. Optimal ARC parameters can be adjusted by the MOPSO algorithm to improve the modal interactions between the power grid and wind generation. With ARC installation, the detrimental modal resonance between FCWG and the external power system has been transformed to the beneficial modal counteraction, which validates the effectiveness of the proposed ARCs in suppressing modal resonance and reinforcing the oscillation stability. The comparison study elaborates on the different performances of the three ARCs and gives a general assessment for ARC selection. In addition, application suggestions are also recommended for the benefit of system operators and wind farm owners.

CHAPTER-6

REFERENCE

- [1] D. Gautam, L. Goel, R. Ayyanar, V. Vittal, and T. Harbour, "Control Strategy to Mitigate the Impact of Reduced Inertia Due to Doubly Fed Induction Generators on Large Power Systems," IEEE Trans. Power Syst., vol. 26, no. 1, pp. 214-224, 2011.

- [2] M. Hedayati-Mehdiabadi, J. Zhang, and K. W. Hedman, "Wind Power Dispatch Margin for Flexible Energy and Reserve Scheduling With Increased Wind Generation," IEEE Trans. Sustainable Energy, vol. 6, no. 4, pp. 1543-1552, 2015.

- [3] M. Garmroodi, D. J. Hill, G. Verbic, and J. Ma, "Impact of Tie-Line Power on Inter-Area Modes With Increased Penetration of Wind Power," IEEE Trans. Power Syst., vol. 31, no. 4, pp. 3051-3059, 2016.

- [4] J. T. Bialasiewicz and E. Muljadi, "The Wind Farm Aggregation Impact on Power Quality," in IECON 2006 - 32nd Annual Conference on IEEE Industrial Electronics, 2006, pp. 4195-4200.

- [5] W. Du, H. Wang, and S. Bu, Small-Signal Stability Analysis of Power Systems Integrated with Variable Speed Wind Generators. Springer, 2018.

- [6] D. Kidd and P. Hassink, "Transmission Operator Perspective of Subsynchronous Interaction," in PES T&D 2012, 2012, pp. 1-3.

- [7] J. Sun et al., "Renewable Energy Transmission by HVDC Across the Continent: System Challenges and Opportunities," CSEE J. Power Energy Syst, vol. 3, no. 4, pp. 353-364, 2017.

- [8] "Technical Report on the Events of 9 August 2019," National Grid ESO, Available: https://www.ofgem.gov.uk/system/files/docs/2019/09/eso_technical_rep ort_-_final.pdf.

- [9] J. Luo, S. Bu, J. Zhu, and C. Y. Chung, "Modal Shift Evaluation and Optimization for Resonance Mechanism Investigation and Mitigation of Power Systems Integrated With FCWG," IEEE Trans. Power Syst., vol. 35, no. 5, pp. 4046-4055, 2020.

- [10] W. Du, X. Chen, and H. Wang, "PLL-Induced Modal Resonance of GridConnected PMSGs With the Power System Electromechanical Oscillation Modes," IEEE Trans. Sustainable Energy, vol. 8, no. 4, pp. 1581-1591, 2017.