## Slide 1: Optimized Reactive Power Capability of Wind Power Plants with Tap-Changing Transformers

## Slide 2: Abstract
With the recent advancements in power electronics for wind turbines (WTs) and increasing penetration of wind energy, wind power plants (WPP) have become necessary contributors of reactive power support for the bulk power system. Balancing reactive power support with individual WT operating requirements in a cost-effective manner is a challenge for WPP designers. In this paper, we present a methodology to optimize the WPP reactive power capability as seen from the point of common coupling (PCC), accounting for steady-state operating capabilities of the WPP equipment.

## Slide 3
Thus, the proposed methodology determines the configuration of the tap-changing transformers within the WPP that maximizes the amount of reactive power the WPP can either consume or inject to the network, considering uncertain levels of wind power generation and voltage magnitudes at the PCC. The optimized reactive power capability (ORPC) problem is initially formulated as a mixed-integer nonlinear programming (MINLP) model. Then, a set of efficient linearization techniques are used to obtain a mixed-integer linear programming (MILP) model that can be solved via off-the-shelf mathematical programming solvers. Results demonstrate that the proposed MILP model is a scalable, flexible and accurate method to maximize the reactive power capability of WPP.

## Slide 4: Existing System
It considered discrete controllers, scenarios, probability of each scenario, operation mode, electrical and operation limits, all in a unique integrated MILP model.
This proposed MILP model can be solved using existing off-the-shelf convex optimization solvers, achieving the following benefits: (a) Obtain a tap-setting of the WT and main transformers for the operation of a WPP, according to the type of case study; (b) Convergence to optimality is guaranteed by MILP commercial solvers; and (c) A scalable, flexible and accurate MILP model with a low computational burden.
A novel, scalable, flexible, and accurate method to solve the RPC problem, with a low computational burden for large WPPs.

## Slide 5: Disadvantage of Existing System
This article deals with reactive power reserve and support from wind power plants (WPP).
The reactive power reserves conventionally provided by exciter of synchronous generator reduces when replaced by WPPs. This can cause voltage stability issues.
This issue is further pronounced in weak grids where WPPs are connected to the grid through long lines.
The need for analysis of reactive power support from WPP is especially essential when the grid is in a stressed condition.
Using this equivalent WPP collection system model, reactive power capability of any type of WPP can be obtained because the equivalencing method can be applied to any type of WPP

## Slide 6: PROPOSED SYSTEM :
In this paper, we present a methodology to optimize the WPP’s reactive power capability as seen from the point of common coupling (PCC).
To this end, the proposed methodology determines the configuration of the tap-changing transformers within the WPP that maximizes the amount of reactive power the WPP can either consume or inject into the network, considering uncertain levels of wind power generation and voltage magnitude at the PCC.
A novel scalable, flexible and accurate MILP model for solving the ORPC problem, considering NLTC/OLTC transformers and shunt capacitor banks, scenarios, probability of each scenario, operation mode, electrical and operation limits, all in a unique integrated proposed MILP model.

## Slide 7: ADVANTAGE
This method is used as the base case for comparison of results in this study.
Though this method provides accurate an WPP reactive power capability, the disadvantages of this method are: (i) Many parameters required, (ii) can have high computation time for large WPPs, and (iii) when simulating large power systems with numerous WPP, including detailed model of each WPP may not be efficient.
It can be therefore concluded that using the proposed model, the WPP reactive power capability is accurately determined using a reduced number of parameters.
Thus, a fast and efficient calculation of reactive power availability compared to the reactive power capability of the WPP detailed model can be obtained.

## Slide 8
TITTLE | AUTHOR | DESCRIPTION
On the analysis of long-term voltage stability | Lof, P.A.; Hill, D.J.; Arnborg, S.; Andersson, G. | This paper is aimed to explore the relationship between the network topology and the network performance in terms of long-term voltage stability.
Siemens experience with validation of different types of wind turbine models | Bech, J. | In developing the wind turbine models, each part of the wind turbines are examined to define relevant behaviors that significantly influence the power system response.

## Slide 9
TITTLE | AUTHOR | DESCRIPTION
Accurate modeling of doubly fed induction generator based wind farms in load flow analysis | Seshadri Sravan Kumar, V.; Thukaram, D. | In the proposed approach, the power flow model of a node with DFIG is determined based on the reference to reactive power control loop of rotor side converter
Models of reactive power-related wind park losses for application in power system load flow studies | Kaempf, E.; Braun, M. | This article presents the development of a reactive power capability model for a wind power plant (WPP) based on an aggregated wind power collection system.

## Slide 10: Block Diagram

## Slide 11: SOFTWARE REQUIREMENTS:
Operating System : Windows 10
Platform : DOT NET TECHNOLOGY
Front End : ASP.Net 4.0
Back End : SQL SERVER 2014

## Slide 12: HARDWARE REQUIREMENTS:
Keyboard
Mouse
Hard disk 500GB
Ram 4 Gb

## Slide 13: CONCLUTION
This article proposes and presents a novel approach of modelling WPP reactive power capability using an aggregated WPP collection system parameters for Type 4 based WPPs. The inclusion of a WPP collection system in aggregated form reduces the number of parameters required for simulations, thereby substantially reducing the computational time. Additionally, the accuracy of the proposed model to estimate WPP reactive power capability is much better compared to the scaled WT model predominantly used in literature. WPP reactive power capability depends on the WPP collection system length. For large WPPs with a large collection system, the reactive power capability obtained using the proposed method is close to the actual representation of reactive power generation and absorption limits of WPP. Furthermore, using the reactive power capability of the proposed model in the power system study has shown to be a better estimate of system voltages. Based on the studies and results presented in this article, the proposed model is recommended for power system analysis studies (mainly voltage stability analysis) with large share of converter based generation.

## Slide 14: REFERENCE
1. International Energy Agency. Global Wind Energy Outlook 2017 Executive Summary; International Energy Agency: Paris, France, 2017.
2. Lof, P.A.; Hill, D.J.; Arnborg, S.; Andersson, G. On the analysis of long-term voltage stability. Int. J. Electr. Power Energy Syst. 1993, 15, 229–237. [CrossRef]
3. Kundur, P.; Paserba, J.; Ajjarapu, V.; Andersson, G.; Bose, A.; Canizares, C.; Hatziargyriou, N.; Hill, D.; Stankovic, A.; Taylor, C.; et al. Definition and classification of power system stability IEEE/CIGRE joint task force on stability terms and definitions. IEEE Trans. Power Syst. 2004, 19, 1387–1401.
4. Das, K.; Hansen, A.D.; Sørensen, P.E. Understanding IEC standard wind turbine models using SimPowerSystems. Wind Eng. 2016, 40, 212–227. [CrossRef]
5. Bech, J. Siemens experience with validation of different types of wind turbine models. In Proceedings of the IEEE Power and Energy Society General Meeting, Washington, DC, USA, 27–31 July 2014.

## Slide 15
6. Sorensen, P.; Fortmann, J.; Buendia, F.J.; Bech, J.; Morales, A.; Ivanov, C. Final draft international standard IEC 61400-27-1. In Proceedings of the 13th Wind Integration Workshop, Berlin, Germany, 11–13 November 2014.
7. Seshadri Sravan Kumar, V.; Thukaram, D. Accurate modeling of doubly fed induction generator based wind farms in load flow analysis. Electr. Power Syst. Res. 2018, 155, 363–371.
8. Kaempf, E.; Braun, M. Models of reactive power-related wind park losses for application in power system load flow studies. Wind Energy 2017, 20, 1291–1309. [CrossRef]
9. Zhang, B.; Hou, P.; Hu, W.; Soltani, M.; Chen, C.; Chen, Z. A reactive power dispatch strategy with loss minimization for a DFIG-based wind farm. IEEE Trans. Sustain. Energy 2016, 7, 914–923. [CrossRef]
10. Meegahapola, L.; Durairaj, S.; Flynn, D.; Fox, B. Coordinated utilisation of wind farm reactive power capability for system loss optimisation. Eur. Trans. Electr. Power 2011, 21, 40–51. [CrossRef]