## Slide 1: A Multiplexing Optical Partial Discharge Sensing System for Power Transformer using a Single Photodetector

## Slide 2: Abstract
Optical ultrasonic sensor multiplexing for partial discharge (PD) detection based on a single photodetector is a challenging task. In this paper, we propose a novel multiplexed optical ultrasonic sensing system based on swept frequency interferometry. Optical ultrasonic sensor multiplexing is achieved using different carrier frequencies that depend on the length differences between the sensing fibers and the reference fiber. Only one photodetector is required for multiple-point optical fiber ultrasonic sensing. The experimental results indicate that the ultrasonic signals generated by a partial discharge defect model can be simultaneously detected. Then, the PD defect was accurately localized based on the arrival times of an ultrasonic signal at the multiplexed sensors.

## Slide 3: Existing System
After performing the measurements which showed the existence of partial discharge sources, the works preceding the prototype system installation were carried out.
First, the power transformer was turned off and disconnected from the HV transmission lines.
Then, the oil excess was drained to the level enabling opening the revision hole in the upper tank cover.
For this purpose, the comparative research, during which PRPD patterns were simultaneously registered with a standard partial discharges detector type Doble PD-Smart and monitoring system under test.

## Slide 4: Disadvantage of Existing System
The biggest problem of the AE detection method for localizing the PD source in the transformer is its signal sensitivity.
The UHF method may have a strong anti-electromagnetism interference capability, but the PD UHF quantitation problem has not been thoroughly solved.
The chemical methods are the fact that there can be a long time delay between the initiation of a PD source and the evolution of enough gas to be detectable.
Hence, it is important that the partial discharge activity being studied and monitored to detect incipient insulation problems, to prevent catastrophic failures, and to prevent extensive costs.

## Slide 5: PROPOSED SYSTEM :
Therefore, in many research centers, the works on the elaboration of the antenna not only of compact dimensions but also of high gain and wide bandwidth, which covers the frequency band of the EM signals generated by PD in oil-paper insulation system are carried out.
For this purpose, a standard LDC-5 PD calibrator (dDoble Engineering Company, Marlborough, USA) was used, which allowed to inject pulses with an apparent charge of 500 pC and duration of 50 ns into the primary circuit.
The waveforms of the calibration pulses induced in the secondary circuit of the HFCT sensor were registered using an oscilloscope

## Slide 6: ADVANTAGE
Many modern systems use a combination of these techniques, because electrical detection is a proven technology, combining it with modern techniques gives the conformity and the advantage of modern digital signal processing.
In this paper, we are discussing different type of PD measurement techniques especially in the area of modern measurement techniques using fibre optic sensor with their advantages.
The advantage of such system is the immunity to electromagnetic field, high flexible, high sensitive and large bandwidth.
A further advantage is the very fast rise time (response characteristic) to register the discharges and a very low dark current.

## Slide 7
TITTLE | AUTHOR | DESCRIPTION
Failure analysis of EHV transformers | Kogan V. I, Fleeman J. A, Provanzana J. H, Shih C. H. | This analysis can be applied to investigation of the failure mechanism of 765 kV transformers.
Partial Discharge Detection in High Voltage Equipment | Kreuger. F. H, | Advantages and disadvantages of each method have been explored and compared.

## Slide 8
TITTLE | AUTHOR | DESCRIPTION
Partial Discharge Diagnostics and Electrical Equipment Insulation Condition Assessment | Stone. G. C, | Partial discharge (PD) measurement has long been used as a test to evaluate different insulation system designs, and as a quality control test for new equipment
Partial discharge measurement as a Diagnostic Tool for HVEquipments | Schwarz. R; Muhr. M. | Electrical breakdowns in a small region of the insulating system are called partial discharge.

## Slide 9: Block Diagram

## Slide 10: SOFTWARE REQUIREMENTS:
Operating System : Windows 10
Platform : DOT NET TECHNOLOGY
Front End : ASP.Net 4.0
Back End : SQL SERVER 2014

## Slide 11: HARDWARE REQUIREMENTS:
Keyboard
Mouse
Hard disk 500GB
Ram 4 Gb

## Slide 12: CONCLUTION
The optical measurement system can be used to detect and locate the optical signal of the partial discharge occurred in the transparent dielectrics. The detection of very fast impulses is possible and the intensity of the optical signal corresponds with the level of the partial discharge. The advantage of this method is the immunity to EMC, the insensitivity to electromagnetic and acoustic interference sources. The optical measurement is a very sensitive method in comparison to the conventional electrical or acoustic techniques especially by on-site measurements.

## Slide 13: REFERENCE
[1] Kogan V. I, Fleeman J. A, Provanzana J. H, Shih C. H. “Failure analysis of EHV transformers”. IEEE Transactions on Power Delivery; Vol. 3, No. 2; pp. 672–683; April 1988.
[2] Kreuger. F. H, Partial Discharge Detection in High Voltage Equipment. London, Boston, 1989.
[3] Stone. G. C, “Partial Discharge Diagnostics and Electrical Equipment Insulation Condition Assessment”, IEEE Transactions on Dielectrics and Electrical Insulation Vol. 12, No. 5; pp. 891-904; October 2005.
[4] IEC Standard 60270, “High Voltage Test techniques: Partial Discharge Measurements”, 3rd. Edition, 2000-12.
[5] Schwarz. R; Muhr. M. “Partial discharge measurement as a Diagnostic Tool for HVEquipments”. Proceedings of 2006 IEEE 8th International Conference on Properties and applications of Dielectric Materials, Bali; pp. 195–198; June 2006.

## Slide 14
[6] Judd, M.D., Cleary, G.P., “UHF and current pulse measurements of partial discharge activity in mineral oil”, Proceedings of IEE Science, Measurement and Technology, Vol. 153, No. 2; pp. 47–54; March 2006.
[7] Schlemper. H. D, Feser. K, Blaum. H, Kirchesch. P, “Sensitivity of acoustic PD detection in GIS Laboratory experiments and on-site experience”, Conference Record of the 1996 IEEE International Symposium on Electrical Insulation, Montreal, Quebec, Canada, Vol. 1; pp. 99–102 June 16-19,1996.
[8] Markalous, S.; Tenbohlen, S.; Feser, K., “Detection and location of partial discharges in power transformers using acoustic and electromagnetic signals”, IEEE Transactions on Dielectrics and Electrical Insulation Vol. 15, No. 6; pp. 1576–1583; December 2008.
[9] Varl, A., “On-line diagnostics of oil-filled transformers”, Proceedings of 2002 IEEE 14th International Conference on Dielectric Liquids (ICDL 2002), pp. 253 – 257, 2002.
[10] Tae Young Kim, Suh. K. S, Jin Ho Nam, Takada. T, “Acoustic monitoring of HV equipment with optical fiber sensors”, IEEE Transactions on Dielectrics and Electrical Insulation Vol. 10, No. 2; pp. 266-270; April 2003.