Modelling on Novel Cable Traction Power Supply System and Power Distribution Analysis

ABSTRACT

Novel cable traction power supply system (NCTPSS) is a kind of long distance co-phase traction power supply system (TPSS), it can effectively solve problems caused by train's passing through electrical phase separation and improve utilization rate of regenerative energy in system, which is an ideal traction power supply mode. However, its structure is relatively complex due to cable power supply pattern, and internal power flow distribution mechanism still needs further study. In order to establish train-network coupling power flow calculation model, in this paper, two-port network model of each system component is established at first, then equivalent solid circuit model of the system is built by external cascade strategy and tearing nodal method. Then, power flow, the change of traction transformer power output and network voltage are analyzed under the condition that trains work in traction and regenerative braking condition, based on actual train operation schedule. The research shows that the proposed model can accurately calculate and detailed reflect electrical characteristics of NCTPSS, traction transformer capacity is effectively decreased compared with that needed in existing TPSS; Regenerative power can feed back to entire cable traction network and be reused by traction trains with high utilization rate inside NCTPSS.

CHAPTER 2

2. SYSTEM ANALYSIS

  - EXISTING SYSTEM

- This paper proposes a novel MMC-based advanced traction power supply system, which is expected to eliminate the neutral sections and solve power quality issues existing in the traditional traction power supply system.

- Due to the existence of the DC-bus, the high-density access and full utilization of distributed energies can be realized in the proposed system, which could bring surprising changes to the traction power supply system.

- On the one hand, the cost of power transmission can be reduced. On the other hand, due to the existence of DC-bus, abundant renewable energies such as wind energy and solar energy along the railway could access easily.

2.1.1 DRAWBACKS OF EXISTING SYSTEM  :

- Their high power consumption has brought about a problem of insufficient power supply capacity (PSC) of the single-phase 25 kV or 2 × 25 kV alternating current (AC) traction power supply systems (TPSSs) that are widely adopted to feed trains.

- If a TPSS does not have enough PSC, locomotives and EMUs would not be able to operate normally.

- The high power requirements have brought about the problem of insufficient power supply capacity (PSC) of traction power supply systems (TPSSs).

- Thus, a convenient method of PSC assessment is meaningful and urgently needed. In this paper, a novel algorithm is proposed based on the Thévenin equivalent in order to calculate the PSC.

2.2. PROPOSED SYSTEM

- A novel MMC-based advanced co-phase traction power supply system is proposed in this paper to solve power quality issues and eliminate the neutral sections in the traditional traction power supply system.

- In order to ensure the normal operation of the proposed system, nearest-level modulation considering voltage balancing is designed for MMCs.

- SMs of many other structures have also been proposed according to different application requirements such as high efficiency, dc-fault current blocking, and smaller capacitor voltage ripple.

- A combination of NLM and PWM is proposed in, which inherits the advantages of both NLM and PWM.

2.2.1. ADVANTAGES OF PROPOSED SYSTEM

- Electric railways, as an environmentally friendly and efficient means of producing passenger and freight services, have been selected by many countries.

- Compared to conventional algorithms, the proposed one has the advantages of fast convergence and an easy approach to multiple solutions and PV curves, which show vivid and visual information to TPSS designers and operators.

- If a TPSS does not have enough PSC, locomotives and EMUs would not be able to operate normally.

- For the sake of the safe and efficient operation of electric railways, it is essential to calculate and assess the PSCs of TPSSs; hence, a technical scheme is urgently required.

Literature Survey:

| TITLE | AUTHORS | DESCRIPTION |
| --- | --- | --- |
| VSC-based MVDC railway electrification system | Gómez-Expósito, A.; Mauricio, J.M.; Maza-Ortega, J.M. | This paper proposes a new railway electrification system in which the voltage-source converter (VSC) becomes the basic building block. |
| Rail power supplies going more power electronic | Östlund, S. | Because of large voltage drops and excessive losses, it is required that the connecting points to the three-phase system are located with a relatively short mutual distance. |
| Load flow analysis and future development study for an AC electric railway | Raygani, S.V.; Tahavorgar, A.; Fazel, S.S.; Moaveni, B. | Field measurements of Tehran-Golshahr suburban railway are compared with simulation results. |
| Line current harmonics of three-level neutral-point-clamped electric multiple unit rectifiers: Analysis, simulation and testing | Song, K.J.; Wu, M.L.; Agelidis, V.G.; Wang, H. | The harmonic spectra of the AC supply currents of electric multiple units (EMUs) employing three-level neutral-point-clamped converters are discussed in this study. |

2.3 FEASIBILITY STUDY

The feasibility Analysis is an analytical program through project manager determines the project success ratio and through feasibility study project manager able to see either project. The key considerations involved in the feasibility analysis are:

- Economic Feasibility

- Technical Feasibility

- Operational Feasibility

- Environmental Feasibility

2.3.1 ECONOMICAL FEASIBILITY

Hence this project is economically feasible there is no need to involve any cost for this project.

2.3.2 TECHNICAL FEASIBILITY

Software Technologies used are PHP and MySql. In the educational institutions, it is possible to update the system in future. No special hardware is required for the purpose of using this system. Hence it is declared that this project is technically feasible.

2.3.3 OPERATIONAL FEASIBILITY

As the admin work mainly to maintain the Patient and Doctor .Doctor will predict patient cancer disease. Hence it is easy to operate with training. Therefore it is operationally feasible for implementation.

2.3.4 ENVIRONMENTAL FEASIBILITY

This project environment is correct as a admin has developed this system and no expenditure is involved under any head and this process is part of admin document management, this project environment is accessible.

2.4 SYSTEM REQUIREMENTS

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse	: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.1 HARDWARE REQUIREMENTS

The Hardware of the computer consists of physical component such as Input Devices, Storage Devices, Processing & Control units and Output Devices.  Computer includes external storage unit to store data in programs.

The Hardware Configuration involved in this project

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse 		: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.2 SOFTWARE REQUIREMENTS

Software is a group of programs that computers need to do a particular task.  It is an essential requirement of Computer System. The Software used to develop the project is

- Operating System	: Windows XP.

- Platform		: DOT NET TECHNOLOGY

- Front End		: ASP.Net 3.5

- Back End		: SQL SERVER 2005

###### CHAPTER 3

SYSTEM DESIGN AND DEVELOPEMENT

SYSTEM ARCHICTURE

CHAPTER 4

TESTING AND IMPLEMENTATION

  - TESTING

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

4.1.1Unit Testing

Unit testing comprises the set of tests performed by an individual programmer prior to integration of the unit into a larger system. The module interface is tested to ensure that information properly flows into and out of the program unit. The local data structure is examined to ensure that data stored temporarily maintains its integrity during all steps in an algorithm’s execution. Boundary conditions are tested to ensure that the module operates properly at boundaries established to limit or restrict processing. All independent paths through the control structure are tested. All error-handling paths are tested.

4.1.2 Block Box Testing

Black-box testing is a method of software testing that examines the functionality of an application without peering into its internal structures or workings. This method of test can be applied virtually to every level of software testing: unit, integration, system and acceptance. It is sometimes referred to as specification-based testing.

4.2 SYSTEM IMPLEMENTATION

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

CHAPTER 5

CONCLUSION:

The PA is proposed for TPSSs based on the Thévenin equivalent. Port characteristic equations, converted from nodal voltage equations, are solved by the Newton-Raphson method. Owing to its quadratic convergence, the calculation time is shorter than the MNFA near the power limit. What is more, an easier approach to multiple solutions than the CPF is provided. The low voltage solutions can be found effortlessly only through another set of initial values, instead of knowledge of the numerical continuation and a complicated programming implementation. PV curves formed by multiple solutions are capable of providing vivid and visual information to TPSS planners and operators. With the help of the RPF based on the PA, the PSC is available conveniently. The organization of train operations has significant effects on the PSC. It is recommended that the trains on the up and down tracks not be concentrated near the section end, especially in weak TPSSs. This optimization can help to shorten the interval of adjacent trains, and is beneficial to sufficient PSC utilization and enhancement of the carrying capacity

CHAPTER-6

REFERENCE

- 1. Gómez-Expósito, A.; Mauricio, J.M.; Maza-Ortega, J.M. VSC-based MVDC railway electrification system. IEEE Trans. Power Deliv. 2014, 29, 422–431. [CrossRef]

- 2. Östlund, S. Rail power supplies going more power electronic. IEEE Electr. Mag. 2014, 2, 4–60. [CrossRef]

- 3. Raygani, S.V.; Tahavorgar, A.; Fazel, S.S.; Moaveni, B. Load flow analysis and future development study for an AC electric railway. IET Electr. Syst. Transp. 2012, 2, 139–147. [CrossRef]

- 4. Song, K.J.; Wu, M.L.; Agelidis, V.G.; Wang, H. Line current harmonics of three-level neutral-point-clamped electric multiple unit rectifiers: Analysis, simulation and testing. IET Power Electron. 2014, 7, 1850–1858.

- 5. Zhao, N.; Roberts, C.; Hillmansen, S.; Nicholson, G. A multiple train trajectory optimization to minimize energy consumption and delay. IEEE Trans. Intell. Transp. Syst. 2015, 16, 2363–2372. [CrossRef]

- 6. Wang, K.; Zhou, F.; Chen, J.Y.; Zhou, G.P. Capacity improvement based on power accommodation STATCOM for traction power supply. Electr. Power Autom. Equip. 2012, 32, 44–49.

- 7. Battistelli, L.; Pagano, M.; Proto, D. 2 × 25-kV 50 Hz high-speed traction power system: Short-circuit modeling. IEEE Trans. Power Deliv. 2011, 26, 1459–1466. [CrossRef]

- 8. Venikov, V.A.; Stroev, V.A.; Idelchick, V.I.; Tarasov, V.I. Estimation of electrical power system steady-state stability in load flow calculations. IEEE Trans. Power Appar. Syst. 1975, 94, 1034–1041. [CrossRef]

- 9. Gravener, M.H.; Nwankpa, C. Available transfer capability and first order sensitivity. IEEE Trans. Power Syst. 1999, 14, 512–518. [CrossRef]

- 10. Ou, Y.; Singh, C. Assessment of available transfer capability and margins. IEEE Trans. Power Syst. 2002, 17, 463–468. [CrossRef]