VLSI Design of SVM-Based Seizure Detection System With On-Chip Learning Capability

ABSTRACT

Portable automatic seizure detection system is very convenient for epilepsy patients to carry. In order to make the system on-chip trainable with high efficiency and attain high detection accuracy, this paper presents a very large scale integration (VLSI) design based on the nonlinear support vector machine (SVM). The proposed design mainly consists of a feature extraction (FE) module and an SVM module. The FE module performs the threelevel Daubechies discrete wavelet transform to fit the physiological bands of the electroencephalogram (EEG) signal and extracts the time–frequency domain features reflecting the nonstationary signal properties. The SVM module integrates the modified sequential minimal optimization algorithm with the table-driven-based Gaussian kernel to enable efficient on-chip learning. The presented design is verified on an Altera Cyclone II field-programmable gate array and tested using the two publicly available EEG datasets. Experiment results show that the designed VLSI system improves the detection accuracy and training efficiency.

CHAPTER 2

2. SYSTEM ANALYSIS

  - EXISTING SYSTEM

- The conventional implementation of most classification algorithms is resource intensive such that devices in existence today sacrifice the classification accuracy and latency to meet the power and size constraints.

- However, the existing closed-loop neuromodulation devices are too simplistic and lack sufficient on-chip processing and intelligence.

- The existing closed-loop devices mainly rely on simple comparison of a pre-selected biomarker (typically from 1 out of 4 channels) against a fixed threshold.

- Next-generation closed-loop neuromodulation systems will require significant improvements in the existing devices.

2.1.1 DRAWBACKS OF EXISTING SYSTEM  :

- The impact of multiplication can be substantially less than in typical voltage-based circuits.

- However, training classical SVM is solving a quadratic programming (QP) problem which is computationally complex and energy-consuming, so integrating an efficient SVM training algorithm is very important.

- Multiplication substantially increases the dynamic range required, which has a severe impact on voltage-based analog circuits.

- Moreover, recent studies report the impact of using temporal patterns delivered via multiple contacts in enhancing plasticity and symptom relief , highlighting the benefits of high-channel-count stimulation.

2.2. PROPOSED SYSTEM

- To facilitate a fair comparison and guide design choices among various on-chip classifiers, we propose a new energy-area (E-A) efficiency figure of merit that evaluates hardware efficiency and multi-channel scalability.

- The design proposed is an 8-channel closed loop neuromodulation system for DBS, that was verified using stereo-EEG (sEEG) electrodes.

- In this work, we propose the Depth-Variant Tree Ensemble (DVTE), a novel low-latency variation of conventional ensemble methods.

- We implemented the DVTE classifier in hardware to demonstrate the efficacy of the proposed cost-aware learning approach.

2.2.1. ADVANTAGES OF PROPOSED SYSTEM

- This paper proposes a VLSI design of nonlinear SVM-based seizure detection system, which integrates the MSMO algorithm and the db4 DWT for achieving efficient on-chip training capability and high detection accuracy.

- The proposed detection system has better performance on Specific Dataset than Randomized Dataset in both training efficiency and detection accuracy.

- The boundaries are also used to check the optimality of the samples, which avoids the optimality-satisfaction assumption in the SMO algorithm and consequently requires fewer iterations and performs more efficiently on all the benchmark datasets.

Literature Survey:

| TITLE | AUTHORS | DESCRIPTION |
| --- | --- | --- |
| Epileptic seizure prediction and control | L. D. Iasemidis, | This invited paper presents an overview of the application of signal processing methodologies based upon the theory of nonlinear dynamics to the problem of seizure prediction. |
| Discrete harmony search based expert model for epileptic seizure detection in electroencephalography | T. K. Gandhi, P. Chakraborty, G. G. Roy, and B. K. Panigrahi, | In order to demonstrate the efficacy of the proposed algorithm for classification purpose using PNN, we have implemented 10-fold cross validation. |
| Estimation of direction of attention using EEG and out-of-head sound localization | M. Ebisawa, M. Kogure, S.-H. Yano, S. Matsuzaki, and Y. Wada, | Brain-Machine Interfaces (BMIs) are being researched controlling external devices such as robots and computers by measuring the cranial nerve activity of the operator. |
| Classification of EEG signals by using support vector machines | K. S. Bayram, M. A. Kızrak, and B. Bolat, | In this work, EEG signals were classified by support vector machines to detect whether a subject's planning to perform a task or not. |

2.3 FEASIBILITY STUDY

The feasibility Analysis is an analytical program through project manager determines the project success ratio and through feasibility study project manager able to see either project. The key considerations involved in the feasibility analysis are:

- Economic Feasibility

- Technical Feasibility

- Operational Feasibility

- Environmental Feasibility

2.3.1 ECONOMICAL FEASIBILITY

Hence this project is economically feasible there is no need to involve any cost for this project.

2.3.2 TECHNICAL FEASIBILITY

Software Technologies used are PHP and MySql. In the educational institutions, it is possible to update the system in future. No special hardware is required for the purpose of using this system. Hence it is declared that this project is technically feasible.

2.3.3 OPERATIONAL FEASIBILITY

As the admin work mainly to maintain the Patient and Doctor .Doctor will predict patient cancer disease. Hence it is easy to operate with training. Therefore it is operationally feasible for implementation.

2.3.4 ENVIRONMENTAL FEASIBILITY

This project environment is correct as a admin has developed this system and no expenditure is involved under any head and this process is part of admin document management, this project environment is accessible.

2.4 SYSTEM REQUIREMENTS

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse	: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.1 HARDWARE REQUIREMENTS

The Hardware of the computer consists of physical component such as Input Devices, Storage Devices, Processing & Control units and Output Devices.  Computer includes external storage unit to store data in programs.

The Hardware Configuration involved in this project

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse 		: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.2 SOFTWARE REQUIREMENTS

Software is a group of programs that computers need to do a particular task.  It is an essential requirement of Computer System. The Software used to develop the project is

- Operating System	: Windows XP.

- Platform		: DOT NET TECHNOLOGY

- Front End		: ASP.Net 3.5

- Back End		: SQL SERVER 2005

###### CHAPTER 3

SYSTEM DESIGN AND DEVELOPEMENT

SYSTEM ARCHICTURE

CHAPTER 4

TESTING AND IMPLEMENTATION

  - TESTING

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

4.1.1Unit Testing

Unit testing comprises the set of tests performed by an individual programmer prior to integration of the unit into a larger system. The module interface is tested to ensure that information properly flows into and out of the program unit. The local data structure is examined to ensure that data stored temporarily maintains its integrity during all steps in an algorithm’s execution. Boundary conditions are tested to ensure that the module operates properly at boundaries established to limit or restrict processing. All independent paths through the control structure are tested. All error-handling paths are tested.

4.1.2 Block Box Testing

Black-box testing is a method of software testing that examines the functionality of an application without peering into its internal structures or workings. This method of test can be applied virtually to every level of software testing: unit, integration, system and acceptance. It is sometimes referred to as specification-based testing.

4.2 SYSTEM IMPLEMENTATION

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

CHAPTER 5

CONCLUSION:

A VLSI design for the automatic seizure detection is implemented to enable efficient on-chip learning and improve the detection rate. The architecture of the designed system comprises of a feature extraction module and an SVM module. The feature extraction module decomposes the EEG signal to fit the clinical bands using the three-level Daubechies DWT and yields the mean absolute value and variance of the four DWT coefficients as the time-frequency domain feature vector. The modified sequential minimal optimization algorithm is integrated into the SVM module with the table-driven-based Gaussian kernel to achieve the efficient on-chip training. This system is verified on Altera Cyclone II FPGA using the public EEG datasets, and the experiment results show that the designed VLSI system improves the detection rate and training efficiency.

CHAPTER-6

REFERENCE

- [1] L. D. Iasemidis, “Epileptic seizure prediction and control,” IEEE Trans. Biomed. Eng., vol. 50, no. 5, pp. 549–558, May 2003.

- [2] T. K. Gandhi, P. Chakraborty, G. G. Roy, and B. K. Panigrahi, “Discrete harmony search based expert model for epileptic seizure detection in electroencephalography,” Expert Syst. Appl., vol. 39, no. 4, pp. 4055–4062, Mar. 2012.

- [3] E. Niedermeyer and F. H. Lopes da Silva, Electroencephalography. Baltimore, MD, USA: Williams & Wilkins, 1993.

- [4] M. Ebisawa, M. Kogure, S.-H. Yano, S. Matsuzaki, and Y. Wada, “Estimation of direction of attention using EEG and out-of-head sound localization,” in Proc. 33rd Annu. Int. Conf. IEEE Eng. Med. Biol. Soc., Boston, MA, USA, Aug. 30, 2011, pp. 7417–7421.

- [5] K. S. Bayram, M. A. Kızrak, and B. Bolat, “Classification of EEG signals by using support vector machines,” in Proc. IEEE Int. Symp. Innov. Intell. Syst. Appl., 2013, pp. 1–3.

- [6] J. Yoo, L. Yan, D. El-Damak, M. A. Altaf, A. Shoeb, and A. P. Chandrakasan, “An 8-channel scalable EEG acquisition SoC with patientspecific seizure classification and recording processor,” IEEE J. SolidState Circuits, vol. 48, no. 1, pp. 214–228, Jan. 2013.

- [7] Y. Song and P. Lio, “A new approach for epileptic seizure detection: ` Sample entropy based feature extraction and extreme learning machine,” J. Biomed. Sci. Eng., vol. 3, no. 4, pp. 556–567, Jun. 2010.

- [8] A. Sharmila and P. Geethanjali, “DWT based detection of epileptic seizure from EEG signals using naive Bayes and k-NN classifiers,” IEEE Access, vol. 4, pp. 7716–7727, 2016.

- [9] L. Guo, D. Rivero, and A. Pazos, “Epileptic seizure detection using multiwavelet transform based approximate entropy and artificial neural networks,” J. Neurosci. Methods, vol. 193, no. 1, pp. 156–163, Oct. 2010.

- [10] M. Li, W. Chen, and T. Zhang, “Classification of epilepsy EEG signals using DWT-based envelope analysis and neural network ensemble,” Biomed. Signal Process. Control, vol. 31, pp. 357–365, Jan. 2017.