WHEEL CHAIR CUM STRETCHER MODEL

SYNOPSIS

The wheel chair cum stretcher model is a mechanism which is used for moving bed up and down. This is used for handicapped person for living like the normal persons do. For making the handicapped person’s job easy (i.e., they can move bed up and down). Two way switches is used to control the flow wheel chair. The Battery used to drive the D.C motor.

The wheel chair is particularly used for the physical disabled person’s.  It can be used for taking books from the self, taking dress from the self’s and this also can be used for cooking. The up and down movement of the wheel chair is done by rack and pinion mechanism. This arrangement is fixed in the wheel chair bed. The power supply to the motor is given by using battery.

INTRODUCTION


In this the first wheel chair which was identified was for moving bed manually or by the other person.  At present, it is need for advanced in this type because physical disabled person cannot depend on mostly others to help him.


So far they have adapted moving in this.  But to find a change in this system we have introduced our projects the requirements are fulfilled in our project thus the requirement of the handicapped is solved through this project.  That is why we have chosen the wheel chair cum bed for handicapped as our project. The project which we have selected is to reduce the human needs for the physical disabled person.  For the person sitting on the chair should have to move bed in the constant speed. By using the wheel chair cum bed we can move bed the handicapped person easily. The cost this wheel chair costs a little bit higher than the wheel chair has facility of moving bed. 
WORKING PRINCIPLE

The advanced wheel chair for handicapped consists of one set of rack and pinion gear.  This one set is takes power from the motor shaft.  And this is used for giving power to main rack of the chair.  A motor which is coupled with rack and pinion gear and it is runs at a maximum speed of 60 rpm. Say for example a handicapped person want move bed a certain distance for taking some books from the self or he wants to take some dresses from the self.  The time for moving should not be much more time.  Then only he can work as fast as fast as he or she think.
ADVANTAGES
· Cost is low.

· Maintenance is easy

· Parts are easily available in the market

· It is very useful to take the object from long distance
· Construction is simple

· Electrical operated so reduced of manual operation

· Easy to operate
· Easily rechargeable batteries are used

· Can be used inside the house also.
· Speed also varied by adding additional batteries.
LIMITATIONS

· It can be only used for particularly for the handicapped persons (i.e.) only can be used for the leg handicapped persons.

· The object taking from the height is depends on the person’s height.
· Need minimum 12 V Battery – Cost of Battery is high.
APPLICATIONS
· All physically challenged people.

· All very very older people
[image: image1.png]WHEEL CHAIR CUM STRETCHER MODEL:-

Ll2-V BATTERY
2. CONECTING WIRE
3.CHAIR

4.D.C MOTOR
S.WHEEL

6. FRAME

7.RACK

v" (8 8DASH PAD





[image: image2.png]


[image: image3.png]



