An Interpretable and Accurate Deep-Learning Diagnosis Framework Modeled With Fully and Semi-Supervised Reciprocal Learning

ABSTRACT

- The deployment of automated deep-learning classifiers in clinical practice has the potential to streamline the diagnosis process and improve the diagnosis accuracy, but the acceptance of those classifiers relies on both their accuracy and interpretability.

- In general, accurate deep-learning classifiers provide little model interpretability, while interpretable models do not have competitive classification accuracy.

- we introduce a new deep-learning diagnosis framework, called InterNRL, that is designed to be highly accurate and interpretable.

- InterNRL consists of a student-teacher framework, where the student model is an interpretable prototype-based classifier (ProtoPNet) and the teacher is an accurate global image classifier (GlobalNet).

CHAPTER-1

INTRODUCTION

D EEP learning [1] has recently shown tremendous success in many automated image analysis tasks [2], [3], [4], [5]. A typical representative of deep learning models is the deep neural network (DNN) which can automatically learn hierarchical features from image input. DNNs are commonly composed of many interconnected layers with a massive number of learnable parameters, making it hard to interpret their predictions. Therefore, deep learning networks are often treated as black boxes that may produce a wrong outcome with high confidence by changing only one pixel of the input image [6]. Such lack of interpretability is an issue for medical applications that can lead to potentially catastrophic consequences [7]. Furthermore, clinicians can be hesitant to accept predictions made by black-box models, which hinders their successful translations into real-world clinical practice. To improve prediction interpretability of deep learning models, some studies provide post-hoc explanations (e.g., Grad-CAM [8] and saliency maps [9]) to highlight the spatial importance of image regions related to predictions of a global deep-learning classifier, as shown in Fig. 1(a). For instance, Khakzar et althey tend to have inferior classification accuracy since their classification decisions are made by comparing local parts of an image with training prototypes instead of utilising the whole image information. This accuracy degradation is also called performance-interpretability gap [7], [12], [13] that has been observed in various fields. The study of reducing such gap has become a rich area of research, particularly in the medical imaging domain. In this paper, we present a new Interpretable Network modelled with Reciprocal Learning (InterNRL), for accurate and interpretable medical image classification. InterNRL employs a student-teacher strategy, where the student network is represented by an interpretable ProtoPNet, and the teacher network is formed by a global deep classifier GlobalNet. To exploit the advantages of the holistic classification by GlobalNet and local interpretablity by ProtoPNet, InterNRL achieves classification by their ensemble. To narrow the performanceinterpretability gap, the two networks are mutually optimised with a novel reciprocal learning paradigm where the student ProtoPNet learns from optimal pseudo labels produced by the teacher GlobalNet, and GlobalNet learns from ProtoPNet’s classification performance and accurately predicted pseudo labels. Via this paradigm, InterNRL is flexible enough to be trained under both fully- and semi-supervised learning scenarios. Additionally, we develop a new transformation (e.g., rotation, translation, scaling) consistency strategy at the input and output spaces of the interpretable ProtoPNet, to regularise its prototype learning. We extensively evaluate our method on two breast cancer screening mammogram classification datasets, one optical coherence tomography (OCT) retinal disease classification dataset, and one brain tumour segmentation magnetic resonance image (MRI) dataset. The major contributions of this paper are listed as follows: 1) We propose a new student-teacher InterNRL method that seamlessly incorporates prototype-based interpretability into existing deep global image classifiers. The method can reach highly accurate classification results with promising interpretable predictions. 2) We present a novel reciprocal learning paradigm to optimise InterNRL, with the goal of increasing the accuracy of both the interpretable ProtoPNet and the global classifier GlobalNet. Based on this paradigm, our method is flexible enough to be trained under both fullyand semi-supervised learning scenarios. 3) We introduce an effective prototype consistency regularisation strategy to help ProtoPNet learn robust and meaningful prototypes, which are beneficial to both classification interpretability and accuracy. 4) Extensive experiments on four datasets show that our method outperforms other state-of-the-art (SOTA) fullyand semi-supervised methods in terms of classification accuracy. Moreover, our method achieves superior weakly-supervised cancer localisation and tumour segmentation results than other competing methods. This paper extends our preliminary work BRAIxProtoPNet++ [14] in four aspects. First, different from [14] that distils the knowledge from a fixed pre-trained global classifier to train the prototype-based classifier whose classification accuracy is thus upper bounded by the global classifier, this paper presents a new student-teacher reciprocal learning paradigm to mutually improve the accuracy of both the prototype-based and global classifiers. This paradigm also enables us to exploit unlabelled training samples to improve the classification accuracy under a semi-supervised learning scenario. Second, we propose a novel regularisation strategy for the prototype-based classifier by introducing transformation-consistent constraints on its prototype learning. Third, we evaluate our method not only on two breast cancer screening mammogram datasets, but also on a multi-class retinal OCT dataset. Experiments on mammogram datasets show the superiority of our method over existing fully and semi-supervised classification methods. Results on the retinal OCT dataset demonstrate that our method is general and effective in tackling the multi-class diagnosis task. Lastly, we further conduct investigations into the potential of our method for weakly-supervised brain tumour segmentation. Results on a brain tumour MRI dataset exhibit that our prototype-based method is also applicable and competitive for the weakly-supervised segmentation task

Literature Review

- Y. LeCun, Y. Bengio, G. Hinton       Deep learning A method in artificial intelligence (AI) that teaches computers to process data in a way that is inspired by the human brain.

- L. Fang, D. Cunefare, C. Wang Automatic segmentation of nine retinal layer bou- ndaries in OCT images. We first decompose training OCT images into patches.

- G. Carneiro, J. Nascimento, A. P. Bradley Automated analysis of unregistered multi-view mammograms with deep learning. The main innovation behind this methodology lies in the use of deep learning models for the problem of jointly classifying unregistered mammogram views and respective segmentation maps of breast lesions

CHAPTER 2

2. SYSTEM ANALYSIS

2.1 EXISTING SYSTEM

- This suggests that the framework is designed in a way that its decisions can be understood by humans, which is important for trust and validation.

- This indicates that the framework is expected to produce correct results with high reliability.

- This implies that the framework uses deep learning techniques to diagnose a particular problem or condition. Deep learning involves neural networks with many layers that can model complex patterns in data.

- This is a type of machine learning where the model is trained on a labeled dataset, meaning each training example is paired with an output label.

.

2.1.1 DRAWBACKS OF EXISTING SYSTEM ARE

- High accuracy on training data does not always translate to good performance on unseen data. Models need to be carefully regularized to avoid overfitting.

- Accuracy heavily depends on the quality and quantity of data. Poor or insufficient data can lead to inaccurate predictions.

- Deep learning models require significant computational power and resources for training, which can be expensive and time-consuming.

- These models typically require large amounts of data to perform well, which may not be available in all domains.

2.2. PROPOSED SYSTEM

- Collect data from various sources such as medical records, sensor data, images, etc.

- Remove noise and handle missing values to ensure data quality.

- Normalize or standardize data to ensure consistency across different scales.

- Acquire a dataset with fully labeled examples for initial model training.

- Collect additional data where only some examples are labeled to leverage semi-supervised learning.

2.2.1. ADVANTAGES OF PROPOSED SYSTEM

- Interpretable models allow users and stakeholders to understand how decisions are made, which builds trust and facilitates validation of the model’s results.

- In fields like healthcare and finance, interpretable models help meet regulatory requirements that demand explainability in automated decision-making processes.

- High accuracy ensures that the framework provides dependable and precise diagnoses, which is critical in high-stakes applications such as medical diagnosis.

- Accurate diagnoses can lead to better decision-making and improved outcomes, whether in healthcare, predictive maintenance, or other applications.

2.3 FEASIBILITY STUDY

The feasibility Analysis is an analytical program through project manager determines the project success ratio and through feasibility study project manager able to see either project. The key considerations involved in the feasibility analysis are:

- Economic Feasibility

- Technical Feasibility

- Operational Feasibility

- Environmental Feasibility

2.3.1 ECONOMICAL FEASIBILITY

Hence this project is economically feasible there is no need to involve any cost for this project.

2.3.2 TECHNICAL FEASIBILITY

Software Technologies used are PHP and MySql. In the educational institutions, it is possible to update the system in future. No special hardware is required for the purpose of using this system. Hence it is declared that this project is technically feasible.

2.3.3 OPERATIONAL FEASIBILITY

As the admin work mainly to maintain the Patient and Doctor .Doctor will predict patient cancer disease. Hence it is easy to operate with training. Therefore it is operationally feasible for implementation.

2.3.4 ENVIRONMENTAL FEASIBILITY

This project environment is correct as a admin has developed this system and no expenditure is involved under any head and this process is part of admin document management, this project environment is accessible.

2.4 SYSTEM REQUIREMENTS

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse	: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.1 HARDWARE REQUIREMENTS

The Hardware of the computer consists of physical component such as Input Devices, Storage Devices, Processing & Control units and Output Devices.  Computer includes external storage unit to store data in programs.

The Hardware Configuration involved in this project

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse 		: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.2 SOFTWARE REQUIREMENTS

Software is a group of programs that computers need to do a particular task.  It is an essential requirement of Computer System. The Software used to develop the project is

- Operating System	: Windows XP.

- Platform		: DOT NET TECHNOLOGY

- Front End		: ASP.Net 3.5

- Back End		: SQL SERVER 2005

2.5 MODULE DESCRIPTION

  Interpretable Deep-Learning Framework: This suggests that the model is designed not only for accuracy but also for transparency in its decision-making process. Interpretable models are crucial in medical contexts where understanding why a particular diagnosis or prediction was made is as important as the prediction itself.

  Accurate Deep-Learning Framework: Accuracy is fundamental in any diagnostic framework, especially in healthcare. Deep learning excels in tasks where large amounts of data can be used to train models to recognize patterns and make predictions.

  Fully Supervised Learning: In fully supervised learning, the model is trained using labeled data, where each input data point is associated with a corresponding output label (e.g., a disease diagnosis). This approach requires a large amount of labeled data but typically achieves high accuracy.

  Semi-Supervised Learning: Semi-supervised learning combines a small amount of labeled data with a larger amount of unlabeled data during training. This is useful when obtaining labeled data is expensive or time-consuming. Techniques such as self-training or consistency regularization are often used in semi-supervised learning.

  Reciprocal Learning Modules: Reciprocal learning can refer to various techniques where different models or modules interact in a reciprocal manner to enhance learning or decision-making. For medical diagnosis, this might involve multiple models or modules that exchange information or feedback to improve accuracy or interpretability.

###### CHAPTER 3

SYSTEM DESIGN AND DEVELOPEMENT

3.1 DATA FLOW DIAGRAM

CHAPTER 4

TESTING AND IMPLEMENTATION

  - TESTING

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

4.1.1Unit Testing

Unit testing comprises the set of tests performed by an individual programmer prior to integration of the unit into a larger system. The module interface is tested to ensure that information properly flows into and out of the program unit. The local data structure is examined to ensure that data stored temporarily maintains its integrity during all steps in an algorithm’s execution. Boundary conditions are tested to ensure that the module operates properly at boundaries established to limit or restrict processing. All independent paths through the control structure are tested. All error-handling paths are tested.

4.1.2 Block Box Testing

Black-box testing is a method of software testing that examines the functionality of an application without peering into its internal structures or workings. This method of test can be applied virtually to every level of software testing: unit, integration, system and acceptance. It is sometimes referred to as specification-based testing.

4.2 SYSTEM IMPLEMENTATION

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

CHAPTER 5

CONCLUSION

CONCLUSION

- We proposed the InterNRL method for accurate medical image classiﬁcation with effective prototype- based interpretability.

- Our method has been designed to seamlessly integrate the prototype-based interpretable model with existing highly accurate global CNN classiﬁers.

- We present a two-stage student-teacher reciprocal learning paradigm to reach highly accurate classiﬁcation.

- This paradigm also enables InterNRL to exploit additional unlabelled

training samples.

- Experimental results on four datasets demonstrate the superiority of our InterNRL compared to other SOTA methods in disease classiﬁcation, cancer localisation, and tumour segmentation.

- Besides, our InterNRL is a general framework that can be easily applied to other binary or multi-class interpretable diagnosis tasks in the medical imaging domain.

CHAPTER-6

REFERENCE

- Y. LeCun, Y. Bengio and G. Hinton, "Deep learning", Nature, vol. 521, no. 7553, pp. 436-444, 2015.

- L. Fang, D. Cunefare, C. Wang, R. H. Guymer, S. Li and S. Farsiu, "Automatic segmentation of nine retinal layer boundaries in OCT images of non-exudative AMD patients using deep learning and graph search", Biomed. Opt. Exp., vol. 8, no. 5, pp. 2732-2744, 2017.

- G. Carneiro, J. Nascimento and A. P. Bradley, "Automated analysis of unregistered multi-view mammograms with deep learning", IEEE Trans. Med. Imag., vol. 36, no. 11, pp. 2355-2365, Nov. 2017

- C. Wang, Y. Jin, X. Chen and Z. Liu, "Automatic classification of volumetric optical coherence tomography images via recurrent neural network", Sens. Imag., vol. 21, no. 1, pp. 1-15, Dec. 2020.

- C. Wang, Z. Cui, J. Yang, M. Han, G. Carneiro and D. Shen, "BowelNet: Joint semantic-geometric ensemble learning for bowel segmentation from both partially and fully labeled CT images", IEEE Trans. Med. Imag., vol. 42, no. 4, pp. 1225-1236, Apr. 2023.

- J. Su, D. V. Vargas and K. Sakurai, "One pixel attack for fooling deep neural networks", IEEE Trans. Evol. Comput., vol. 23, no. 5, pp. 828-841, Oct. 2019.

- C. Rudin, "Stop explaining black box machine learning models for high stakes decisions and use interpretable models instead", Nature Mach. Intell., vol. 1, no. 5, pp. 206-215, May 2019.

- K. Simonyan, A. Vedaldi and A. Zisserman, "Deep inside convolutional networks: Visualising image classification models and saliency maps", Proc. ICLR Workshop, pp. 1-16, 2014.

- A. Khakzar, S. Albarqouni and N. Navab, "Learning interpretable features via adversarially robust optimization", Proc. Int. Conf. Med. Image Comput. Comput.-Assist. Intervent., pp. 793-800, 2019.

- W. Brendel and M. Bethge, "Approximating CNNs with bag-of-local-features models works surprisingly well on ImageNet", Proc. ICLR, pp. 1-15, 2018.