## Slide 1: Battery Energy Management System for DC Micro Grids with AI Controller

## Slide 2: ABSTRACT
This paper presents the design and implementation of an energy management system (EMS) with fuzzy control for a dc microgrid system. Modeling, analysis, and control of distributed and energy storage devices with MATLAB/Simulink are proposed.
To improve the life cycle of the battery, fuzzy control manages the desired state of charge. A fuzzy network has been designed to control the operating mode the battery to monitor values of all subsystems in the dc microgrid system.

## Slide 3: INTRODUCTION
With increased awareness of the depletion of traditional energy sources and environmental damage caused by increased carbon dioxide emissions from coal-fired power generation, the use of renewable energy has become the goal for energy development. Current green energy used in power generation includes: solar, wind, geothermal, biomass, and tidal.
Many countries have set a goal of increasing the usage of renew-able energy above 20% of their total power consumption by the year 2020.
Our system includes green power generator, energy storage element, dc appliance and equipment, and energy management system (EMS) with a fuzzy controller.

## Slide 4: EXISTING SYSTEM

## Slide 5: EXISTING
Existing system has high efficiency but doesn’t have proper control strategies
Power converted by rectifying an ac source with power factor correction is act as a backup.
To use renewable energy more efficiency
DC electricity should be supplied to these loads
DRAWBACKS
Existing system does not have EMS monitoring
SOC parameter is not maintained properly
There is no equilibrium of power supply

## Slide 6: PROPOSED
The dc micro grid system is composed of solar power wind power generation, lithium ion battery, dc load and ac/dc convertor with EMS monitoring and control system
The proposed EMF was commanded with RS-485/zigbee network for data communication and delivery of energy distribution instruction
The design concept of the study was to increase the useful life of lithium battery and to include to charge and over discharge production mechanism and control the green source energy management
Fuel cell was used effective

## Slide 7: PROPOSED SYSTEM

## Slide 8: FUNCTIONAL BLOCK DIAGRAM

## Slide 9: FUZZY CONTROL
Fuzzy theory was first proposed in 1965 by Lotfi. A. Zadeh, an American scholar of automatic control, as a tool of quantitative expression for concepts that could not be clearly defined. A fuzzy control system is based on fuzzy-logic thinking in the design of how a controller works.
The so-called fuzzy logic is to establish a buffer zone between the traditional zero and one, with logic segments of none-zero and none one possible. It allows awider and more flexible space in logic deduction for the expression of conceptual ideas and experience.

## Slide 10: DYNAMIC MODEL OF MICROGRID SYSTEM USING MATLAB SIMULINK.

## Slide 11: Simulated output power PPV versus output voltage VPV of the solar

## Slide 12: Simulated output power wind power plant

## Slide 13: Simulation results with constant discharge of 5 A.

## Slide 14: EXPECTED OUTCOME
Reduced power loss by around 7%
Save 33% of the space
Reduced facility investment by about 15%
Increased reliability by about 200%

## Slide 15: Expected dc-bus voltage Vdc and battery current Ib waveforms of the proposed dc micro grid system.

## Slide 16: CONCLUSION
This paper presents the modeling, analysis, and design of fuzzy control to achieve optimization of an energy management system for a dc microgrid system. From the simulation results, the system achieves power equilibrium, and the battery SOC maintains the desired value for extension of battery life by using the control rules for a dc microgrid.
Additionally, the optimization rules can be included in the intelligent microgrid management system, and the system can conduct data communication and control operating status of subsystems via the RS-485/ZigBee network. The management system takes advantage of the design to control microgrid with power equilibrium, and achieves optimal control of the dc microgrid system.

## Slide 17: REFRENCE
Gerlach, A.-K.; Stetter, D.; Schmid, J.; Breyer, C. PV and wind power-complementary technologies. In Proceedings of the 26th European Photovoltaic Solar Energy Conference, Hamburg, Germany, 5–9 September 2011. [Google Scholar]
Rekioua, D. Hybrid Renewable Energy Systems: Optimization and Power Management Control; Springer Nature: Basingstoke, UK, 2019. [Google Scholar]
Singh, A.R.; Lei, D.; Kumar, A.; Singh, R.; Meena, N.K. Microgrid system. In Microgrid: Operation, Control, Monitoring and Protection; Springer: Singapore, 2020; pp. 1–25. [Google Scholar]
Cheng, Z.; Duan, J.; Chow, M.-Y. To centralize or to distribute: That is the question: A comparison of advanced microgrid management systems. IEEE Ind. Electron. Mag. 2018, 12, 6–24. [Google Scholar] [CrossRef]
Meng, L.; Sanseverino, E.R.; Luna, A.; Dragicevic, T.; Vasquez, J.C.; Guerrero, J.M. Microgrid supervisory controllers and energy management systems: A literature review. Renew. Sustain. Energy Rev. 2016, 60, 1263–1273.
Karavas, C.S.; Kyriakarakos, G.; Arvanitis, K.G.; Papadakis, G. A multi-agent decentralized energy management system based on distributed intelligence for the design and control of autonomous polygeneration microgrids. Energy Convers. Manag. 2015, 103, 166–179. [Google Scholar] [CrossRef]
Rodriguez, R.J.; Zeller, R.J.; Skertic, R.J.; Dougherty, M.P.; Cline, C.H. Micro Grid Control System. U.S. Patent No. 10,530,163, 7 January 2020. [Google Scholar]
Sood, V.K.; Ali, M.Y.; Khan, F. Energy management system of a microgrid using particle swarm optimization (PSO) and communication system. In Microgrid: Operation, Control, Monitoring and Protection; Springer: Singapore, 2020; pp. 263–288. [Google Scholar]
Gao, H.; Xu, S.; Liu, Y.; Wang, L.; Xiang, Y.; Liu, J. Decentralized optimal operation model for cooperative microgrids considering renewable energy uncertainties. Appl. Energy 2020, 262, 114579. [Google Scholar] [CrossRef]
Bogaraj, T.; Kanakaraj, J. Intelligent energy management control for independent microgrid. Sādhanā 2016, 41, 755–769.

## Slide 18: THANK YOU