Development of cost-effective myoelectric prosthesis

ABSTRACT

- Background: With the loss of an upper limb, activities of daily living (ADL) become more challenging for the affected person.

- Functional body powered upper limb prosthesis can replace the functions of upper limb for ADL activities up to some extent. But in higher level of upper limb amputation, it becomes difficult for the patient to manage ADL activities.

- The requirement of externally powered prosthesis such as myoelectric prosthesis plays a vital role in this aspect. Description of Problem statement: A myoelectric prosthesis is an externally powered prosthesis which is controlled by muscle contraction (muscle action potential). In market, many variants of myoelectric prostheses are available with various features.

- The most important feature of these prostheses is the grasping pattern types and also it indicates about movement of different fingers in prosthesis.

- Because it is expensive, access to these high-end prosthesesbecomes challenging for patients with upper limb amputation living in developing nations like India

- Even though few myoelectric prostheses are available in market with less cost, but the features are limited and are not working precisely.

- Expected Solutions: Experts from different disciplines, such as engineers for creating programs and fabrication of controlling circuits and Prosthetist for fabrication of sockets and fitment of the prostheses are required to design and develop a cost-effective myoelectric prosthesis.

- Most important feature of the prosthesis is the grasping pattern which is completely dependent on the prosthetic hand.

- Thus, design and fabrication of prosthetic hand also plays a vital role in the complete working mechanism of the prosthesis. Thus, to get a successful result, it is possible to work collaboratively with experts from different discipline.

CHAPTER-1

INTRODUCTION

- Around 10 million of the world population are suffering from amputation. Among them, 30% are arm amputees where most are from developing countries (around 2.4 million) [1]. Amputation can be of two types: congenital, where someone is born without a limb and traumatic, where amputation is caused because of surgical removal of a limb or part of it, due to an accident or illness [2].

- A majority of them belongs to the working class. In both cases, by losing hand or forearm, they lose their working ability, which leads to mental trauma and economic crisis.

- As they lose their working ability, most of them become beggars or a burden on the family which affects the economy of the country.

- The available solution to this problem is to use a prosthetic hand. Nowadays, there are various types of prostheses available on the market from simpler ones with only aesthetic function, usually made with silicone to mimic the skin, to bionic prostheses, with functionality closer to the human hand, e.g., Ottobock [3] and bebionic hands [4]

- Recent advancement in 3D printing has reduced the cost. In 2013, Ivan Owen created world0 s first 3D printed mechanical hand e-NABLE hand [8]. It turns the cost much more reduced than in conventional prostheses. But still, the price of only the hand structure alone costs about $50 with the whole package the price eventually goes beyond the price range of the poor people of the developing country.

- So in our study laser cutting method is considered instead of 3D printing to turn the CAD files into a prosthetic hand to lessen the cost.

- The human hand is extensively articulated, possessing approximately twenty-three degreesof-freedom (from distal to wrist) that allow it to perform a multitude of grasps and postures [9].

- In contrast, the bodypowered and myoelectric prosthetic hands traditionally used to replace the hand after amputation possesses lesser degrees-offreedom. The top design priorities while designing a prosthetic hand are to have high articulation and greater functionality. A higher degrees of freedom ensures greater performance but requires more complex design and more costly equipment.

CHAPTER 2

2. SYSTEM ANALYSIS

2.1 EXISTING SYSTEM

- To begin with, our inspiration for this design stems from the recent studies of Myoelectric hand prosthesis where prosthetics are controlled by Electromyographic (EMG) signals from the hand or other neighboring parts of the human body1 .

- The above-mentioned EMG signal is produced by a muscle when an electrical command signal originated from the brain transmits through nerve cells in order to contract the muscle2 . It has been possible to detect such signal from the appropriate muscles using skin-surface electrodes.

- Since the brain signals are originated from the thought process of a person, therefore, essentially a myoelectric hand is controlled by the thoughts of that person.

- Recently, many researchers and also commercial companies, mainly in developed countries, designed and marketed such prosthesis3-4 . As for an example, a research team developed an EMG controlled hand with a vibrotactile feedback system and successfully tested on subjects7 .

2.1.1 DRAWBACKS OF EXISTING SYSTEM ARE

- Limited Functionality: Cheaper models may not provide the same range of motion or precision as more expensive counterparts, leading to reduced user satisfaction and capability.

- Durability Issues: Cost-cutting measures can lead to the use of lower-quality materials, making the prosthesis less durable and more prone to wear and tear.

- Less Customization: Affordable options might not be as customizable to fit individual needs, which can affect comfort and usability for different users.

- Reduced Sensor Accuracy: Inexpensive devices may employ lower-quality sensors, resulting in less accurate signal detection and a less responsive experience.

- Shorter Lifespan: Cost-effective prostheses might require more frequent repairs or replacements, leading to higher long-term costs for users

2.2. PROPOSED SYSTEM

- The new feature is mainly based on the correlation between different channels of EMG signals. The function first creates the correlation data of the adjacent channels or electrodes and then it is integrated to get the SMA (signal magnitude area), which is a statistical measure of the magnitude of a varying quantity.

- Then all of the resulting SMA is added to generate SMAT (signal magnitude area of total channels). Finally square root of it is taken which is inspired by RMS (root mean square) .Different tension in different muscle groups gives rise to the individual finger movement.

- So the relative similarity or dissimilarity of adjacent electrodes or channels of the EMG signal should be a significant feature to distinguish different gestures. But all the available features focused on the each channel individually. We wanted to create a feature that would focus on the relative strength or pattern of the EMG signal between channels.

- All the common classifiers were tested where Quadratic SVM gave the best result. So, the control model is built using this combined feature set and classifier.

2.2.1. ADVANTAGES OF PROPOSED SYSTEM

- Increased Accessibility: Lower costs make myoelectric prostheses more accessible to a larger population, including those in low-income communities or developing countries.

- Broader Adoption: More affordable options can encourage wider adoption among users who might otherwise be deterred by high prices, promoting independence and improved quality of life.

- Encouragement of Innovation: The demand for affordable solutions can stimulate innovation in materials and manufacturing processes, potentially leading to new technologies.

- Customization Potential: With increased demand, manufacturers may explore new ways to offer customizable features within a budget-friendly framework

- Simplicity of Design: Cost-effective prostheses may emphasize simpler designs, which can be easier to maintain and repair, enhancing user experience.

2.3 FEASIBILITY STUDY

The feasibility Analysis is an analytical program through project manager determines the project success ratio and through feasibility study project manager able to see either project. The key considerations involved in the feasibility analysis are:

- Economic Feasibility

- Technical Feasibility

- Operational Feasibility

- Environmental Feasibility

2.3.1 ECONOMICAL FEASIBILITY

Hence this project is economically feasible there is no need to involve any cost for this project.

2.3.2 TECHNICAL FEASIBILITY

Software Technologies used are PHP and MySql. In the educational institutions, it is possible to update the system in future. No special hardware is required for the purpose of using this system. Hence it is declared that this project is technically feasible.

2.3.3 OPERATIONAL FEASIBILITY

As the admin work mainly to maintain the Patient and Doctor .Doctor will predict patient cancer disease. Hence it is easy to operate with training. Therefore it is operationally feasible for implementation.

2.3.4 ENVIRONMENTAL FEASIBILITY

This project environment is correct as a admin has developed this system and no expenditure is involved under any head and this process is part of admin document management, this project environment is accessible.

2.4 SYSTEM REQUIREMENTS

- System	:  Pentium IV 2.4 GHz.

- System	:  i3 processor

- Hard Disk	: 500 GB.

- Monitor	: 15 inch VGA Color.

- Mouse 		: Logitech Mouse.

- Ram		: 8 gb

- Keyboard	: Standard Keyboard

2.4.1 HARDWARE REQUIREMENTS

The Hardware of the computer consists of physical component such as Input Devices, Storage Devices, Processing & Control units and Output Devices.  Computer includes external storage unit to store data in programs.

The Hardware Configuration involved in this project

2.4.2 SOFTWARE REQUIREMENTS

Software is a group of programs that computers need to do a particular task.  It is an essential requirement of Computer System. The Software used to develop the project is

- Operating System	: Windows 10.

- Platform		: Python

- Front End		: html

- Back End		: SQL SERVER s

2.5 MODULE DESCRIPTION

- Control Module

- Actuation Module

- Power Supply Module

- Sensor Module

Control Module

- Signal Processing: Interprets myoelectric signals from residual muscles.

- Control Algorithms: Implements algorithms for translating muscle signals into movements, potentially using simple, effective strategies that reduce costs.

Actuation Module

- Motors and Actuators: Utilizes low-cost motors that provide adequate force and speed for basic movements.

- Mechanical Design: Employs lightweight materials and simplified mechanical designs to reduce production costs while maintaining functionality.

Calibration Module

- Temperature Calibration: Establish a calibration process to ensure the accuracy of the indicators at various temperatures, reflecting real-world conditions.

- Testing Protocols: Develop standard testing protocols to verify the performance of the strips under different scenarios.

Power Supply Module

- Battery Technology: Utilizes affordable, rechargeable batteries with reasonable energy density.

- Energy Efficiency: Incorporates energy-saving features to extend battery life, reducing the frequency of charging.

CHAPTER 4

TESTING AND IMPLEMENTATION

  - TESTING

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

4.1.1Unit Testing

Unit testing comprises the set of tests performed by an individual programmer prior to integration of the unit into a larger system. The module interface is tested to ensure that information properly flows into and out of the program unit. The local data structure is examined to ensure that data stored temporarily maintains its integrity during all steps in an algorithm’s execution. Boundary conditions are tested to ensure that the module operates properly at boundaries established to limit or restrict processing. All independent paths through the control structure are tested. All error-handling paths are tested.

4.1.2 Block Box Testing

Black-box testing is a method of software testing that examines the functionality of an application without peering into its internal structures or workings. This method of test can be applied virtually to every level of software testing: unit, integration, system and acceptance. It is sometimes referred to as specification-based testing.

4.2 SYSTEM IMPLEMENTATION

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

CHAPTER 5

CONCLUSION

CONCLUSION

- In this whole project, our main focus was to reduce cost. In the hardware implementation, we tried doing that by reducing material cost with our proposed hardware design.

- In software or controlling, we tried doing that by minimizing the number of features required to attain a usable accuracy in real life application because our final prosthetic hand will have access to very limited processing power as a low power microprocessor or microcontroller will be used to control it in practical implementation.

- According to the observations in this paper, for the practical implementation of a prosthetic hand, combination Hjorth, SMAT and XCORR features will be sufficient to classify the EMG signals from the user in real time with acceptable accuracy.

- Though the XCORR combination provides significant improvement over others, further works are needed to be done to improve these features and establish its significance as this feature was not found in any other studies. Better results can be achieved through some modifications and additional work.