## Slide 1
Development of portable device (non-contact device) for measurement of eye pressure in glaucoma patients for usage at home

## Slide 3: Abstract
Background: Glaucoma is a leading cause of blindness worldwide, and managing intraocular pressure (IOP) is crucial for preventing disease progression. Description: Traditional methods of measuring IOP, such as Goldmann applanation tonometry, require direct contact with the eye, topical anaesthesia, and skilled personnel, making them less accessible for regular monitoring.
Non-contact methods, such as air-puff tonometry, offer a more convenient alternative but are often limited to clinical settings due to their size and cost. Expected Solution: Problem statement is to develop a cost-effective, portable, and non-contact device that can measure IOP accurately and reliably with safety. This device should be easy to use, and allowing patients to use at home.

## Slide 4: Objective
In order to reduce the volume of these routine examinations and to meet the growing need for eye monitoring, portable, internet-enabled ophthalmic devices would be highly desirable that allow patients to self-examine their eyes from the comfort of their own homes. Previously, we have proposed a portable device for remote slit-lamp examinations and visual acuity screening (Phan et al., 2021).
In this paper, we further develop this device by including the additional functionality of a portable non-contact tonometer to measure the intraocular pressure.
We report on the design of this new multifunctional ophthalmic device that combines the three most essential ophthalmic examinations: biomicroscopy, visual acuity measurement, and noncontact tonometry.

## Slide 5: Existing System
Many tonometry devices have been developed, each with applications in different clinical settings. Recent advances have aimed to address the biomechanical properties of the cornea, such as central corneal thickness (CCT) and corneal curvature, as they may confound accuracy.
The most commonly used tonometers and their advantages and limitations are described here in detail. Goldmann applanation tonometry (GAT) currently is the gold standard, to which all other tonometers are compared.
We also focus on new 24-hour IOP monitoring devices and methods, developed recently to record daily fluctuations especially during the nocturnal period.

## Slide 6: Disadvantage
Accuracy and Reliability: Non-contact methods, such as air puff tonometry, may not provide the same level of accuracy as traditional methods like applanation tonometry. Inconsistent readings can lead to mismanagement of the condition.
User Error: Home use relies on patients correctly operating the device. Misinterpretation of instructions or incorrect usage could result in inaccurate measurements, leading to false reassurance or unnecessary anxiety.
Calibration and Maintenance: Portable devices may require regular calibration to maintain accuracy, which could be a barrier for users. Patients might struggle with maintenance, leading to potential errors in measurements.
Cost: High-quality, reliable devices may be expensive for patients to purchase, limiting accessibility. Insurance coverage for such devices can also be inconsistent.

## Slide 7: PROPOSED SYSTEM :
At its core, the device employs advanced measurement technology, such as air puff tonometry or optical coherence tomography, to accurately assess intraocular pressure without direct contact.
The user interface features a clear, high-resolution LCD screen that displays real-time measurements and historical data, complemented by simple navigation buttons or a touchscreen for ease of use.
A robust data management module enables storage of past measurements, allowing users to track their eye pressure over time. Connectivity is enhanced through Bluetooth and Wi-Fi capabilities, enabling seamless syncing with a dedicated companion app that helps patients manage their data and share it with healthcare providers.
Powering the device is a rechargeable lithium-ion battery designed for long life and efficiency. Together, these components create a user-friendly, reliable tool that empowers glaucoma patients to take charge of their eye health from the comfort of their homes.

## Slide 8: Advantage
Convenience: Patients can measure their eye pressure at home, reducing the need for frequent visits to eye care professionals, which can be time-consuming and costly.
Regular Monitoring: Home devices allow for more frequent measurements, enabling better tracking of eye pressure fluctuations over time. This can lead to timely interventions if there are significant changes.
Early Detection: Frequent home monitoring may facilitate early detection of potential problems, allowing for quicker adjustments in treatment plans before significant damage occurs.
Non-Invasive: Non-contact measurement methods, like air puff tonometry, are generally painless and do not require direct contact with the eye, making the process more comfortable for patients.

## Slide 9: Introduction
Glaucoma is a major global cause of blindness responsible for 37.5 % of all blind people in the world according to the studies of the World Health Organization (WHO) [1], [2].
As eye pressure measurements are essential for the prevention of this disease, it is of great importance to have reliable and precise measurements of the intraocular pressure (IOP). These measurements can be done by two main approaches: contact method and non-contact methods.
In this paper we will be focusing on the non-contact tonometers that have gained a significant popularity in recent years. Non-contact tonometers are one of the most used IOP measuring devices today.
They are fast, easy to use and provide a better level of comfort to the patient in comparison with traditional contact eye tonometer devices [3]-[12], [23]. Unfortunately, these advantages are overshadowed by the lack of precision and ability of an independent metrological calibration, which can result in imprecise measurement that will affect diagnostics and the subsequent treatment of glaucoma.

## Slide 10
The basic issue for all types of IOP non-contact measuring devices is currently the missing universal standard for the purpose of calibration and control that could be applied to measuring devices from all manufacturers.
Currently, the variety of approaches to measure the IOP, together with the use of manufacturer in house made standards, which are made solely for their specific device, makes an objective and traceable calibration from the view of metrology, difficult.
This lack of an independently designed universal calibration device makes the comparison of measured IOP between devices challenging, if not impossible. The ability to compare measurement results is of great importance when patients’ measured IOP differs from device to device (from various manufacturers).
This problem emerges mainly in the non-contact tonometers, but with the ever more decreasing use of contact methods that are time consuming for the medical professionals and uncomfortable for the patient, it gains on importance.

## Slide 11: MODULES
Measurement Module
User Interface Module
Data Management Module
Connectivity Module

## Slide 12: Measurement Module
Non-Contact Tonometry System: This core component could use air puff technology or optical methods (like laser interferometry) to measure intraocular pressure (IOP) without direct contact with the eye.
Calibration Sensors: Sensors to ensure accuracy and adjust measurements based on environmental conditions.

## Slide 13: User Interface Module
Display Screen: A clear LCD or LED display to show real-time measurements and instructions.
Control Buttons/Touchscreen: Easy navigation for users to start measurements, access settings, and view historical data.

## Slide 14: Data Management Modul
Data Storage: Internal memory for storing measurement history and patient data.
Data Syncing: Capability to sync data with smartphones or cloud-based applications for tracking trends over time.

## Slide 15: Connectivity Module
Bluetooth/Wi-Fi: For wireless data transfer to mobile devices or healthcare providers.
App Integration: Development of a companion app for iOS/Android to manage data, set reminders, and share results with healthcare professionals.

## Slide 16: Software Details
A web application (web app) is an application program that is stored on a remote server and delivered over the internet through a browser interface. Web services are web apps by definition and many, although not all, websites contain web apps.
Developers design web applications for a wide variety of uses and users, from an organization to an individual for numerous reasons. Commonly used web applications can include webmail, online calculators or e-commerce shops. While users can only access some web apps by a specific browser, most are available no matter the browser.

## Slide 17: Front End
Hyper Text Markup Language (HTML) is the backbone of any website development process, without which a web page does not exist. Hypertext means that text has links, termed hyperlinks, embedded in it. When a user clicks on a word or a phrase that has a hyperlink, it will bring another web-page. A markup language indicates text can be turned into images, tables, links, and other representations.
Cascading Style Sheets (CSS) controls the presentation aspect of the site and allows your site to have its own unique look. It does this by maintaining style sheets that sit on top of other style rules and are triggered based on other inputs, such as device screen size and resolution. The CSS can be added either externally, internally, or embedded in the HTML tags.

## Slide 18: Database
A Database Management System (DBMS) is a software system that is designed to manage and organize data in a structured manner. It allows users to create, modify, and query a database, as well as manage the security and access controls for that database.
A database is a collection of interrelated data which helps in the efficient retrieval, insertion, and deletion of data from the database and organizes the data in the form of tables, views, schemas, reports, etc.
For Example, a university database organizes the data about students, faculty, admin staff, etc. which helps in the efficient retrieval, insertion, and deletion of data from it.

## Slide 19: Cloud Web Server
Cloud-based application development plays a significant part in today's world. Cloud has allowed a generation of Internet-enabled applications. What started as one of the major technological advancements, has revolutionized the entire development paradigm and made it simpler than ever to develop applications.
Cloud-based application development has become a revolutionary trend in the IT industry today due to its various benefits over traditional software development models. It helps cloud application development services to reduce the costs of software maintenance and deployment.
It provides a flexible environment for the developers which allows them to work on projects from anywhere using any device with internet access.

## Slide 20: SOFTWARE REQUIREMENTS:
Operating System : Windows 10
Language :PYTHON Google Colab

## Slide 21: HARDWARE REQUIREMENTS:
Keyboard
Mouse
Harddisk
Ram

## Slide 22: CONCLUSION
he presented paper has shown a clear need for an independent standard with defined measurement uncertainty and established traceability for the purpose of non-contact tonometer control and calibration.
The initial prototype of this portable potentially universal standard was presented together with initial test results on non-contact and contact (rebound) tonometers.
On the basis of the discussion it can be seen that it is necessary to compare the properties of the artificial cornea with the properties of the human cornea. This will enable to provide a reliable and traceable calibration option for eye tonometers.