

Epileptic seizure detection using Deep Learning
                                                                            ABSTRACT

Epilepsy is a serious chronic neurological disorder, can be detected by analyzing the brain signals produced by brain neurons. Neurons are connected to each other in a complex way to communicate with human organs and generate signals. The monitoring of these brain signals is commonly done using Electroencephalogram (EEG) and Electrocorticography (ECoG) media. These signals are complex, noisy, non-linear, non-stationary and produce a high volume of data. Hence, the detection of seizures and discovery of the brain-related knowledge is a challenging task. Machine learning classifiers are able to classify EEG data and detect seizures along with revealing relevant sensible patterns without compromising performance. As such, various researchers have developed number of approaches to seizure detection using machine learning classifiers and statistical features. The main challenges are selecting appropriate classifiers and features. The aim of this paper is to present an overview of the wide varieties of these techniques over the last few years based on the taxonomy of statistical features and machine learning classifiers—‘black-box’ and ‘non-black-box’. The presented state-of-the-art methods and ideas will give a detailed understanding about seizure detection and classification, and research directions in the future.

Keywords: Epilepsy, Applications of machine learning on epilepsy, Statistical features, Seizure detection, Seizure localization, Black-box and non-black-box classifiers, EEG signals

TABLE OF CONTENTS

	CHAPTER NO
	
	TITLES
	PAGE NO

	
	
	ABSTRACT
	ii

	1
	1.1
	INTRODUCTION
	1

	
	1.2
	OBJECTIVE
	4

	
	1.3
	STRESS
	4

	
	
	1.3.1 Stress impact on society and economy
	6

	
	
	1.3.2 Stress signals
	7

	
	
	1.3.2.1 Physiological signals
	8

	
	
	1.3.2.2 Behavioral data
	10

	
	
	1.3.2.3 Questionnaires and surveys
	12

	
	1.4
	STRESS DETECTION
	12

	
	
	1.4.1 Social interaction 
	14

	
	
	1.4.2 Physical activity 
	15

	
	1.5
	ARTIFICIAL NEURAL NETWORK
	15

	
	
	1.5.1 Fundamental approach 
	16

	
	
	1.5.2 Design and analysis of ANN model for crack growth rate prediction 
	17

	
	
	1.5.3 Application of neural network architecture 
	17

	
	
	1.5.4 The ANN Approach 
	18

	
	
	1.5.5 The Multilayer Perceptron Approach 
	19

	
	
	1.5.6 The Number of the Necessary Hidden Units 
	20

	
	
	1.5.7 Artificial Neural Network Stress Classifiers 
	21

	
	1.6
	HUMAN STRESS LEVEL PREDICTION AND PREVENTION SYSTEM
	22

	
	
	1.6.1 EOG ARTIFACT REMOVAL 
	23

	
	
	1.6.2 TIME DOMAIN FEATURE EXTRACTION 
	24

	
	
	1.6.3 STRESS LEVEL CLASSIFICATION USING ANN 
	24

	
	1.7
	APPLICATION OF THE FULLY CONVOLUTIONAL NETWORK TO STRESS DETECTION TASKS 
	26

	2
	
	LITERATURE SURVEY
	29

	
	2.1
	EXISTING SYSTEM
	37

	
	
	2.1.1 Disadvantage of existing system
	37

	
	2.2
	PROPOSED SYSTEM
	38

	
	
	2.2.1 Advantage of proposed system
	38

	
	2.3
	FEASIBILITY STUDY
	39

	
	
	2.3.1 Economical feasibility
	39

	
	
	2.3.2 Technical feasibility
	40

	
	
	2.3.3 Operational feasibility
	40

	3
	
	SYSTEM SPECIFICATIONS
	41

	
	3.1
	HARDWARE REQUIREMENT
	41

	
	3.2
	SOFTWARE REQUIREMENT
	41

	4
	
	SYSTEM DESIGN AND DEVELOPMENT
	42

	5
	
	TESTING AND IMPLEMENTATION
	43

	
	5.1
	TESTING
	43

	
	
	5.1.1 Unit testing
	43

	
	
	5.1.2  Block box testing
	43

	
	5.2
	SYSTEM IMPLEMENTATION
	43

	6
	
	CONCLUSION
	44

	
	
	REFERENCES
	45


CHAPTER 1
1.1  INTRODUCTION

The word epilepsy originates from the Latin and Greek word ‘epilepsia’ which means ‘seizure’ or ‘to seize upon’. It is a serious neurological disorder with unique characteristics, tending of recurrent seizures . The context of epilepsy, found in the Babylonian text on medicine, was written over 3000 years ago . This disease is not limited to human beings, but extends to cover all species of mammals such as dogs, cats and rats. However, the word epilepsy does not give any types of clues about the cause or severity of the seizures; it is unremarkable and uniformly distributed around the world .
Several theories about the cause are already available. The main cause is electrical activity disturbance inside a brain , which could be originated by several reasons such as malformations, shortage of oxygen during childbirth, and low sugar level in blood . Globally, epilepsy affects approximately 50 million people, with 100 million being affected at least once in their lifetime . Overall, it accounts for 1% of the world’s burden of diseases, and the prevalence rate is reported at 0.5–1% . The main symptom of epilepsy is to experience more than one seizure by a patient. It causes a sudden breakdown or unusual activity in the brain that impulses an involuntary alteration in a patient’s behaviour, sensation, and loss of momentary consciousness. Typically, seizures last from seconds to a few minute(s), and can happen at any time without any aura. This leads to serious injuries including fractures, burns, and sometimes death.

1.2 OBJECTIVES

This section has provided an overview of the contributions of statistical features to seizure detection and their importance. Some researchers detect seizures using multiple sets of features, whilst others select a single feature such as ‘line length’. 

SEIZURE TYPE
Based on the symptoms, seizures are categorized by neuro-experts into two main categories—partial and generalized —as shown in Fig. 1. Partial seizure, also called ‘focal seizure’, causes only a section of the cerebral hemisphere to be affected. There are two types of Partial seizure: simple-partial and complex-partial. In the simple-partial, a patient does not lose consciousness but cannot communicate properly. In the complex-partial, a person gets confused about the surroundings and starts behaving abnormally like chewing and mumbling; this is known as ‘focal impaired awareness seizure’. On the contrary, in the generalized seizures, all regions of the brain suffer and entire brain networks get affected quickly . Generalized seizures are of many types, but they are broadly divided into two categories: convulsive and non-convulsive.
MAIN CONTRIBUTIONS OF THE PAPER
In brief, the contributions of this paper are as follows:

We have done the review according to five main dimensions. First, researchers who adopted the EEG, ECoG or both for seizure detection; second, significant features; third, machine learning classifiers; fourth, the performance of the classifier during a seizure, and last, knowledge discovery (e.g., seizure localization).

Through study, it has been explored that an ensemble of decision trees (i.e., decision forest–random forest) classifier outperforms other classifiers (ANN, KNN, SVM, single Decision Tree).

We also suggest, how decision forest algorithms could be more effective for other knowledge discovery tasks besides seizure detection.

This study will help the researchers with their data science backgrounds to identify which statistical and machine learning classifiers are more relevant for further improvement to the existing methods for seizure detection.

The study will also help the readers for understanding about the publicly available epilepsy datasets.

In the end, we have provided our observations by the current review and suggestions for future research in this area.
The structure of the paper is organized as follows. “Role of data scientists in epileptic seizure detection” section gives the overview of machine learning experts in EEG datasets. The preliminaries requirements are provided in “A framework for seizure detection” section; it presents a general model of seizure detection and explains each step in a subsequent manner. “Publicly available datasets” section provides the details of benchmark datasets with their description. “Seizure detection based on statistical features and machine learning classifiers” section explains the review of literature work done on seizure detection using different machine learning classifiers, with a detailed comparison. “Seizure localization” section reviews the work done in identifying the affected lobes of the brain using machine learning classifiers. In “Problems identified in existing literature” section, we have explored the issues in the previous work and highlighted the gap. Overall, “observation about capable classifiers and statistical features” section reports our observations from the review about a suitable classifier and feature. “Research directions in seizure detection” section emphasizes the future directions in this research area, followed by “Conclusion” section on the summary of the paper.

ROLE OF DATA SCIENTISTS IN EPILEPTIC SEIZURE DETECTION
Applications of machine learning are significantly seen on health and biological data sets for better outcomes . Researchers/scientists on different areas, specifically, data mining and machine learning, are actively involved in proposing solutions for better seizure detection. Machine learning has been significantly applied to discover sensible and meaningful patterns from different domain datasets . It plays a significant and potential role in solving the problems of various disciplines like healthcare . Applications of machine learning can also be seen on brain datasets for seizure detection, epilepsy lateralization, differentiating seizure sates, and localization . This has been done by various machine learning classifiers such as ANN, SVM, decision tree, decision forest, and random forest .
Certainly, in the past, numerous reviews have been carried out on seizure detection along with applied features, classifiers, and claimed accuracy without focusing on the challenges faced by the data scientists whilst doing research on datasets of neurological disorders. Therefore, this article provides a detailed study of machine learning applications on epileptic seizure detection and other related knowledge discovery tasks. In this review, the collected articles are from well-known journals of their relevant field. These references are either indexed by SCOPUS or Web of Science (WOS). Besides, we also considered some good ranked conference papers. Extensive literature is available covering the deep analysis of different features and classifiers applied on EEG datasets for seizure detection . Both, feature extraction and applying classification techniques are challenging tasks. Previous literature reveals that for the past few years, interest has been increased in the application of machine learning classifiers for extracting meaningful patterns from EEG signals, which helps for detecting seizures, its location in the brain, and other impressive related knowledge discoveries. Three decades ago, Jean Gotman analyzed and proposed the model for effective usage of EEG signals by applying different computational and statistical techniques for automatic seizure detection. Furthermore, the research has been carried out by different signal processing methods and data science methods to provide better outcomes .
A FRAMEWORK FOR SEIZURE DETECTION
In this section, we present a pictorial framework of the model used for seizure detection from an EEG/ECoG seizure dataset, illustrated in Fig. 2. The process comprises four steps: Data Collection, Data Preparation, Applying Machine Learning Classifiers and Performance Evaluation.

DATA COLLECTION
The initial requirement is to collect the dataset of brain signals. For this, different monitoring tools are used. Typically, the mostly used devices are EEG and ECoG, because their channels or electrodes are implanted by glue on the surface of the scalp as per 10–20 International system [48] at different lobes. Each of them has a wire connection to the EEG device, providing timely information about the variations in voltage, along with temporal and spatial information [49]. As highlighted in Fig. 2, the EEG channels are placed on the subject’s scalp, and the electrical signals are read by the EEG monitoring tool and it displays these raw signals over the screen. Further, these raw signals have been carefully monitored by the analyst and classified into ‘seizure’ and ‘non-seizure’ states.
DATA TRANSFORMATION
After data collection, the next crucial step is to transform the signal data into a 2-D Table format. The reason for this is to make it easier for analysis and provide necessary knowledge like seizure detection. This datum is raw because it has not been processed yet. Therefore, it will not be suitable to give relevant information. To do the processing, different feature selection modalities have been applied. This step also presents the dataset as supervised, which means that it provides the class attribute with possible class-values.

DATASET PREPARATION
For data transformation, data processing is a decisive step to extract meaningful information from the collected raw dataset. As such, different feature extraction techniques have been used; as shown in . These methods are generally applied to the extracted EEG signal dataset . The raw dataset becomes rich in terms of different statistical measure values. After feature extraction processing, the dataset becomes more informative that it ultimately helps the classifier for retrieving better knowledge.

APPLYING MACHINE LEARNING CLASSIFIERS AND PERFORMANCE EVALUATION
To achieve a high accuracy of seizure detection rate and explore relevant knowledge from the EEG processed dataset, different supervised and unsupervised machine learning have been used.
CLASSIFICATION 
In classification, a dataset D has a set of ‘non-class attributes’, and a ‘class attribute’. They are the principal components and their pertinent knowledge is very important, as both have a strong association for potential classification. The target attribute is defined as the ‘class attribute’ C, and it comprises more than one class values, e.g., seizure and non-seizure. On the contrary, attributes are known as ‘non-class attributes’ or predictors . The following classifiers have been popularly used in seizure detection. Common classifiers such as SVM, decision tree and decision forest are applied to the processed EEG dataset for seizure detection.

PERFORMANCE EVALUATION 
The accuracy of the obtained results is used to evaluate different methods. The most popular training approach is tenfold cross-validation where each fold, i.e., one horizontal segment of the dataset is considered to be the testing dataset and the remaining nine segments are used as the training dataset .

Except for the accuracy, the performance of the classifiers is commonly measured by the following metrics such as precision, recall, and f-measure . These are based on four possible classification outcomes

Precision is the ratio of true-positives to the total number of cases that are detected as positive (TP+FP). It is the percentage of selected cases that are correct, as shown in Eq. 1. High precision means the low false-positive rate.
Precision=T×100%

Recall is the ratio of true-positive cases to the cases that are actually positive. Equation 2 shows the percentage of corrected cases that are selected.

Recall=T×100%

Despite getting the high Recall results of the classifier, it does not indicate that the classifier performs well in terms of precision. As a result, it is mandatory to calculate the weighted harmonic mean of Precision and Recall; this measure is known as F-measure score, shown in Eq. 3. The false-positives and the false-negatives are taken into account. Generally, it is more useful than accuracy, especially when the dataset is imbalanced.

F-measure=2×(Precision·Recall)Precision+Recall

PUBLICLY AVAILABLE DATASETS
For data scientists and researchers, a dataset used is important for evaluating the performance of their proposed models. Similarly, in epileptic seizure detection, we need to capture the brain signals. EEG recording is the most used method for monitoring brain activity. These recordings play a vital role in machine learning classifiers to explore the novel methods for seizure detection in different ways such as onset seizure detection, quick seizure detection, patient seizure detection, and seizure localization. The significance of publicly available datasets is that they provide a benchmark to analyze and compare the results to others. In the following section, we will describe the popular datasets that are widely used on epilepsy.
CHILDREN HOSPITAL BOSTON, MASSACHUSETTS INSTITUTE OF TECHNOLOGY—EEG DATASET
This dataset is publicly available on a physionet server and prepared at Children Hospital Boston, Massachusetts Institute of Technology (CHB-MIT) [59, 60]. It can be collected easily via Cygwin tool which interacts with the physionet server. It contains the number of seizure and non-seizure EEG recordings for each patient of the CHB [61]. The dataset comprises 23 patients; 5 males, aged 3–22 years, and 17 females aged 1.5–19. Each patient contains multiple seizure and non-seizure recording files in European data format (.edf), representing the spikes with seizure start and end time, which is easily visible at a browser called an ‘EDFbrowser’. The primary datasets are in the 1-D format, containing EEG signals that are obtained through the different types of channels that were placed on the surface of the brain as per 10-20 International System. All these signals of the dataset were sampled at the frequency of 256Hz.

ECOG DATASET, EPILEPSY CENTRE, UNIVERSITY OF CALIFORNIA
This is a publicly available dataset of electrocorticogram (ECoG) signals from an epileptic patient, which was collected from the Epilepsy Center, University of California, San Francisco (UCSF) . It was originally collected by implanting 76 electrodes on the scalp in both invasive (12-electrodes) and non-invasive manner (64-electrodes). It comprises 16 files altogether. Out of these, eight files  are classified as ‘pre-ictal’ meaning the stage before the seizure. The rest of the  represent the ‘ictal’ stage data. The collected data are sampled at the frequency of 400 Hz (i.e., 400 cycles/s) and the total duration is 10 s. As a result, there are (400 cycles/s ×10 s) 4000 cycles in each file.

The Freiburg—EEG dataset

This dataset was collected from the invasive EEG recordings of 21 patients (8 males aged 13–47 years, 13 females aged 10–50 years) suffering from medically intractable focal epilepsy. It was recorded during an invasive pre-surgical epilepsy monitoring at the Epilepsy Centre of the University Hospital of Freiburg, Germany [64]. Out of 21 patients, 13 patients had 24 h of recordings, and 8 patients had less than 24 h. These recordings are inter-ictal, and together they provide 88 seizures.

BONN UNIVERSITY—EEG DATASET
The dataset comprises five subsets, where each one denoted as (A–E) contains 100 single-channels recording, and each of them has a 23.6 s duration, captured by the international 10–20 electrode placement scheme. All the signals are recorded with the same 128-channel amplifier system channel .

BERN-BARCELONA—EEG DATASET
This dataset comprised EEG recordings derived from five pharmacoresistant temporal lobe epilepsy patients with 3750 focal and 3750 non-focal bivariate EEG files. Three patients were seizure-free, with two patients only having auras but no other seizures following surgery. The multichannel EEG signals were recorded with an intracranial strip and depth electrodes. The 10–20 positioning was used for the electrodes’ implantation. EEG signals were either sampled at 512 or 1024 Hz, depending on whether they were recorded with more or less than 64 channels. According to the intracranial EEG recordings, they were able to localize the brain areas where seizures started for all five patients [66]. This dataset is good for the seizure localization purpose.

Go to:
SEIZURE DETECTION BASED ON STATISTICAL FEATURES AND MACHINE LEARNING CLASSIFIERS
This section explains the comprehensive detail of work on seizure detection using statistical features, classifiers—‘black-box’ and ‘non-black-box’. They are illustrated in Table . In brief, the ‘black-box’ classifiers are those which provide the accuracy without mentioning the reasons behind the results such as ANN and SVM . They are unable to explain their classification steps. Whereas, ‘non-black-box’ classifiers such as decision forest and random forest can able to explain each step of the processing, which is human-understandable. As a result, it helps in human-interpretable knowledge with high accuracy.

SEIZURE DETECTION BASED ON STATISTICAL FEATURES
If we apply machine learning classifier(s) directly to raw EEG/ECoG datasets, it may not produce enough sensible patterns. Therefore, selecting significant and capable statistical features from EEG and ECoG raw datasets is one of the challenges and a crucial task. The nature of EEG and ECoG signals is very complex, non-stationary and time-dependent [105–107]. As such, we can apply the machine learning classifier(s) to the processed datasets, which will ultimately assist to solve various neurological problems; for example, identifying seizure’s stages, accurate seizure detection, fast detection, etc. In Table 3, we summarize a review of several studies.

The significant statistical features were extracted by different types of transformation techniques; discrete wavelet transformations (DWT), continuous wavelet transformation (CWT), Fourier transformation (FT), discrete cosine transformation (DCT), singular value decomposition (SVD), intrinsic mode function (IMF), and time–frequency domain from EEG datasets [34, 71, 79, 108]. Logesparan et al. [34] used different types of feature extraction methods for seizure detection, but they reported that two features—‘line length’ and ‘relative power’—are the good performers for seizure detection. Guerrero-Mosquera [109] applied three time-domain features—line length, frequency, and energy on the raw EEG dataset. These features claim to be suitable for seizure detection and other brain-related applications such as computer interface (BCI). The claimed performance was evaluated using the following metrics such as sensitivity, specificity, F-score, receiver operating characteristics (ROC) curve, and percentile bootstrap measures. Duo Chen [84] used DWT with the SVM classifier on two benchmark datasets—CHB-MIT and Bonn University, achieved seizure detection accuracies of 92.30% and 99.33%, respectively. Ramy Hussein et al. [100] proposed a new featured L1-penalized robust regression (L1PRR) for seizure detection, the issue with their approach is computational complexity. Zavid and Paul [99] focused on classifying the ‘ictal’ and ‘inter-ictal’ states, where they used four features DCT, DCT-DWT, SVD, and IMF; the obtained signals are further classified by LS-SVM due to less computational cost.

Several researchers have contributed to seizure detection using a single feature [108, 110]. The feature ‘line length’ [108, 110] was applied to an EEG dataset; approximately 4.1 s of mean detection latency is recorded at a false alarm rate of 0.051 Fp/h. Further, Guo et al. [69] also used ‘line length’ but with the ANN for classifying the records obtained by EEG signals. Their automated seizure detection accuracy is 99.6%. A system was proposed by Koolen et al. [70] to detect seizures from EEG recordings. This detection system uses a single feature—‘line length’. The performance of this system shows 84.27% accuracy, 84.00% sensitivity and 85.70% specificity, which are comparatively lower than the results of Guo et al. [69].

After 3 years of study on several of statistical features [34], Logesparan et al. [71] proposed the ‘line length’ feature for normalization and discrimination of class values from EEG datasets. It is noted that ‘line length’ could be taken as the strongest feature and provides considerable output. Based on previous studies, the ‘line length’ can be taken with other features, and the result would be more promising, specifically in machine learning. This is because the dataset dimension would also increase with meaningful statistical information in the attributes.

Some other studies on seizure detection based on a single feature, i.e., entropy and its sub-types such as approximate entropy (AE) and sample entropy (SE), have also been done [45, 72, 73, 111]. The entropy feature helps to find the random behaviour of EEG signals and takes depth benefits in measuring the impurity of the signals [112, 113]. The entropy feature has been used widely where data are in the form of signals such as ECG, [114], EEG, and ECoG [36]. This helps in further steps of the detection model.

Acharya et al. [111] used four different types of entropy-based features: sample entropy, approximate entropy, phase entropy (S1), and phase entropy (S2) of the EEG datasets. The processed dataset from these entropy features was used for seizure detection. In another study, Chen et al. [90] used eight different kinds of entropy feature—approximate, sample, spectral, fuzzy, permutation, Shannon, conditional and correction conditional on a raw EEG dataset; further, the processed data were classified into three class values: ‘ictal’, ‘inter-ictal’ and ‘normal stage’, and their accuracy is 99.50%. A tool was proposed by Selvakumari et al. [89] using four features—entropy, root mean square (RMS), variance, and energy. Based on these features, the detection was done using SVM and naïve Bayesian classifiers with a reported accuracy of 95.63%. The tool is also able to find the seizure region in the brain; however, they did not mention the exact percentage of seizure location. Song and Li [72] built classification models by two classifiers—Extreme Learner Machine (ELM) and the back-propagation neural network (BPNN). Overall, their findings show 95.6% of classification accuracy with less execution time. Yong Zhang et al. [73] applied two entropy features—AE and SE on two different classifiers—ELM and SVM for processing EEG dataset. The SE features with ELM provide good classification accuracy compared to the AE feature whilst detecting the seizure.

The energy feature has been significantly used in seizure detection [115]. It plays a vital role particularly when the seizure is detected by the epoch- or windows-based method. This means that the EEG signals are divided into various segments [79, 94]. An exponential energy feature has been introduced by Fasil and Rajesh [97], which helps in identifying the irregularities in amplitude EEG signals.

Observations This section has provided an overview of the contributions of statistical features to seizure detection and their importance. Some researchers detect seizures using multiple sets of features, whilst others select a single feature such as ‘line length’. We recommend the ‘line length’ feature to be in the list of the set of suitable features for seizure detection because it is helpful in measuring the EEG signals complexity. It plays a sensitive role in the changes at the frequency and amplitude of signals. As a result, it helps to discriminate against the ‘seizure’ and ‘non-seizure’ cases. However, from the data science point of view, it is very important to see the various perspectives of each brain signals by observing other statistical features. Furthermore, we also suggest not to use the irrelevant feature(s) as they will unnecessarily increase the dataset size which results in an increase in computational time and gives insensible patterns too. As a result, it becomes a hassle to machine learning classifiers and users rather than providing the benefit. Some researchers [95, 98, 101] used a large number of features, which increases the attribute size, and results in more computational time and less accuracy. So, if we take the fewer features as previous researchers have done [71, 73, 79] this will give the low-dimensional dataset, which will not be fruitful for the knowledge discovery process. The next section illustrates the seizure detection by ‘black-box’ classifiers. As far as the classification purpose is concerned, it would be better to take more relevant statistical features, which can be integrated into knowledge discovery and a good performance rate.

SEIZURE DETECTION BASED ON BLACK-BOX CLASSIFIERS
The classifiers such as SVM, ANN, and KNN are considered as prominent ones due to their remarkable performances in different domains [67, 116]. Each technique has its pros and cons, and ‘black-box’ methods are not an exception to this [104]. Even though these classifiers contribute well to brain datasets, some of the relevant works on seizure detection using these classifiers are reported here.

The study of Satapathy et al. [85] was based on two ‘black-box’ approaches—SVM and Neural networks using different kernel methods for seizure detection against a large EEG dataset. The performance of each classifier is measured independently by the majority voting system, and it was found that SVM was more capable than other neural networks. Subasi et al. [87] proposed the solution to detect seizure using a hybrid approach of SVM, genetic algorithm (GA), and particle swarm optimization (PSO). The method achieved impressive accuracy, i.e., 99.38%, but the problem is that the classifier trains the dataset twice, one for SVM-GA and another for SVM-PSO. This could be a time-consuming.

Shoeb and Guttag [41] performed seizure detection on their arranged dataset of Child Hospital Bostan, MIT (CHB-MIT) [60] using SVM with the vector feature and achieved the estimated accuracy of 96%. Dorai and Ponnambalam [42] came with an idea of the epoch, which means dividing the dataset into smaller time frames. Further, they applied an ensemble of four ‘black-box’ approaches—LDA, KNN, CVE, and SVM on these epoch EEG datasets. This approach provides the prediction of onset seizures 65 s earlier. Classifying the EEG data into two class ‘ ‘seizure” and ‘non-seizure’, Birjandtalab et al. [117] used a Gaussian mixture model (GMM) before detecting the seizure, and obtained 90% accuracy with 85.1% F-measure. They also raised the issue of class imbalance in their dataset. Tzallas et al. [103] used time–frequency-domain features with ANN for the EEG dataset and obtained 100% accuracy for the ‘seizure’ and ‘non-seizure’ classification problem; with epochs’ datasets the accuracy is 97.7% from (A, B, C, and D) for ‘non-seizure’ and set E for ‘seizure’ epoch classes. Amin et al. [79] extracted relative energy features from the DWT method, and four classifiers—SVM, MLP, KNN, and Naïve Bayes—were applied for the classification purpose, the result shows 98% of SVM accuracy, which outperforms remaining classifiers. A framework had been proposed by K. Abualsaud et al. [118] using the ensemble of ‘black-box’ classifiers for automated seizure detection on noisy EEG signals, and the reported classification accuracy is 95%. However, the ensemble approach did not provide good accuracy as desired because all four classifiers were ‘black-box’.

In 2018, Lahmiri et al. [92] used generalized Hurst exponent (GHE) and KNN, to propose a system for identifying the ‘seizure’ and ‘non-seizure’ classes from intracranial EEG recordings, detection rate, with 100% accuracy rate. Further, Lahmiri et al. [43] exploited GHE with SVM, to classify the ‘seizure’ and ‘non-seizure’, and also they found 100% accuracy in less time. Here, the good indication is that authors claim the good accuracy in less time for seizure detection. But, the authors did not clearly define how many times the seizure can be detected. In another study by Al Ghayab et al. [88], the obtained accuracy is 100% as a result of using the concept of Information gain theory, to extract and rank the meaningful features from EEG signal dataset. The least square-support vector machine (LS-SVM) is then applied to classify the seizure cases. Moreover, due to the ‘black-box’’s nature of applied classifiers, the authors could not explore any other related aspects in terms of Knowledge discovery. Zabihi et al. [81] did patient-specific seizure detection using SVM classifier on the processed dataset with a good set of features, comprising time-domain, frequency-domain, time–frequency domain, and non-linear feature. The performance of their model has achieved an average of 93.78% sensitivity and a specificity of 99.05%. Here, it is noteworthy that they skip an important feature—‘line length’, from the available literature, which is prominently used in seizure detection. We also argue that CHB-MIT dataset [60] is imbalanced because, in an hour(s) of recording, a seizure time span is for a few seconds.

Observations
The main issue with ‘black-box’ classifiers is that they only make prediction without providing logic rules or patterns. That is why, they are not recommended for extracting sensible knowledge. For example, for class imbalance issues in EEG datasets, insufficient related literature is found, and the researchers who attempted to work on this problem did not provide a conceivable solution as to how to solve the class imbalance issue whilst detecting the seizure.

SEIZURE DETECTION BASED ON NON-BLACK-BOX CLASSIFIERS
‘Black-box’ classifiers are unable to express their classification procedure for human interpretation [67, 104, 116]. Consequently, there are fewer chances for knowledge discovery and better accuracy performance. Therefore, the concept of ‘non-black-box’ classifiers such as decision trees, and decision forests came into practice.

Chen et al. [119] first introduced the decision tree to the EEG dataset for seizure detection. Kemal and Saleh [120] used a C5.0 decision tree [121] algorithm to explore the logic rules for seizure detection, with an average accuracy of 75%. When the same C5.0 was applied to the same dataset processed by Fourier transformation the obtained accuracy with cross-validation was, however, 98.62%. A few related works are been available, where only a decision tree method is applied seizure detection because of less accuracy and a limited number of patterns obtained from the logic rules of a decision tree [122]. As a result, both the knowledge discovery and accuracy suffer. However, this gap can be filled by applying decision forest approaches instead [51, 57, 123].

Through the literature, it is found that the decision forest approaches are more effective than the single decision tree [57, 124], because the decision tree often gives a confined set of rules and overfitting issue is also raised [68]. The rules are extracted from training data by a decision tree that generates either limited or a single set of logic rules (Say, wherever C2_Entropy value ≤101.01 then �����_�����=�������) and stops growing the tree further records in the training dataset once the rule is accepted. However, if we generate a decision forest on the training data, we can achieve multiple sets of decision trees with the combination of sensible logic rules and a higher accuracy rate due to the majority voting method [57]. Decision forest classifiers [54, 68] are the type of ensemble methods that are used frequently. These are also used in seizure detection as they provide a high accuracy rate which depends on the majority voting method from the ensemble of decision trees. Moreover, they produce more logic rules as multiple decision trees from the training data (D) [123]. These logic rules are humanly interpretable, and data scientists can easily interrelate them with other seizure-related information from EEG datasets.

Siddiqui and Islam [125] used Systematic Forest (SySFor) to detect the seizure on ECoG without epoch reduction. Further, Siddiqui et al. [63] applied two decision forests—Systematic Forest (SysFor) [123] and Forest CERN [51] on nine statistical features for quick seizure detection using the concept of epoch length reduction. It is based on dividing the size of training dataset D into �1,�2, ...�� and testing the accuracy at every epoch of the dataset. These sub-datasets are in descending order in terms of time duration. If the seizure can be detected in a shorter epoch length without a decline in accuracy, then we can use the same one, which results in fast seizure detection. They achieved 100% accuracy. The limitation of this work is that authors have taken the dataset of a single patient, this could be tested for more patients. Several researchers have taken the advantages of random forest classifier for detecting the seizures [76, 78, 82, 126]. Because researchers/data scientists are able to see the logic rules and interpret them correspondingly. Moreover, it also provides good accuracy [44, 76–78, 80, 82]. Donos et al. [44] applied decision forest classifier—random forest, on time and frequency domains’ feature, which was extracted from an IEEG (Intra-cranial EEG) dataset. It helped in selecting the intra-cranial channels for early seizure detection in a closed-loop circuit. The results claimed that the system can detect the seizure with 93.8% sensitivity. Wang et al. [94] developed the greedy approach of random forest, i.e., forest-grid search optimization (RF-GSO), with this method and they found 96.7% accuracy. The shortcoming of this technique is that the performance could decline if EEG signals are too noisy. Tzimourta et al. [93] applied random forest to monitor seizure activities on the two benchmark epilepsy datasets [64, 65], the reported performance is 99.74%. Pinto-Orellana and Fábio R. Cerqueira [76] also used the random forest on the processed CHB-MIT dataset by a Spectro-temporal feature, and 70s, and the accuracy of each block is 98.30%.

Truong ND et al. [82] had carried out novel work of channel selection whilst detecting the seizure. Their key contribution is that they also focus on channels contributing mostly to automatic seizure detection. They used the random forest to solve channel selection and seizure detection, and which achieving 96.94% area under the curve (AUC). In another work, Mursalin et al. [80] proposed a method for seizure detection by selecting features with an Improved Correlation-based Feature Selection(ICFS). Basically it is a fusion of time and frequency domain. Then, a random forest classifier was applied for the seizure detection model. The obtained average classification accuracy by this approach was 98.75%.

Some other works have used an ensemble of ‘non-black-box’ classifiers such as boosting, bagging and random subspace [78, 127]. Yan et al. [78] applied a boosting classifier achieving 94.26% of accuracy, although the results were not as impressive as the ones obtained by [44], which used a random forest classifier. Hosseini [128] used Random subspace classifier along with an SVM classifier, to classify and detect seizures. Here, the benefit of applying a subspace on big datasets is to divide them into sub-datasets based on the random subspace concept, and then the SVM classifier was applied to each sub-dataset. Ensemble accuracy (EA) was calculated by the majority voting method, which was 95%. Apart from this study, the same authors of Hosseini et al. [126] recently did another research using an ensemble of classifiers. First, they created bootstrap samples using a random subspace method, and then applied classifiers such as SVM, KNN, extended nearest neighbor (ENN), and multilayer perceptron (MLP) obtaining 97% accuracy. Hussein et al. [100], proposed a novel feature extraction method, i.e., L1-penalized robust regression (L1PRR), which uses three common symptoms during seizures—muscles artifacts, eyes movement, and white noise. Inputting these features help the random forest classifier to obtain 100% accuracy.

Observations In comparison to decision trees, decision forest classifiers are tremendously used on brain datasets for exploring different research goals. It is difficult to suggest a particular classifier whilst dealing with a high-dimensional dataset, but a random forest classifier can be a capable classifier. However, it also criticizes that not all the ‘non-black-box’ classifiers are peculiar to detect seizures and have also pointed out the objection on the drawback of using a single decision tree classifier.

SEIZURE DETECTION BASED ON BLACK-BOX AND NON-BLACK-BOX MACHINE LEARNING CLASSIFIERS
From the literature, it is found that just a single machine learning classifier is not sufficient. Therefore, to take advantage of both ‘black-box’ and ‘non-black-box’ classifiers, some researchers utilized them in their experiments. This section provides a comprehensive review of classifiers applied together to detect the seizure.

Acharya et al. [111] used the ensemble of seven different classifiers—Fuzzy surgeon classifier (FSC), SVM, KNN, Probabilistic neural network, GMM, decision tree and Naïve Bayes for distinguishing the three states of a patient as ‘normal, ‘pre-ictal’ and ‘ictal’. The overall accuracy is 98.1%. Fergus et al. [83] also used distinct classifiers such as linear discriminant analysis (LDA), quadratic discriminant classifier (QDC), logistic classifier, uncorrelated normal density-based classifier (UDC), polynomial classifier, KNN, PARZEN, SVM, and decision tree on the processed data with seven features such as entropy, RMS, skewness, and variance. They contributed that the detected patient is suffering from a ‘Generalize seizure’ (means affecting whole brain region) across different patients without prior information about the seizure focal points. Mursalin et al. [101] proposed a method to reduce the data size, statistical sampling technique called optimum sample allocation technique, and to reduce the features they develop a feature selection algorithm. The analysis was done on the combination of five classifiers—SVM, KNN, NB, Logistic Model Trees (LMT) and Random forest.

Rand and Sriram [95] used four classifiers such as SVM, KNN, random forest, and Adaboost on a high-dimensional dataset prepared by 28 features. Their result shows that SVM outperforms on the cubic kernel. In another study, Manzouri et al. [98] used SVM and random forest on the dataset produced by 10-time and frequency features. In comparison to SVM-based detector, random forest classifier outperforms. Subasi et al. [96] achieved 100% of accuracy using four machine learning classifiers such as ANN, KNN, SVM, and random forest on two popular datasets—Freiburg and CHB-MIT to classify the three different states of seizures ‘pre-ictal’, ‘ictal’, and ‘inter-ictal’. Sharma et al. [102] proposed an automated system using iterative filtering and random forest for classifying the EEG signals. This work achieved classification accuracies of 99.5% on BONN dataset (A-E), for A versus E subsets, 96% for D versus E subsets, and 98.4% for ABCD versus E classes of EEG signals. Birjandtalab et al. [77] used two classifiers for different purposes; KNN is used to discriminate the ‘seizure’ and ‘non-seizure’ classes, whereas random forest is used to explore the significant channels. Here, the random forest also helps in the dimension reduction problem. The main benefit of selecting suitable channels is that it helps in providing relevant required information from the chosen channels, and reduces the computational cost of a classifier too. However, the authors did not mention here the important information from channel selection like finding the seizure location from the brain scalp. The main critic in [95, 98, 101] is that because of a large number of features, the attribute size of dataset will increases, and as a result the accuracy and computation time suffer.

OBSERVATIONS 
We observe that some work used an ensemble of distinguished classifiers to take the benefits separately. For example, influential channel selection can be independently done using decision forest classifiers like a random forest. But authors used other classifiers such as SVM and KNN for classifying the seizure records with good accuracy.

Seizure localization
After a successful seizure detection, localization is an essential task for epileptic surgery [129–131]. Typically, localized seizures can be cured by surgery which arises either from the left or right region of the brain. The seizure monitoring tools such as ECoG and EEG are prominently helpful to identify the seizure location. The electrodes/channels are implanted in a non-invasive (for EEG) and an invasive manner (for ECoG). Their positioning is based on the 10/20 (10–20) International system, which helps in identifying the seizure location [132]. The concept of seizure localization means identifying the region of the brain affected by a seizure. Though some types of seizures such as ‘tonic-clonic’ are cured by anti-epileptic drugs (AED), patients with partial seizures in some cases might go for surgery [13]. To solve this problem, finding the seizure location is an essential and challenging task for neurologists and neurosurgeon [129, 130]. The surgical target is to find a point/location/focal area from where a seizure is originating. The 10–20 positioning system gives some clues for identifying the location of a seizure. Recently, computational and machine learning methods have been applied to identify a seizure location [130, 133].

Acar et al. [133] used trucker and non-linear multi-way Trucker kernels, and claimed that other classifiers such as SVD and principal component analysis (PCA) were unable to localize a seizure. Ghannad-Rezaie [134] applied an advanced swarm intelligence algorithm to seizure data for finding seizure location. Their study produced some appreciable results, and explored whether the patient’s temporal lobe was affected by a seizure or not. They also suggested that SVM might be able to detect the seizure location. Moreover, they also focused on the reduction of ECoG electrodes. Mansouri et al. [135] proposed an algorithm for Seizure localization, which was tested on 10 sec of EEG dataset from Karuniya University. Here, they have taken the small-size dataset, because recording usually takes several hours. If they had tested on a big dataset, it would have been much better. Fakhraei et al. [130] calculated the sensitivity of each region of the brain. The confident prediction rate (CPR) was compared with the AUC of ROC plots obtained by six classifiers from the dataset of 79 patients (31 males, 48 females) with 197 medical features. The study found that CPR was more suitable than ROC. They also explored that 43 patients had the temporal lobe epilepsy (TLE) on their left sides whilst 36 patients had it on the right sides of their brains. Likewise, Rai et al. [136] proposed a method for identifying the focal points of the seizure by applying two entropy-based features—‘renyi entropy’ and ‘negentropy’ with the neural network classifier. Siddiqui et al. [63] localize the seizure using two decision forest classifiers, and their results showed that the left hemisphere of a brain was more affected by the seizures.

Observation
It is found that compared to seizure detection, machine learning classifiers have not been extensively applied for seizure localization. But some literature exist on this problem. In these reported works, authors did not mention the percentage of the affected region of the brain by a seizure, and they were not able to identify the exact location at the lobes such as occipital, frontal, parietal left and parietal right. Although, it is not our primary objective in this review paper, whilst discussing the related published research, we found some interesting clues for seizure localization.

Go to:
PROBLEMS IDENTIFIED IN EXISTING LITERATURE
One of the most significant and decisive steps is to select suitable statistical features because each channel or electrode implanted on the brain provides different statistical measures. Undoubtedly, earlier researchers made their consistent efforts to find the best features. Whilst some researchers used many features [34, 79], the others applied a few features [31, 36, 108, 112, 137] for detecting the seizure. As a data scientist, it is very important to see the different statistical perspectives of each brain signal by analyzing the statistical properties of the features such as entropy, energy, and skewness. And we must not focus on taking irrelevant feature(s) as such since it will unnecessarily increase the dataset size. Consequently, it will be more a burden to machine learning classifiers than a benefit, and if we take few features as previous researchers did [71, 73, 79], this will give the low-dimensional dataset and it will not be beneficial for an effective knowledge discovery process. Therefore, we should select those potential features that can to provide logical results. Hence, it is advisable to select a group of features to avoid a burden to the machine learning classifiers and to get help in related knowledge discovery.

Each classifier has its own merits and demerits, depending on the dataset attributes and requirements [138]. In general, it is very difficult to point out which classifier was the most effective for brain datasets. To identify the capable classifier, several classifiers have been tested on EEG datasets and their performance has been evaluated, and the one which performs well is to be considered in solving seizure detection and imparting knowledge discovery. The literature reveals that previous researchers had applied different approaches, most of which were from ‘black-box’ such as ANN, KNN and SVM. The biggest shortcoming in them is that they are unable to provide the appropriate explanations for patterns and the logic rules hidden inside the models. That is why, they are not suggested for remarkable knowledge discovery process. Data scientists may not explore the internal processing of patterns [51, 104]. However, from the literature, it is noted that the ‘non-black-box’ approach, especially, random forest, is widely used for seizure detection [44, 76, 77], because of its nature of generating bootstrap samples [124, 139] whilst building a decision forest. An analysis has been done to estimate the performance of machine learning classifiers on EEG datasets and has been found that ensemble non-black-classifiers performs effectively [104]. We argue that the random forest is based on bootstrap samples and it misses some influential attributes, because it randomly selects the attribute and sometimes generates the same set of logic rules also. As a result, sometimes, it creates irrelevant information too. To overcome this issue, we also suggest some other decision forest algorithms such as SysFor [123] and Forest CERN [51] methods in seizure detection.

All these findings on seizure detection raise few interesting research questions such as selecting suitable statistical features and machine learning classifiers to take less computation time as dataset has a high volume with high dimension, and the most significant missing information from machine learning classifiers is locating the accurate point of seizure at the brain lobe(s).

Class imbalance issue in seizure detection
Class imbalance is one of the serious problems [140] in machine learning and the majority is seen in medical datasets [141], particularly in EEG signals. This is because the duration of EEG recording is long, time-consuming and seizure duration is for a few seconds, which results in being prone to errors [91]. As a result, the dataset becomes highly imbalanced. Previous researchers have focused on seizure detection. Over the last few years, researchers have been focusing on the class imbalance challenge whilst detecting the seizures, and attempting to solve it by applying different conventional approaches with some novelties. Javad Birjandtalab et al. [91] used ANN with a weighted cost function to imbalanced EEG dataset, by achieving 86% F-measure. El Saadi et al. [142] obtained 97.3% accuracy using the under-sampling method with the SVM classifier. In another work by Saadullah and Awais [143], they used a combination of SMOTE and RUSTBOST techniques for detecting seizure to imbalance seizure data with 97% accuracy. However, the research done by Yuan Qi et al. [86] was very close to the satisfactory result as they assigned the heavy weights to a minority class of the data to maintain the effective balance and solved the biasing issue. The main critique of this work is that the authors did not mentioned what weights were assigned and what was their threshold level? Here, we argue that despite of EEG data are highly imbalanced as a result of their long-hour EEG recordings, the recordings continue until the seizure is detected. The seizure(s) time spans from only seconds to minute(s). Although researchers [76, 86, 117, 143] made their efforts in addressing this issue using both ‘black-box’ and ‘non-black-box’ classifiers, they did not propose any justifiable solutions, in terms of how big weights should be assigned to the minority (seizure) classes.

Go to:
Overall observation about capable classifiers and statistical features
It is challenging to suggest that a specific classifier should be capable for seizure detection. If we discuss classifiers, three constraints are very important whilst selecting a classifier—able to handle the high-dimensional dataset, high accuracy of the model, and able to retrieve the sensible knowledge. Not all machine learning classifiers are suitable for seizure detection and knowledge discovery tasks, mainly because of their black-box nature. This means that the logic rules/patterns are not visible and understandable to data scientists. In ‘non-black-box’ classifiers amongst decision trees [53] and decision forests [54], only decision forest algorithms are more capable, because the logic rules and knowledge discovered by a single decision tree are often limited and insufficient. For example, if we build a decision tree on a training dataset—it provides a limited or single set of logic rules and stops growing the tree further as all the data points in the training set accept that rule. On the other hand, if we build a decision forest on the same training set, we get multiple decision trees with more sensible logic rules. Siddiqui et al. [104] have done the analysis on CHB-MIT dataset to know which classifier performs better. For this, they applied two black-box (SVM and KNN) and two non-black-box (decision tree and ensemble of trees i.e., bagging, random subspace, boosting); they found non-black box classifier (ensemble) outperforms compared to other classifiers of black-box. Even ensemble also performs better than a single decision tree which is a non-black box classifier. Siddiqui et al. pplied two decision forests—Systematic Forest (SysFor) and Forest CERN for quick seizure detection using the concept of epoch length reduction. They achieved 100% of accuracy. Similarly, Hussein et al.also achieved 100% accuracy using decision forest–random forest approach.

The literature reveals that in the last few years, ‘non-black-box’ classifiers, particularly decision forest approach, were widely used on brain datasets of EEG and ECoG for different research goals . The reasons for using the decision forest for seizure detection are as follows:

A decision forest overcomes some of the disadvantages of a decision tree. A decision tree discovers only a single set of logic rules from an input dataset. The logic rules that are discovered by a single decision tree may fail to correctly predict and classify the class values;

A decision forest can produce more set of logic rules/patterns compared to a single decision tree and there is a high chance of good prediction/classification compared to a single decision tree;

Able to handle high-dimensional sets;

Due to its ensemble nature a decision forest mostly produces a high accuracy compared to a single tree and other classifiers [54];

Less computational time (specifically for Random forest);

Logic rules are clear and humanly interpretable such as analysts/domain experts can easily understand and suggest best opinions. For example, affected brain lobe by seizure, identifying suitable statistical features, etc.

Furthermore, many statistical features have been used for seizure detection. However, a comparison between them is difficult because of their heterogeneous nature. Some researchers used a single feature such as energy and entropy. On the other hand, a combination of statistical features such as energy, kurtosis, line length, entropy, skewness, max, standard deviation, and min may produce promising outcomes. Most research [34, 46, 92, 100, 109, 145] have achieved better results using these features. The novelty of [29, 63, 104, 125] is the selected nine statistical features are able to assist in seizure detection with high accuracy, i.e., 100%. This also provides the clue about seizure localization with the help of sensible logical rules. Hence, the selected group of features will not be a burden to the machine learning classifier but it will assist in related knowledge discovery.

Go to:
RESEARCH DIRECTIONS IN SEIZURE DETECTION
In this research analysis, we surveyed different machine learning classifiers used for seizure detection. No doubt, the progress of the persistent attempt has been found in this topic but few interesting research questions are also raised. In this section, we identify significant challenges which can uplift the future research in this area.

Selecting suitable statistical features and machine learning classifiers to take less computation time as the dataset has a high volume with a high dimension.

Accurate seizure detection on imbalanced datasets of long duration EEG recording datasets.

Quick seizure detection on long-hour EEG recording.

Whilst selecting the machine classifier it should be kept in mind that the classifier does not miss any necessary EEG channel/electrode.

Knowledge discovery from machine learning classifiers such as seizure localization which exactly points affected brain lobe(s), channel importance, and based on participating channels in seizure a knowledge could be provided to neurologist or neurosurgeon for suggesting epilepsy category.

Go to:
                                                              CHAPTER 2
LITERATURE SURVEY

1.“Organization WH. Neurological disorders: public health challenges. New York: World Health Organization; 2006.
One of the key constitutional responsibilities of the World Health Organization (WHO) is to foster partnership and collaboration among scientifi c and professional groups in order to contribute to the advancement of global health. To help prioritize health needs and design evidence-based health programmes globally, WHO initiates a large number of international projects and activities involving numerous governmental and nongovernmental organizations, health professionals and policy-makers. The Global Burden of Disease (GBD) study, a collaborative endeavour of the World Health Organization (WHO), the World Bank and the Harvard School of Public Health, drew the attention of the international health community to the burden of neurological disorders and many other chronic conditions. This study found that the burden of neurological disorders was seriously underestimated by traditional epidemiological and health statistical methods that take into account only mortality rates but not disability rates. The GBD study showed that over the years the global health impact of neurological disorders had been underestimated (1). With awareness of the massive burden associated with neurological disorders came the recognition that neurological services and resources were disproportionately scarce, especially in low income and developing countries. Furthermore, a large body of evidence shows that policy-makers and health-care providers may be unprepared to cope with the predicted rise in the prevalence of neurological and other chronic disorders and the disability resulting from the extension of life expectancy and ageing of populations globally (2, 3). In response to the challenge posed by neurological disorders, WHO launched a number of global public health projects, including the Global Initiative on Neurology and Public Health whose purpose is to increase professional and public awareness of the frequency, severity and costs of neurological disorders and to emphasize the need to provide neurological care at all levels including primary health care. This global initiative has revealed a paucity of information on the burden of neurological disorders and a lack of policies, programmes and resources for their management In response to these fi ndings, WHO and the World Federation of Neurology (WFN) recently collaborated in an international Survey of Country Resources for Neurological Disorders involving 109 countries and covering over 90% of the world’s population. The survey collected information from experts on several aspects of the provision of neurological care around the world, ranging from frequency of neurological disorders to the availability of neurological services across countries and settings. The fi ndings show that resources are clearly inadequate for patients with neurological disorders in most parts of the world; they highlight inequalities in the access to neurological care across different populations, especially in those living in low income countries and in the developing regions of the worlS. The results of the survey, which include numerous tables, graphs and commentaries, have been published in the WHO/WFN Atlas of Country Resources for Neurological Disorders (8). The atlas is available at http://www.who.int/mental health/ neurology/ or on request from WHO
2. “Chaudhary UJ, Duncan JS, Lemieux L. A dialogue with historical concepts of epilepsy from the babylonians to hughlings jackson: persistent beliefs. Epilepsy Behav. 2011;21(2):109–114. 
Epilepsy is one of the few neurological disorders to be recognized in Antiquity. The etiology of epilepsy has evolved from affliction of evil spirits and bad omens to an organic disease of the brain. Geographically separate cultures have recognized the diverse symptomatology of epilepsy from vigorous convulsions to spontaneous localized jerking since times immemorial. Similarly, the diagnostic procedures and treatment options have varied in different milieus. In this review we have followed the course of history chronologically from Babylonians to Hughlings Jackson, mapping the conceptual development of epilepsy and the origin of some of the positive and negative attitudes inherited into today's epileptology. Original writings, such as Hughlings Jackson's letters, and English translations of early Latin work, where available, were used as primary sources of information. Where primary sources were not accessible, we consulted research articles, books, and commentaries by eminent historians and epileptologists. Epilepsy is one of the few neurological disorders to be recognized in Antiquity. The etiology of epilepsy has evolved from affliction of evil spirits and bad omens to an organic disease of the brain. Geographically separate cultures have recognized the diverse symptomatology of epilepsy from vigorous convulsions to spontaneous localized jerking since times immemorial. Similarly, the diagnostic procedures and treatment options have varied in different milieus. In this review we have followed the course of history chronologically from Babylonians to Hughlings Jackson, mapping the conceptual development of epilepsy and the origin of some of the positive and negative attitudes inherited into today's epileptology. Original writings, such as Hughlings Jackson's letters, and English translations of early Latin work, where available, were used as primary sources of information. Where primary sources were not accessible, we consulted research articles, books, and commentaries by eminent historians and epileptologists. of epilepsy in Western civilization from ancient times to the beginnings of modern neurology,2 among various others), which we will identify with an * to denote “as cited in.”

3 Reynolds EH. Milestones in epilepsy*. Epilepsia. 2009;50(3):338–342. doi: 10.1111/j.1528-1167.2009.02050.x
AbstractEpilepsy is a serious chronic neurological disorder, can be detected by analyzing the brain signals produced by brain neurons. Neurons are connected to each other in a complex way to communicate with human organs and generate signals. The monitoring of these brain signals is commonly done using Electroencephalogram (EEG) and Electrocorticography (ECoG) media. These signals are complex, noisy, non-linear, non-stationary and produce a high volume of data. Hence, the detection of seizures and discovery of the brain-related knowledge is a challenging task. Machine learning classifiers are able to classify EEG data and detect seizures along with revealing relevant sensible patterns without compromising performance. As such, various researchers have developed number of approaches to seizure detection using machine learning classifiers and statistical features. The main challenges are selecting appropriate classifiers and features. The aim of this paper is to present an overview of the wide varieties of these techniques over the last few years based on the taxonomy of statistical features and machine learning classifiers—‘black-box’ and ‘non-black-box’. The presented state-of-the-art methods and ideas will give a detailed understanding about seizure detection and classification, and research directions in the future. Te word epilepsy originates from the Latin and Greekword ‘epilepsia’ which means ‘seizure’ or ‘to seize upon’.It is a serious neurological disorder with unique charac-teristics, tending of recurrent seizures]. Te context ofepilepsy, found in the Babylonian text on medicine, waswritten over 3000 years ago. Tis disease is not lim-ited to human beings, but extends to cover all species ofmammals such as dogs, cats and rats. However, the wordepilepsy does not give any types of clues about the causeor severity of the seizures; it is unremarkable and uni-formly distributed around the world [1,4].Several theories about the cause are already available.Te main cause is electrical activity disturbance insidea brain , which could be originated by severalreasons such as malformations, shortage of oxygenduring childbirth, and low sugar level in blood [8,9].Globally, epilepsy aﬀects approximately 50 million peo-ple, with 100 million being aﬀected at least once in theirlifetime [5,10]. Overall, it accounts for 1% of the world’sburden of diseases, and the prevalence rate is reportedat 0.5–1% [4,11]. Te main symptom of epilepsy is toexperience more than one seizure by a patient. It causesa sudden breakdown or unusual activity in the brain thatimpulses an involuntary alteration in a patient’s behav -iour, sensation, and loss of momentary consciousness.ypically, seizures last from seconds to a few minute(s),and can happen at any time without any aura. Tis leadsto serious injuries including fractures, burns, and some-times death 
4. Qu H, Gotman J. Improvement in seizure detection performance by automatic adaptation to the eeg of each patient. Electroencephalogr Clin Neurophysiol. 1993;86(2)
Automatic computer-based seizure detection and warning devices are important for objective seizure documentation, for SUDEP prevention, to avoid seizure related injuries and social embarrassments as a consequence of seizures, and to develop on demand epilepsy therapies. Automatic seizure detection systems can be based on direct analysis of epileptiform discharges on scalp-EEG or intracranial EEG, on the detection of motor manifestations of epileptic seizures using surface electromyography (sEMG), accelerometry (ACM), video detection systems and mattress sensors and finally on the assessment of changes of physiologic parameters accompanying epileptic seizures measured by electrocardiography (ECG), respiratory monitors, pulse oximetry, surface temperature sensors, and electrodermal activity. Here we review automatic seizure detection based on scalp-EEG, ECG, and sEMG. Different seizure types affect preferentially different measurement parameters. While EEG changes accompany all types of seizures, sEMG and ACM are suitable mainly for detection of seizures with major motor manifestations. Therefore, seizure detection can be optimized by multimodal systems combining several measurement parameters. While most systems provide sensitivities over 70%, specificity expressed as false alarm rates still needs to be improved. Patients' acceptance and comfort of a specific device are of critical importance for its long-term application in a meaningful clinical way. In general, automatic seizure detection must be distinguished from automatic seizure prediction. While seizure detection methods aim to detect ongoing seizures as soon as possible after seizure onset, seizure prediction models try to identify upcoming seizures well before seizure onset. In the present review we will focus on automatic seizure detection, while the reader is referred to excellent reviews on the current status of seizure prediction .
Automatic computer-based seizure detection currently is one of the major research questions in clinical epileptology for the following reasons:

Documentation of seizure frequency, seizure severity and seizure type by patients and their relatives represents the most important outcome parameter for epilepsy treatment both in everyday clinical practice and for the assessment of the efficacy of medical and non-medical treatment interventions in clinical trials. However, seizure documentation by patients and their relatives has been shown to be highly unreliable. In a study using video-EEG monitoring as the gold standard for seizure documentation, 55.5% of all seizures, 73.2% of complex partial seizures, 26.2% of simple partial seizures, 41.7% der secondary generalized tonic-clonic seizures, 85.8% of seizures arising out of sleep and 32.0% of seizures arising out of wakefulness remained unnoticed or were not documented by patients . In a study using a long-term, implanted seizure advisory system in patients with drug-resistant focal epilepsy for several months, a very low agreement between seizures noticed in patients' seizure diaries and those objectively documented on invasive EEG was found. Most patients significantly underestimated their seizure frequency. Because the relationship between patient and EEG documented seizures was highly variable from month to month, the application of a hypothetical correction factor seems not feasible . Therefore, objective and automatic documentation of seizure frequency, seizure severity, and seizure type is urgently needed in everyday clinical epileptology, but also in clinical epilepsy research to objectively assess the efficacy of therapeutic interventions in clinical trials

5. Sazgar Mona, Young Michael G. Absolute Epilepsy and EEG Rotation Review. Cham: Springer International Publishing; 2019. Seizures and Epilepsy; 
Epilepsy is a serious chronic neurological disorder, can be detected by analyzing the brain signals produced by brain neurons. Neurons are connected to each other in a complex way to communicate with human organs and generate signals. The monitoring of these brain signals is commonly done using Electroencephalogram (EEG) and Electrocorticography (ECoG) media. These signals are complex, noisy, non-linear, non-stationary and produce a high volume of data. Hence, the detection of seizures and discovery of the brain-related knowledge is a challenging task. Machine learning classifiers are able to classify EEG data and detect seizures along with revealing relevant sensible patterns without compromising performance. As such, various researchers have developed number of approaches to seizure detection using machine learning classifiers and statistical features. The main challenges are selecting appropriate classifiers and features. The aim of this paper is to present an overview of the wide varieties of these techniques over the last few years based on the taxonomy of statistical features and machine learning classifiers—‘black-box’ and ‘non-black-box’. The presented state-of-the-art methods and ideas will give a detailed understanding about seizure detection and classification, and research directions in the future. The word epilepsy originates from the Latin and Greek word ‘epilepsia’ which means ‘seizure’ or ‘to seize upon’. It is a serious neurological disorder with unique characteristics, tending of recurrent seizures . The context of epilepsy, found in the Babylonian text on medicine, was written over 3000 years ago . This disease is not limited to human beings, but extends to cover all species of mammals such as dogs, cats and rats. However, the word epilepsy does not give any types of clues about the cause or severity of the seizures; it is unremarkable and uniformly distributed around the world  
Several theories about the cause are already available. The main cause is electrical activity disturbance inside a brain which could be originated by several reasons such as malformations, shortage of oxygen during childbirth, and low sugar level in blood . Globally, epilepsy affects approximately 50 million people, with 100 million being affected at least once in their lifetime . Overall, it accounts for 1% of the world’s burden of diseases, and the prevalence rate is reported at 0.5–1% . The main symptom of epilepsy is to experience more than one seizure by a patient. It causes a sudden breakdown or unusual activity in the brain that impulses an involuntary alteration in a patient’s behaviour, sensation, and loss of momentary consciousness. Typically, seizures last from seconds to a few minute(s), and can happen at any time without any aura. This leads to serious injuries including fractures, burns, and sometimes death

2.1 EXISTING SYSTEM

· The existence and non-existence of seizures. They also attained very promising overall accuracy, ranging from 97.72 to 100% for different cases. The random forest (RF) classifier has also been implemented in some studies
· In raw biological signals, noise and artifacts often exist due to muscle and eye movements. 
· Seizure Heterogeneity: one of the factors that hinder the performance of the ES detection model is the heterogeneity of seizures. Consequently, there exists an imperative need for developing a ML model that is robust to the heterogeneity of epileptic seizure. 
2.1.1 Disadvantages of existing system

· They also did not take into consideration the problem of overfitting and poor generalization. In supervised machine learning models, overfitting is a major issue
· The problem becomes a binary classification problem with two classes: non-seizure  and seizure. 
· This problem can also be expressed as differentiating between seizure and non-seizure events in EEG records.
· The ‘No Free Lunch’ theorem for supervised machine learning by David H. Wolpert  states that no single model works best for every problem. 
2.2 PROPOSED SYSTEM
· The results achieved up to 98.4% accuracy and showed that the proposed method was very effective and practical in detecting seizure presence in EEG signals
·  Nevertheless, the proposed work suffered from the limitation of not being able to detect the onset of a seizure, as it was not within the scope of our research
· Furthermore, our proposed method has the potential to reduce the heavy clinical workload of neurologists in the medical system and would enable early seizure diagnosis and treatment for patients.
2.2.1 Advantages of proposed system

· A public EEG dataset from the University of Bonn was used to validate the approach.
· After having been selected, relevant features were used to train different machine learning models, then hyperparameter optimization was utilized to further enhance the models’ performance.
· They used discrete wavelet transform to decompose the signals into time-frequency attributes, then the statistical features were extracted from the sub-band
2.3 FEASIBILITY STUDY
The feasibility of the project is analyzed in this phase and business proposal is put forth with a very general plan for the project and some cost estimates. During system analysis the feasibility study of the proposed system is to be carried out. This is to ensure that the proposed system is not a burden to the company.  For feasibility analysis, some understanding of the major requirements for the system is essential.

Three key considerations involved in the feasibility analysis are:

· Economical feasibility

· Technical feasibility

· Operational feasibility

2.3.1 Economical Feasibility
This study is carried out to check the economic impact that the system will have on the organization.  The  amount  of  fund  that  the  company  can  pour  into  the  research  and development of the system is limited. The expenditures must be justified. Thus the developed system as well within the budget and this was achieved because most of the technologies used are freely available. Only the customized products had to be purchased.

The economic feasibility based on the terms of:

· Time

· Cost

· Man power

2.3.2 Technical Feasibility
This study is carried out to check the technical feasibility, that is, the technical requirements of the system. Any system developed must not have a high demand on the available technical resources. This will lead to high demands on the available technical resources. This will lead to high demands being placed on the client. The developed system must have a modest requirement, as only minimal or null changes are required for implementing this system.

2.3.3 Operational Feasibility
The aspect of study is to check the level of acceptance of the system by the user. This includes the process of training the user to use the system efficiently. The user must not feel threatened by the system, instead must accept it as a necessity. The level of acceptance by the users solely depends on the methods that are employed to educate the user about the system and to make him familiar with it. His level of confidence must be raised so that he is also able to make some constructive criticism, which is welcomed, as he is the final use
                                                               CHAPTER 3
SYSTEM SPCIFICATION
3.1 HARDWARE REQUIREMENTS:
· Keyboard
· Mouse
· Hard disk 500GB
· Ram 4 Gb 
3.2  SOFTWARE REQUIREMENTS:
· Operating System : Windows 10
· Language              : Arduino UNO C++
CHAPTER 4
SYSTEM DESIGN AND DEVELOPEMENT

DATA FLOW DIAGRAM
[image: image1.png]- Seizure Non-seizure

Non-seizure

Partial Seizure Generalized Seizure

Generalize non-convulsive
Seizure

Generalize Convulsive
Seizure

Complex-Partial
Seizure

Simple-Partial
Seizure






                                                            CHAPTER 5
TESTING AND IMPLEMENTATION

5.1 TESTING

 Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

 5.1.1Unit Testing


Unit testing comprises the set of tests performed by an individual programmer prior to integration of the unit into a larger system. The module interface is tested to ensure that information properly flows into and out of the program unit. The local data structure is examined to ensure that data stored temporarily maintains its integrity during all steps in an algorithm’s execution. Boundary conditions are tested to ensure that the module operates properly at boundaries established to limit or restrict processing. All independent paths through the control structure are tested. All error-handling paths are tested.

5.1.2 Block Box Testing

Black-box testing is a method of software testing that examines the functionality of an application without peering into its internal structures or workings. This method of test can be applied virtually to every level of software testing: unit, integration, system and acceptance. It is sometimes referred to as specification-based testing.

5.2 SYSTEM IMPLEMENTATION
Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one. 

CHAPTER-6
CONCLUSION
CONCLUSION
In conclusion, this paper proposed a machine learning-based framework in detecting epileptic seizure (ES) events from EEG records. The proposed model successfully extracted insightful features from raw EEG signals based on discrete wavelet transform analysis. DWT also helped remove noises and artifacts found in the original signal, as their presence makes feature extraction very difficult in the subsequent stages.
By using feature selection, the dimensionality of the data was significantly reduced by 75% in the first run, and this resulted in a spectacular improvement in terms of performance and computation cost, with about 47% time saved when only the relevant features were used to train the classifiers.
REFERENCES
· 1. Sharma, M.; Pachori, R.B.; Acharya, U.R. A new approach to characterize epileptic seizures using analytic time-frequency flexible wavelet transform and fractal dimension.
· 2. Pachori, R.B.; Patidar, S. Epileptic seizure classification in EEG signals using second-order difference plot of intrinsic mode functions. Comput. Methods Programs Biomed. 2014, 113, 494–502. [CrossRef] 
· 3. Rasheed, K.; Qayyum, A.; Qadir, J.; Sivathamboo, S.; Kwan, P.; Kuhlmann, L.; O’Brien, T.; Razi, A. Machine Learning for Predicting Epileptic Seizures Using EEG Signals: A Review. IEEE Rev. Biomed. Eng. 2021, 14, 139–155. [CrossRef] [PubMed]
· 4. Zhou, M.; Tian, C.; Cao, R.; Wang, B.; Niu, Y.; Hu, T.; Guo, H.; Xiang, J. Epileptic Seizure Detection Based on EEG Signals and CNN. Front. Neuroinform. 2018, 12, 95. [CrossRef] [PubMed] 
· 5. Mula, M.; Monaco, F. Ictal and Peri-Ictal Psychopathology. Behav. Neurol. 2011, 24, 21–25. [CrossRef] 
· 6. Le, M.T.; Thanh Vo, M.; Mai, L.; Dao, S.V.T. Predicting heart failure using deep neural network. In Proceedings of the 2020 International Conference on Advanced Technologies for Communications (ATC), Nha Trang, Vietnam, 8–10 October 2020; pp. 221–225.
· 7. Dao, S.V.T.; Yu, Z.; Tran, L.V.; Phan, P.N.K.; Huynh, T.T.M.; Le, T.M. An Analysis of Vocal Features for Parkinson’s Disease Classification Using Evolutionary Algorithms. Diagnostics 2022, 12, 1980. [CrossRef]
·  8. Si, Y. Machine learning applications for electroencephalograph signals in epilepsy: A quick review. Acta Epileptol. 2020, 2, 5. [CrossRef] 
· 9. Ahammad, N.; Fathima, T.; Joseph, P. Detection of Epileptic Seizure Event and Onset Using EEG. BioMed Res. Int. 2014, 2014, 450573. [CrossRef] 

· 10. Siuly; Li, Y.; Wen, P. Clustering technique-based least square support vector machine for EEG signal classification. Comput. Methods Programs Biomed. 2011, 104, 358–372. [CrossRef] 
· 11. Savadkoohi, M.; Oladunni, T.; Thompson, L. A machine learning approach to epileptic seizure prediction using Electroencephalogram (EEG) Signal. Biocybern. Biomed. Eng. 2020, 40, 1328–1341. [CrossRef]
·  12. Sharmila, A.; Geethanjali, P. DWT Based Detection of Epileptic Seizure From EEG Signals Using Naive Bayes and k-NN Classifiers. IEEE Access 2016, 4, 7716–7727. [CrossRef]
· 13. Subasi, A.; Kevric, J.; Canbaz, M.A. Epileptic seizure detection using hybrid machine learning methods. Neural Comput. Appl. 2017, 31, 317–325. [CrossRef] 
· 14. Subasi, A.; Gursoy, M.I. EEG signal classification using PCA, ICA, LDA and support vector machines. Expert Syst. Appl. 2010, 37, 8659–8666. [CrossRef] 
S
· 15. Guo, L.; Rivero, D.; Dorado, J.; Rabuñal, J.R.; Pazos, A. Automatic epileptic seizure detection in EEGs based on line length feature and artificial neural73 networks. J. Neurosci. Methods 2010, 191, 101–109. [CrossRef] [PubMed]

