Image Method for Kidney Stone Segmentation in CT scan image Processing

- Abstract

This paper presents a technique for detection of kidney stones through different steps of image processing. The first step is the image pre-processing using filters in which image gets smoothed as well as the noise is removed from the image. Image enhancement is a part of preprocessing which is used to enhance the image which is achieved with power law transformation. Next, the image segmentation is performed on the preprocessed image using thresholding technique. The imaging modality used is CT because it has low noise compared to other modalities such as x-ray and ultrasound.

- Existing System

The kidney malfunctioning can be life intimidating. Hence early detection of kidney stone is essential. Precise identification of kidney stone is vital in order to ensure surgical operations success. The ultrasound images of kidney comprise speckle noise and are of low contrast which makes the identification of kidney abnormalities a difficult task. As a result, the doctors may find identification of small stones and the type is difficult and challenging for identify the small kidney stones and their type appropriately. To address this issue, a reaction diffusion level set segmentation is proposed to identify location of the stone; it is implemented in real time on Vertex-2Pro FPGA with Virology HDL using Xilinx System Generator blocks from Mat lab 2012a which is compatible with xilinx13.4 ISE and lifting scheme wavelets sub bands are employed for extraction of the energy levels of the stone. The results are analyzed using MLP-BP ANN algorithms for classification and its type of stone.

  - DISADVANTAGES OF EXISTING SYSTEM

- The clarity of segmented output is fail in some case.

- Segmentation based on the selected slice, Remaining false positive in the segmented output.

- Still containing unwanted regions in the output result. In the case of the irregular height abdomen, the program impossible to provide the correct result.

- Segmentation accuracy was relatively low.

- PROPOSED SYSTEM

We propose an efficient image-driven method for the automatic segmentation of the heart from CT scans. The methodology relies on image processing techniques such as multi-thresholding based on statistical local and global features, mathematical morphology, or image filtering, but it also exploits the available prior knowledge about the cardiac structures involved. The development of such a segmentation system comprises two major tasks: initially, a pre-processing stage in which the region of interest (ROI) is delimited and the statistical parameters are computed; and next, the segmentation procedure itself, which makes use of the data obtained during the previous stage. Our fully automatic approach improves on the state of the art through both computation speed and simplicity of implementation.

  - ADVANTAGES OF PROPOSED SYSTEM

- Detect  in initial stage

- High accuracy

- Low complexity

- To detect the size and location of the stone with low execution time.

- INTRODUCTION

Renal calculus, more commonly known as kidney stone formation, is characterized by the formation of crystals in the urine caused by substance concentration or genetic susceptibility. All persons are susceptible to kidney stones, even infants, and yet, the majority of kidney stone cases remain undetected except in cases where extreme abdominal pain is exhibited or abnormal urine color is observed. In addition, people with kidney stones exhibit common signs such as fever, pain and nausea that are easily associated to other conditions. Kidney stone detection is important particularly in its early stages to facilitate intervention or to receive proper medical treatment. The presence or the recurring presence of kidney stone decreases kidney functions and dilation of the kidney. It also has implications on the degrees of chronic kidney disease (CKD) or chronic renal failure (CRF) for people who have not been previously diagnosed with this condition. However, because of its asymptomatic nature, it is commonly diagnosed among patients who undergo medical examination for other diseases such as cardiovascular diseases (CVD), diabetes, and other medical conditions predispose to the urogenital apparatus [1]-[3]. Today, computer-assisted tools such as ultrasound  imaging,  computed  tomography  (CT),  and  X-rays  that  use  intravenous  pyelogram  (IVP)  provide  the most accurate diagnostic tools for kidney stone screening and    diagnosis.    CT    scans,    which    provide    three-dimensional views of the organ or region of interest is the most sought after kidney stone screening tool in hospitals. Its  convenience  and  efficiency  in  kidney  stone  detection (including   its   pathology)   for   both   asymptomatic   and symptomatic  patients  make  advances  in  CT  technology extremely important for physicians and patients alike [4], [5]. Software programming, which has found current and potential  applications  in  technological  advancements  in the field of medicine, recognizes the need to contribute to CT   screening   development   particularly   in   enhancing diagnosis  of  the  kidney-urine-belly  (KUB)  region  for kidney  stone  detection.  This study developed a semi-automatic   kidney   screening   program   that   integrated digital image processing and image analysis techniques in KUB  CT  images.  Specifically,  the  study  (1)  developed  a method for defining the boundary of regions of interest in a  digital  KUB  CT  scan;  (2)  developed  a  method  for segmenting  the  region  and  object  of  interest  in  a  digital KUB CT scan; and, (3) developed a method for detecting the  object  of  interest  (kidney  stones)  including  its  size and  location  in  a  digital  KUB  CT  scan  images.  Fig.  1 shows the cross-section of abdomen.

Ultrasound  has been  a  welcome  tool  for  many  years  to  break up   kidney   stones,   but   finding   the   stones   still   requires radiograph  or  CT  imaging.  The  accurate  diagnosis  of  a  renal stone  is  dependent  on  many  factors,  including  the  clinical history,  the  nature  of  the  imaging findings,  the  experience  of the  radiologist,  and  the  quality  of  the  examination.  A high-quality imaging examination, which is under the control of the radiologist,  is  essential.  We  present  our  technique  in  the performance of US imaging for the evaluation of kidney stone range  and  acknowledge  that  other  protocols  work  equally well. It is expected that these protocols will be modified over time as  new  equipment  becomes  available.  Ultrasound  has been  shown  to  be  relatively  safe  but  no  imaging  method which  deposits  additional  energy  into  the  body  should  be considered  entirely  risk  free.  When  the  decision to  make  a diagnostic image is made, the physician should always make a conscious  judgment  about  whether  the  potential  benefits  of the  imaging  procedure  are  greater  than  any  potential  risk.  In recent  years  a  great  effort  of  the  research  in  field  of  medical imaging    was    focused    on    kidney    stone,    renal    cavity segmentation. The automatic segmentation has great potential in clinical medicine by  freeing physicians  from the burden of manual labeling; whereas  only  a  quantitative  measurement  allows  to  track  and modeling precisely the kidney disease. Despite the undisputed usefulness  of  automatic  stone  segmentation,  this  is  not  yet  a widespread  clinical  practice,  therefore the  automatic  kidney stone  segmentation  is  still  a  widely  studied  research  topic.    The   main   difficulties   in   field   of   automatic   stone-area segmentation  are  related  to  the  fact  that  the  renal  stone  are very  heterogeneous  in  terms  of  shape,  color,  texture and position   and   they   often   deform   other   nearby   anatomical structures.  Normally  the  kidney  diseases  are  classified  as hereditary,    congenital    or    acquired.    The    detection    of calcifications   inside   the   body   is   a   large   field   of   study including  several  dynamic  areas  of  research,  which  is  mainly useful  for  diagnosing  the  kidney  stone  diseases.  The  actual kidney  stones  may  be  rough  non-spherical  in  shape,  but  the dominant  effects  that  are  used  to  find  the  Fracture  in  actual kidney  stones,  are  based  on  the  reverberation  time  across  the length  of  the  stone.  Due  to  the  presence  of  powerful  speckle noise and attenuated artifacts in abdominal ultrasound images, the segmentation of stones from these images is very complex and  challenging.  Hence,  this  task  is  performed  by  the  use  of much prior information such as texture, shape, spatial location of  organs  and  so  on.  Several automatic  and  semiautomatic methods  have  been  proposed.  Even  though  the  performance such  methods  are  better  when  the  contrast-to-noise  ratio  is high,    it deteriorates    quickly    when    the    structures    are inadequately    defined    and    have    low    contrast    like    the neuroanatomic  structures,  such  as  thalamus,  globus  pallidus, putamen,  etc.    If  any  modern  techniques  are  implemented  on the  medical  images  it  will  be  very  helpful  for  the  objective diagnosis.  One  such  technique  is  the  development  of  an algorithm using logical operator method to classify the image using its texture properties. Different regions of an image  are identified   based   on   texture   properties   [1].   Some   of   the applications   that   demonstrate   the   importance   of   texture analysis are found  in  medical  images,  remote  sensing  and industrial  images.  Textures are usually  characterized  by  its features.  Features  are  extracted  based  on  logical  operator  to classify  the  image  [2].  This  technique  is  usually  applied  for medical  images  to  enhance  the  quality  of  representation  and better   understanding   of   hidden   information   for   proper objective  diagnosis.  In  this  project,  the  texture  properties  are applied  to  the  medical  images  to classify  the  three  different categories   of   Ultrasound   kidney   images.   By   using   this technique, it is also possible to extract some features that will be  very  helpful  for  the  diagnosis  of  the  medical  images  to make   comparative   study   on   images   for   better   decision making. This   method gives  an  excellent  performance  on texture images. So it can be applied to the medical US kidney stone image classification  and  compare  the  performance  with the texture result.

Kidney stone is the accumulation of salts and certain minerals mainly made  up  of  calcium  and  uric acid in urine. It is caused due to inadequate intake of water. Kidney stone mainly occurs when our body lacks fluid  but  accumulates  a  lot  of  waste. Diabetes,  high blood  pressure  and  obesity  may  increase  the  risk  of kidney stone in an individual.  There are various methods for the diagnosis of kidney  stone  such  as  urine  test,  blood  test,  CT  scan, MRI scan etc.Operator- assisted kidney stone detection is impractical in the case of large amounts of data. In this  paper  an  automated  kidney  stone  classification using image and data processing with back propagation neural network is being done.  Use of neural network for the classification of kidney  stone  has  shown  great  potential.  In  this  paper feature  extraction  is  done  using  the  Gray  level  co-occurrence  matrix  and  Fuzzy  c-  mean  clustering algorithm for segmentation of the test image to detect the  kidney  stone.  BPN  classifier  performance  is evaluated  in  terms  of  training  performance  and  the accuracy of classification. Kidney stone is a solid piece of material formed due to minerals in urine. These stones are formed by combination of genetic and environmental factors. It is also caused due to overweight, certain foods, some medication and not drinking enough of water. Kidney stone affects racial, cultural and geographical group. Many methods are used for diagnosing this kidney stone such as blood test, urine test, scanning. Scanning also differs in CT scan, Ultrasound scan and Doppler scan. Now days a field of automation came into existence which also being used in medical field. Rather many common problems rose due to automatic diagnosis such as use of accurate and correct result and also use of proper algorithms. Medical diagnosis process is complex and fuzzy by nature. Among all methods soft computing method called as neural network proves advantages as it will diagnosis the disease by first learning and then detecting on partial basis  In this paper two neural network algorithms i.e Feature extraction and watershed are used for detecting a kidney stone. Firstly two algorithms are used for training the data. The data in the form of blood reports of various persons having kidney stone is obtained for various hospitals, laboratories.

4.1.IMAGE ACQUISITION

The image that we get from the hospital is in the form of DICOM so to perform the image processing it needs to be converted to jpg. This can be done through MicroDicom converter. The image is acquired in Mat lab using ‘misread’ command. Syntax: imread (‘filename.jpg’)The image can be converted to grayscale image. To perform this ‘rgb2gray’ function is used.

Original image of KUB-CT

4.2. IMAGE PREPROCESSING

The image preprocessing is performed using these two basic steps:

Filtering

It is used to remove the noise. There are various filters such as average filter, weighted average filter, Gaussian filter but the median filter is the best to remove the impulse noise or the salt and pepper noise. It is a low pass non linear filter. After filtering the image gets smoothed hence, filtering is also done to smooth the image.

Syntax: immedfilt2(x)Where, x is the image

Median Filtered Image