Advanced Skin Diseases Diagnosis leveraging image Processing

ABSTRACT

Air pollution affects human skin in many ways. Skin diseases are common in densely populated regions. These diseases have a devastating impact on people's lives by creating a huge need for the disease diagnosis. The proposed work on skin disease determination system aims for an accurate diagnosis leveraging image processing. The methodology outlined here aims to identify skin disease by scrutinizing the input image. The method involves filtering of the input provided to remove noise. Conversion of image to a grayscale image, and image segmentation. Feature extraction is used to minimize the amount of data to be processed by the classifier. The SVM (Support Vector Machine) is then used in the image classification to identify the skin disease. The increased use of technology has led to an efficient and accurate way of diagnosis that aids in curing the disease more expeditiously. Using the proposed method skin diseases such as rosacea, melanoma, psoriasis and acne are identified with a high accuracy of 89%.

CHAPTER-1

INTRODUCTION

A skin disease is the pathological state affecting the body surface.Long-timeexposure to ultraviolet radiation or the radiation from high-frequency wire-less equipment may induce the skin canceration. According to the statisticaldata report from American Cancer Society [1], it is estimated that 91,270 newmelanoma cases are diagnosed in the United States in 2018, and meanwhile itis estimated that about 9,320 people will die from melanoma. Melanoma has ahigh cure rate at early detection, with 99% of 5-year relative survival rate. How-ever, since it is easier to spread to other parts of the body than non-melanomaskin cancers, the 5-year relative survival rate at long-term stage drops to 20%.The symptom of skin diseases is a long and constantly changing process.Generally, the health care provider should provide assessment where changeshave occurred in certain area of the skin for over a month or longer. However,due to multiple factors such as poor medical conditions and cumbersome medicalprocess, patients always ignore such changes of their skin, or wrongly identifythem as other skin injuries.  Meanwhile, no family physician or supervisionorganization carries out the regular maintenance and treatment since it is not required to report medical records to the cancer registry.The development of body sensor network [2, 3], artificial intelligence, cloudcomputing [4] and wireless network communication [5, 6] has brought opportunities to the cognitive medical service . The remote health monitoring, health guidance and feedback can be realized through multi-sensordata fu-sion  with the help of remote medical devices, such as mobile phone ,wearable device [, intelligent robot, autonomous vehicle and unmanned aerial vehicle . And an open-source programming framework to support rapidand flexible prototyping and management of human-centered applications is crit-ical . In the paper , it is pointed out that mobile devices equippedwithdeep neural network can potentially extend the range of dermatologists outside the outpatient service. It is estimated that by 2023, the number of smart phone users will reach 7.2 billion [18]. It is possible to provide general diagnosisservicewith low cost  The automatic recognition of patients’ skin conditions may become agoodpromoter for the cognitive medical monitoring framework. On one side, it canreduce the consumption of resources deployed to the medical industry center,and meanwhile automatically feed back the patients’ conditions and service ex-periences evaluation.  On the other side, it properly takes into account the consumption of patients’ time and money cost as well as the concerns on pri-vacy. The cloud computing technology deployed on the medical center can solve the problem that the local devices, under the big data environment, have insufficient computing and storage capacities to provide the computation-intensive services . However, the huge amount of data transmission and com-munication will cause a consumption of network communication resources, it isstill unable to meet the delay-sensitive characteristic of cognitive medical ser-vices . The deployment of edge computing technology on the networkedge can solve the pressure caused by the large scale of computation-intensiveand rich-media tasks .  Also, the technology is beneficial to facil-itate secure data management and convenient data trading in mobile healthcare . Some existing advanced computation offloading schemes such as [30] and novel routing mechanisms such as  can be integrated into the systemto achieve highly reliable cooperative computing and communication betweenlocal terminals and remote clouds .The traditional skin disease detection system complete the classification out-put through characteristics extraction of image data set as the input. The exis ting researches adopt the deep architecture to automate the learning of char-acteristics , and the priori knowledge based on pathological skin dataset is obtained to improve the accuracy of automatic classification.Esteva etal  put forward the adoption of Deep Convolution Neural Networks to classify skin diseases, and demonstrate the achievement of expert-level diagnosis. In the literature , it is discussed that the pre-trained deep neural network model has an effect superior to the model trained from the beginning, and the problem of insufficient labeled image data of skin disease can be solved by pre-training the Convolution Neural Network (CNN) with the images from other medical fields. Due to the limited intelligence of current system, a one-time testing result be concluded by inputting the collected users’ skin image data into the system, but the function of monitoring the changes of skin conditions cannot be realized. Meanwhile, current system is a centralized system with a static and centralized database required an active update by expert, which limits the user mobility and cannot realize convenient and high-efficiency self-checking. In addition, the centralized system is unable to provide sufficient resources to support the individualized database for different population groups. Due to the centralization of the database, it is unable to give a good judgment for paroxysmal diseases. We consider that the future skin disease monitoring system will meet following characteristics:

Real-time: The user’s individual database keeps accumulating and storing. The system analyzes user’s skin state based on personal historical data and current data, and monitors skin state changes regularly. The camera on smart terminal capture user’s skin image, and skin analysis reports feedback to terminals. Users record their skin state changes based on reports.

Dynamic: The physical location of users often changes dynamically, but mobile devices are relatively static for skin disease detection. Through mobile terminals, users can easily and efficiently collect individual skin images. With the computing power of terminals, fast analysis results are provided to users.

Sharing mode: User’s skin images can be locally stored for analysis. Multiple users also send their data to the cloud for sharing. The cloud collects data from different users, and conducts more accurate analysis with its powerful storage and computing capacity.

Background and Motivation

Now a day’s people are  suffering  from  skin  diseases,  More  than  125  million  people  suffering  from Psoriasis  also  skin  cancer  rate  is  rapidly  increasing  over  last  few  decades  specially  Melanoma  is  most diversifying skin cancer. Dermatophytosis rate is high specially at rural areas.If skin diseases are not treated at earlier stage, then it may lead to complications in the body including spreading of the infection from one individual to the other. The skin diseases can be prevented by investigating the  infected  region  at  an  early  stage.  The  characteristic  of  the  skin  images  are  diversified,  so  that  it  is challenging  job  to  devise  an  efficient  and  robust  algorithm  for  automatic  detection  of  the  skin  disease  and  its severity.  Skin  tone  and  skin  color  plays  an  important  role  in  skin  disease  detection.  Colour  and  coarseness  of skin  are  visually  different.  Automatic  processing  of  such  images  for  skinanalysis  requires  quantitative discriminator to differentiate the diseases.Proposed system is combo model  which is used for the prevention and early detection of skin cancer, psoriasis  and  Dermatophytosis.  Basically  skin  disease  diagnosis  depends  on  thedifferent  characteristics  like color,  shape  ,  texture  etc.  there  are  no  accepted  treatment  for  skin  diseases  Different  physicians  will  treat differently for same symptoms. Key factor in skin diseases treatment is early detection further treatment reliable on  the early detection.    In this paper, Proposedsystem is used for thediagnosis multiple skin disease using statistical parameter analysis.  Statistical  analysis  is  anxious  with  analysis  of  random  data.  Random  data  is pattern  of  skin  diseases. Standard database is used this data does not have anymathematical expression,it has some statistical properties. To analysesrandom data we must analyzestatistical properties of it.

In  this  modern  world,  there  are  numerous  technological advancements  which  are  most  helpful  for  the betterment  of our lives. Various technological advancements are being done in  the  medical  fields.  Skin  diseases  are  the  most  common type  of  diseases.  There  are  many  types  of  skin  diseases. Some  are  due  to  allergy  while  some  are  due  to  chronic diseases.  Classifying  the  proper  skin  disease  and  treating them   is   a   tedious   one.   Various   diseases   have   various symptoms.   Treating   skin   disease   wrongly   may   lead   to various  other  diseases  like  skin  cancer.  Every  disease  may have  a  pattern.  So  understanding  the  disease  pattern  is  the only  way  to  understand  the  type  of  disease.  Usually,  for  a dermatologist  understanding  the  patternsare  a  complex  task. Using  the  latest  advanced  technologies  like  deep  learning &machine  learning  algorithms  skin  disease  types  can  be predicted  Various  type  of  predictions  and  analysis  are  been carried  out.  The  accuracy  of  the  results  is  improvised.Using Machine   Learning   algorithms   Support   Vector   Machine, Random Forest, the skin diseasesare predicted. The accuracy of  the  prediction  is biased. The  accuracy  sometimes  may  be accurate while sometimes may not.

Different from the traditional open-ended input/output system, we intend to build a user-centered close-loop system, and consider connecting the mobile terminal users’ personal data collection, the communication between mobile terminals and remote data center, and the real-time update of training model. Based on this, a deep skin disease monitoring system based on edge-to-cloud cognitive medical framework is put forward. Specifically, the contributions of this paper are divided into three points as below:

1. A medical AI framework based on data width evolution and self learning is proposed. Under such framework, the process of information interaction between users and terminal devices, and the wide collection of detain the close-loop information flow of user and remote medical data center reconsidered.

2. A data set filter algorithm based on information entropy is given, so as to lighten the load of no-label data sets in terminals and edge cloud in the meantime of improving the data quality of remote cloud data base and the learning ability of analysis model.

3. A load module especially for analysis algorithms is designed. Under such module, it can be compatible with the application requirements accord-ing to the learning model selected. Meanwhile, three learning models are deployed successively in the load module and the training process is completed

Contribution

In  this  paper,  we present Image  analysis  system  to  diagnosis  multiple  skin  disease  using  statistical parameter analysis.   Statistical analysis is concerned with analysis of random data. This system is combo-model which  is  to  be  used  to  diagnosis  multiple skin  diseases  at  a  time.  The target  skin  diseases  are  skin  cancer, psoriasis and dermatophytosis. The disease diagnosis and classification is built on statistical parameter analysis. Statistical  parameters  includes:  Entropy,  Texture  index,  Standard  deviation,  Correlation  fact  Depending  on standard range of parameters skin disease is going to be diagnosis and classified.

Skin Diagnosis Device

With  the  development  of  semiconductor  technology and  small  electronic devices  industry,  devices  for measuring   skin   using   various computerized and electronic technologies have emerged. The global dermatology devices market  size  was valued  at  over  USD  9.6  billion  in  2017  and  is expected   to   showcase   lucrative   growth   over   the forecast   period,   registering   a   CAGR   of   13.5%. Increasing  prevalence  of  skin  cancer  and  other  skin diseases    has    significantly    contributed    to    high demand  for  various  dermatological  diagnostic  and treatment    procedures    in    recent    times,    thereby spurring  product  demand(Market  Research  Report, 2018).Figure 1shows  one  of  the  representative personal skin diagnosis devices(Ahn, 2019).

To get a clear image, most of these devices make contact with the  skin.  Contacting the  cylindrical body with the  skin enables to get a clear skin image with fixed focal length and stable light source. However,   contact with   the   skin can   causepossibleskin  contamination  due  to uncleanness and corrosion  of  the  contact part.  To  prevent  this, the contact part needs to keep clean and sterilized which lead to additional costs and actions.

Skin image identification

Skin  image  identification  has  become  one  of  the  most  demanding  and  attractive  research  areas  in  the past  few  years.  Colour  histogram  based  characteristics  are  used  to  analyse  and  classify  the  psoriasis  infected skin  images  in  sequence  to  take  the  diagnostic  measures  [3]. On  one  hand,  this  would  be  useful  for dermatologists to decrease diagnostic faults, while on the other hand it can help as the early test bed for patients in rural areas where there is a dearth of good medical professionals. A support Vector Machine with RBF kernel is  used  for  the  classification  of  images.  The  experimental  results  gave  the  encouraging  results  in  an  initial attempt  for  identification  of  psoriasis  infected  skin  images.  Classification  of      psoriasis  skin  diseases  and  their severity will be carried out.Image  processing  method is implemented in MATLAB, for skin cancer detection. In this paper, online database of skin cancer images is used for testing the method [4]. Skin images for cancers of different types are obtained from, of these    imagesfor BCC (Basal cell carcinoma), SCC (squamous cell carcinoma) and normal or harmless skin lesions are collected and database is created for testing purpose Next step in image processing is  de-noising  using  wavelet  tool.  To  remove  low  frequency  or  background  noise  from  image,  filtering  is  used. After  de-noising  the  image,  median  filtering  is  applied  to  remove  some  hair  like  material  from  skin  image,  if present  Thresholding  is  the  simplest  and  most  commonly  used  method  of  segmentation.  This  paper  considers use  of  high-level  feature  extraction  technique  by  implementing  the  2D-DWT  as  the  processing  method  neural network  tool  is  used  for  classification  of  skin  images  in  different  skin  diseases.  Using  the      features  extracted from  image,  it  is  classified  either  in  harmful  diseased  i.e.,  BCC  (Basel  cell  carcinoma),  SCC  (Squamous  cell carcinoma), or harmless.Buket  D. have worked on real time system for the malignant melanoma prevention and early detection [5]. In this system user is able to analyse captured image. System process the image and shows the notification for medical help. This     system shows convincing results and accuracy.Ho Tak Lau. Have  worked on an automatic  skin cancer  classification [6]. Available  image  is given to the system and it goes throughdifferent image processing procedure. Use full information is extracted from the image  and  then  with  the  help  of  training  and  testing  system  classifies  the  image.  Recognition  accuracy  of  the neural network classifier is 90%

Sample images from database including melanom, psoriasis and dermatophytosis

Skin Analysis Technology

There have  been  many  researches  on  skin  analysis using  image  processing. Various statistical methods for segmentation and classification of skin lesions in dermoscopic  images  is  developed  (Zaqout,  2016). Texture   and   color   features   of   skin   diseases   are analyzed(Wei et al., 2018; Yang et al., 2018).Also, applying  neural  networks  including the Artificial     Neural     Network     (ANN) and     the Convolution Neural Network (CNN) areconductedfor  effective  skin  recognition  (Abbadi  et al.,  2010;  Menaka  and  Rohini,  2014;  Yang  et  al., 2018).

PREPROCESSING:

Achieving high performance of skin disease detection system requires overcoming some major difficulties. Such as creating a database and unifying image dimensions. In the following section, the technique used in image resizing is explained.

Image Resizing:

To resolve the problem of different image sizes in the database an input image is either increase or decrease in size. Unifying the image size will get the same number of features from all images. Moreover, resizing the image reduces processing time and thus increases system performance. Fig 3 shows the original image of size is 260×325 pixels. Fig 4 shows the resized image with the new size of 227×227 pixels

Example of Original image of Eczema database.

Example of resizing image of Eczema database.

Feature Extraction:

At the beginning, Convolution Neural Network (CNN) is a set of stacked layers involving both nonlinear and linear processes. These layers are learned in a joint manner. The main building blocks of any CNN model are: convolution layer, pooling layer, nonlinear Rectified Linear Units (ReLU) layer connected to a regular multilayer neural network called fully connected layer, and a loss layer at the backend. CNN has known for its significant performance in applications as the visual tasks and natural language processing AlexNet is a deep CNN model, developed by Krizhevsky et al. [8], to model the 2012 ImageNet for the Large Scale Visual Recognition Challenge (ILSVRC-2012). AlexNet consists of five convolutional layers; where a nonlinear ReLU layer is stacked after each convolutional layer. In addition, the first, second, and fifth layers contain max pooling layers, as shown in Figure 5. Moreover, two normalization layers are stacked after the first and the second convolutional layers. Furthermore, two fully connected layers at the top of the model preceded by soft ax layer. Alex Net was trained using more than 1.2 million images belonging to 1000 classes [8]. We proposed feature extraction from a pretrained convolutional neural network. Because it is the easiest and robust approach to use the power of pretrained deep learning networks.

Classification:

Classification is a computer vision method. After extracting features, the role of classification is to classy the image via Support Vector Machine (SVM). A SVM can train classifier using extracted features from the training set.

MACHINELEARNING

A.Motivation for Machine Learning

There are mainly two types of users for this app, naïve users who do not have access to the extremely technical details of histopathological attributes and those users who are aware of this data because they have the access to the medical reports generated by the laboratories. We exploit this fact in order to improve  the  efficiency  of the  system.  These  medically approved  attributes  are  better  performers  when  compared  to the features extracted from the image alone.

B.Data Source

The  dataset  obtained  from  [18]  is  used  to  train  the  model. There were various models which were tested in order to learn the hypothesis which best suits this training data.

C.Machine Learning Models Used for Prediction

1) kth Nearest Neighbor (kNN)  A  non-parametric  algorithm  used  for  classification.  The various  test  data  are  considered  to  be  points  on  a  34 dimensional space, because there are 34 attributes. When the new test data comes in, the k closest points to this are put in a poll and the result gives the label of the disease.

2) Decision Trees (DT) The algorithm which was used to train the decision tree was the ID3 algorithm [10][17].There are two advantages of using  the  decision  tree.  The  decision  tree  is  the  best suited  algorithm  for  training  a  system  with  missing values.  The  ID3  algorithm  works  on  the  principle  of choosing the attribute with lowest entropy (1)and highest information gain [5]. The attributes which have missing data will have very low information  gain.  For  this  data  set  the  attributes  with missing  data  were  found  not  found  in  the  tree  as  the information gain was too low on these attributes.

3)Artificial Neural Networks (ANN) Any non-linear system can be built with just one hidden layer  but  must  have      units  in  hidden  layer;  this  is known  as  universal  approximator.  [19]  This  is  not practical  as  described  by  George  Cybenko.    A  feed forward  ANN  with  back  propagation  was  tried  for  the same features which were extracted. The ANN consisted of one input layer, two hidden layers and an output layer.

A deep learning technique called auto encoder [11] which trains  the  model  using  an  identity  function  was  used  to initialize the parameters of the model, the weight matrices W.

•Input layer: Input from the user (34 neurons)

•Hidden Layer 1: Composed of sigmoid function (16 neurons)

•Hidden  Layer  2:  Composed  of  tanh  function  (8 neurons).

•Output Layer: Softmax as described by (1). One issue with using ANN was the possibility of under fitting.  Due  to  the  presence  of  missing  values  in  the training dataset [18]the artificial neural network does not suit well for this problem as there will be too much under fitting.

CHAPTER 2

2. SYSTEM ANALYSIS

2.1 EXISTING SYSTEM

Skin diseases such as Melanoma and Carcinoma are often quite hard to detect at an early stage and it is even harder to classify them separately. Recently, it is well known that, the most dangerous form of skin cancer among the other types of skin cancer is melanoma because it is much more likely to spread to other parts of the body if not diagnosed and treated early. In order to classify these skin diseases, “Support Vector Machine (SVM)” a Machine Learning Algorithm can be used.

2.1.1 DRAWBACKS OF EXISTING SYSTEM

For  a  long  time,  algorithms  for  finding objects  in images  have  been  studied  extensively.  Numerous researches   have   been   done   in   object   detection, recognition, classification and discrimination.

2.2. PROPOSED SYSTEM

In this paper, we propose a method to identify whether a given sample is affected with Melanoma or not. The steps involved in this study are collecting labeled data of images that are pre-processed, flattening those images and getting the pixel intensities of images into an array, appending all such arrays into a database, training the SVM with labeled data using a suitable kernel, and using the trained data to classify the samples successfully. The results show that the achieved accuracy of classification is about 90%.

2.2.1. ADVANTAGES OF PROPOSED SYSTEM

Experiments show  that analyzing   the   shadow   of   the   skin   lesions   can effectively detect and classify the lesion of concern.

Literature Survey

| AUTHOR | TITTLE | DESCRIPTION |
| --- | --- | --- |
| Automatic detection of melanoma skin cancer using texture analysis,” | M. A. Sheha, M. S. Mabrouk, and A. Sharawy, “ | Melanoma is considered the most dangerous type of skin cancer. Early and accurate diagnosis depends mainly on important issues, accuracy of feature extracted and efficiency of classifier method. This paper presents an automated method for melanoma diagnosis applied on a set of dermoscopy images. |
| R. Yasir, M. A. Rahman, and N. Ahmed, | “Dermatological disease detection using image processing and artificial neural network,” | Skin diseases are among the most common health problems worldwide.In this article we proposed a method that uses computer vision based techniques to detect various kinds of dermatological skin diseases. |
| Okuboyejo, Damilola A, et al. Automating | ”Skin Disease Diagnosis Using Image Classification”. | The modern leap of machines into smarter worlds has lead researchers to develop sophisticated systems that have the ability to diagnose human diseases through machine learning tools and techniques. |
| Vinayshekhar Bannihatti Kumar, S. Selvin Prem Kumar, Varun Saboo | “Dermatological disease detection using image processing and machine learning”. | Diseases much more quickly and accurately. But the cost of such diagnosis is still limited and very expensive. So, image processing techniques help to build automated screening system for dermatology at an initial stage. The extraction of features plays a key role in helping to classify skin disease. |

2.3 FEASIBILITY STUDY

The feasibility Analysis is an analytical program through project manager determines the project success ratio and through feasibility study project manager able to see either project. The key considerations involved in the feasibility analysis are:

- Economic Feasibility

- Technical Feasibility

- Operational Feasibility

- Environmental Feasibility

2.3.1 ECONOMICAL FEASIBILITY

Hence this project is economically feasible there is no need to involve any cost for this project.

2.3.2 TECHNICAL FEASIBILITY

Software Technologies used are PHP and MySql. In the educational institutions, it is possible to update the system in future. No special hardware is required for the purpose of using this system. Hence it is declared that this project is technically feasible.

2.3.3 OPERATIONAL FEASIBILITY

As the admin work mainly to maintain the Patient and Doctor .Doctor will predict patient cancer disease. Hence it is easy to operate with training. Therefore it is operationally feasible for implementation.

2.3.4 ENVIRONMENTAL FEASIBILITY

This project environment is correct as a admin has developed this system and no expenditure is involved under any head and this process is part of admin document management, this project environment is accessible.

2.4 SYSTEM REQUIREMENTS

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse	: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.1 HARDWARE REQUIREMENTS

The Hardware of the computer consists of physical component such as Input Devices, Storage Devices, Processing & Control units and Output Devices.  Computer includes external storage unit to store data in programs.

The Hardware Configuration involved in this project

- System	:  Pentium IV 2.4 GHz.

- Hard Disk	: 40 GB.

- Monitor	: 15 inch VGA Color.

- Mouse 	: Logitech Mouse.

- Ram		: 512 MB

- Keyboard	: Standard Keyboard

2.4.2 SOFTWARE REQUIREMENTS

Software is a group of programs that computers need to do a particular task.  It is an essential requirement of Computer System. The Software used to develop the project is

- Operating System	: Windows XP.

- Platform		: DOT NET TECHNOLOGY

- Front End		: ASP.Net 3.5

- Back End		: SQL SERVER 2005

2.5 MODULE DESCRIPTION

###### CHAPTER 3

SYSTEM DESIGN AND DEVELOPEMENT

3.1 DATA FLOW DIAGRAM

3.2 SYSTEM ARCHICTURE

UML DIAGRAM

Case Diagram

CHAPTER 4

TESTING AND IMPLEMENTATION

  - TESTING

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

4.1.1Unit Testing

Unit testing comprises the set of tests performed by an individual programmer prior to integration of the unit into a larger system. The module interface is tested to ensure that information properly flows into and out of the program unit. The local data structure is examined to ensure that data stored temporarily maintains its integrity during all steps in an algorithm’s execution. Boundary conditions are tested to ensure that the module operates properly at boundaries established to limit or restrict processing. All independent paths through the control structure are tested. All error-handling paths are tested.

4.1.2 Block Box Testing

Black-box testing is a method of software testing that examines the functionality of an application without peering into its internal structures or workings. This method of test can be applied virtually to every level of software testing: unit, integration, system and acceptance. It is sometimes referred to as specification-based testing.

4.2 SYSTEM IMPLEMENTATION

Implementation is the stage of the project when the theoretical design is turned into a working system. This is the final and important phase in the system life cycle It is actually the process of converting the new system into a operational one.

CHAPTER 5

CONCLUSION

CONCLUSION

An effective image analysis procedure for discriminating and recognizing various skin lesions under contactless skin diagnosis environment is proposed. Issues such as uneven distribution of light are properly addressed, and various skin lesions are effectively discriminated according to their characteristics, using the image processing technique and the shadow analysis. To generalize and objectify the proposed procedure, additional analysis and comparison of detailed skin lesion would be performed under additional light source including the variety of its strength, angle, wavelength, etc. Further researches after this work include detailed lesion discrimination upon appropriate decision-making frameworks such as deep learning, and Bid Data analysis over various kinds of skin image.

CHAPTER-6

REFERENCE

[1] M. A. Sheha, M. S. Mabrouk, and A. Sharawy, “Automatic detection of melanoma skin cancer using texture analysis,” International Journal of Computer Applications, vol. 42, no. 20, pp. 22–26, 2012.

[2] R. Yasir, M. A. Rahman, and N. Ahmed, “Dermatological disease detection using image processing and artificial neural network,” in 8th International Conference on Electrical and Computer Engineering: Advancing Technology for a Better Tomorrow, ICECE. Pan Pacific Sonarga on Dhaka, 2014, pp. 687–690.

[3] S. M. Jadhav, S. Nalbalwar, and A. Ghatol, “Artificial neural network based cardiac arrhythmia classification using ecg signal data,” in Electronics and Information Engineering (ICEIE), 2010 International ConferenceOn, vol. 1. IEEE, 2010, pp. V1–228.

[4] Okuboyejo, Damilola A, et al. ―Automating”Skin Disease Diagnosis Using Image Classification”. Proceedings of WCECS 2013, October 23 -25, 2013, San Francisco, USA, IAENG Open Access Publication, 24 Oct. 2013, www.iaeng.org/publication/WCECS2013/.

[5] Mrs. S.Kalaiarasi1, Harsh Kumar2, Sourav Patra3 “Dermatological Disease Detection using Image Processing and Neural Networks”.

[6] Vinayshekhar Bannihatti Kumar, S. Selvin Prem Kumar, Varun Saboo “Dermatological disease detection using image processing and machine learning”.

[7] Yuslinda Wati Mohamad Yusof, Hadzli Hashim, Khairul Anam Sulaiman, Suhaila Subahir, Noor Ezan Abdullah and Fairul Nazmie Osman “ Plaque Lesion Classification Fuzzy Model Based on Various Color Models”.

[8] Subrat Kumar Rath, Siddharth Swarup Rautaray “Performance Comparison of Min-Max Normalisation on Frontal Face Detection Using Haar Classifiers”.

[9]“Comparison of Machine Learning Algorithms for Skin Disease Classification Using Color and Texture Features”. ParameshwarR. Hegde Department of Dermatology and Yenepoya Research Center Yenepoya, Manjunath M. Shenoy Department of Dermatology Yenepoya, B.H. Shekar Department of Computer Science Mangalore University Mangalore, Karnataka, India.