A Real Time Electrical Load Distribution

Monitoring and Controlling System Based on PLCand Webserver

Abstract

As global energy demand is constantly on the rise; power management has been becoming a major issue in the past decades or so due to less energy reserves. Power shutdown is a key crisis at the present time whereas disruption of power can cause a huge production loss for industries which calls for proper power management and monitoring in a systematic way. This paper deals with this issue by developing a prototype system and implementing real time energy monitoring and controlling of the system. In this system, power from main line is distributed and supplied to certain loads. If capacity of distributed load is less than required, then another line will be activated

in parallel in order to prevent power shutdown and avoid production losses. More over, this process can ensure safety by tripping the system in case of any fault occurrence. All these are performed in an automated process using PLC and Web server.

Existing System

Power distribution SCADA system is a computer-based  production process control and scheduling automation system.

It uses the data acquisition module to monitor and control the operation of field devices so as to achieve data acquisition, device control,  measurement, parameter adjustment, and various signal alarms.

Electrical load distribution, monitoring & controlling using PLC is comparatively reliable, accurate and more efficient technique than any existing controllers.

LAN is used to communicate with PLC and PC with the help of Web server and a Communication board (RS 485) is used also for collecting data from energy meters to execute logical commands using program uploaded in the PLC memory.

Proposed System

To carry out the load controlling and monitoring ofoverall system, energy meters, PLC and PC are used.Multiple energy meters with a single PLC CPU connectswith a PC to monitor and control required electrical loaddistribution. LAN is used to communicate with PLC and PC with the help of Web server and a Communication board (RS 485) is used also for collecting data from energy meters to execute logical commands using program uploaded in the PLC memory. In the load controlling system, extra load is automatically connected by starting

the parallel line when the load consumption is near the expected load. For instance, if the distributed load of one area is 10MW for a day, then normally the line contains 10 MW loads for day long. However, in our system, (As in Figure 2) the first line (bus A) contains 10 MW loads and

another line (Bus B) is connected in parallel with 2 MW extra loads. The extra load is used whenever additional load is required in that area. If the voltage or current of system exceeds the rated voltage or current, then fault arises. Moreover, if the load consumption is more than accumulated result of 2 parallel loads or if any fault occurs, then after 20 seconds the system will automatically trip the overall system. This causes automatic power shutdown ensuring safety of the distributed loads and equipment of the system. The system will continue its

normal operation only if the fault or excess load is removed within 20 seconds or before starting the system.

The time duration for tripping can be reduced or enhanced with the requirements of user of the system. Figure 1illustrates the block diagram of the system. Bus A and Bus B distribute electricity to the loads connected in parallel. Energy Meters communicate with PLC through

Modbus. PLC CPU allows the connected loads to be switched on by a relay input and output control. The whole system works under designed logical commands in the PLC.

INTRODUCTION

Energy monitoring and controlling is a critical factor that

mainly emphasizes on the regulatory costs related with consumption containing serious facets of load distribution system such as projecting and managing required energy demand, protecting overall systems and devices etc. Automatic systems are being favored over manual system since they reduce individual’s effort. Electrical load distribution, monitoring & controlling using PLC is comparatively reliable, accurate and more efficient technique than any existing controllers [2, 4, 6]. Supervisory Control and Data Acquisition (SCADA) system helps receiving information about power system operation and manages electrical load distribution system [2, 3, 6]. Furthermore, electrical load distribution can help to save the energy by using only one bus at a time. In emergency, it activates another bus, which can provide extra load. Even if the initial cost of this system is high due to installing two

buses at a time, however this is a very economic system for long run because of using only one bus most of the days. Also, this system can be efficient by mostly using only one bus at a time, that protects the auxiliary bus from overplay, which in turn, make it use longer without breakdown. In addition, if the primary bus is being breakdown or being in maintenance, then auxiliary bus starts to operate by backup.

Another advantage of using load distribution system is that, it helps us from using many substations, which wastes a huge amount of additional power. For an instance, in AIT Electrical Distribution network (Thailand), 15 substations are being used for academic and residential purpose, in which, the total installation capacity is 13.5 MW whereas the peak load is only 2 MW. Table 1 denotes the capacity of transformers among different substations. The data is collected from AIT Electrical

Distribution network (Thailand).

By using more substations at a time, lots of power is getting wasted from transformer losses, air compressors, battery chargers, dehumidifiers etc. Figure 1 represents the AIT one-line diagram below.

Figure 1: AIT one-line diagram

From Figure 1, it can be observed that, 22 kVA is coming from main transmission line. After that, power divides into seven primary substations. Other substation comes from some of these primary substations. It is noticeable that, AIT uses a lots of substations at one time. By using Electrical load distribution system, AIT can achieve lower power losses. Additionally, Table 2 shows the data of fault history of AIT in 1 year.

| TITLE | AUTHOR | CONCEPT |
| --- | --- | --- |
| Real Time Smart Grid Load Management By Integrated and Secured Communication | Muhammad Abrar, M. Ali Tahir, H.M. Umar Hamid, RohaMasroor | Demand of electrical energy is increasing day by day. We need better grids to reduce the stress on power system by making it more reliable and secured. Smart grid (SG) is a new technology towards the conventional grids due to its two ways communication and multi-featured properties. |
| Energy management system using PLC & SCADA | Kamaldeep Kaur, Prof. Rvindar Kaur | This paper presents the load control in the industry during peak hours by using PLC and monitors all load parameters of the motors on PC by using SCADA. |
| INTELLIGENT SCADA FOR LOAD CONTROL | FILIPE FERNANDES , TIAGO SOUSA , PEDRO FARIA , MARCOSILVA , HUGO MORAIS , ZITA A. VALE | A supervisory control and data acquisition (SCADA) system is an integrated platform that incorporates several components and it has been applied in the field of power systems and several engineering applications to monitor, operate and control a lot of processes. In the future electrical networks, SCADA systems are essential for an intelligent management of resources like distributed generation and demand response, implemented in the smart grid context. |
| Quality monitoring ofelectrical power distributinetwork using a low-power microcontroller | C. Dughir ; V. Groza ; A. Vârtosu ; G. Prostean | This paper presents a system for monitoring the electrical disturbances which are present every day in electrical power distribution networks. A simple solution for detecting the disturbances using a low power microcontroller (MSP 430) was developed. The system was devised to work with 230 V 50 Hz electrical power networks in Europe. |

BLOCK DIAGRAM

Web Server

Mobile Wireless

Media

Gird

LCD Display

PLC

Transformer

Power Supply

Software Requirements

- Windows 7

- PLC Ladder diagram or Ladder Login

Hardware Requirements

Transformer (230v to 12 v)

Power Supply Board

PLC Board

Grid

LCD Displa

CONCLUSION

The prototype system in this work is energy efficient as two buses are not required to be used at a time. As one of the buses do not need to be used most of the time, its longevity increases as well. From the prototype system, the data of distributed electrical load has been recorded that shows fault occurrence, fault detection and fault location. A web server interface has been used for incessant monitoring of the required data and fault record. It is apparent that the proposed system is operating accurately. This entire process applied in the prototype system can guarantee safety by tripping the system incase of any fault occurrence. The system is designed in order to bring attention on automatic and safe load distribution system and developed for reliable energy monitoring of any kind of industry based load distribution system using PLC. This work can be carried out in large scale to show an overview prove a reliable and safe energy monitoring and controlling system.